## Slide 1: Medaustron facility overview
Greta Guidoboni
5th Slow Extraction Workshop
Wiener Neustadt
12/02/2024

## Slide 2: introduction
One of the 6 centers, worldwilde, providing Proton and Carbon Ion therapy
https://www.ptcog.site/index.php/facilities-in-operation-public
  Austria
  (MedAustron)
  China
  (SPHIC)
  Japan
  (HIBMC)
Italy
(CNAO)
Germany
(HIT and MIT)

## Slide 3: Company History
AUSTRON feasibility study (research facility neutron spallation)
Reorientation: MedAustron – therapy and research
MedAustron feasibility and design studies
Proton-Ion Medical Machine Study
  Signing basic agreement on realisation Rep. of Austria - Federal State of Lower Austria – city of Wiener Neustadt
Company foundation EBG
EIA process
Ground breaking
  Cooperations CERN & CNAO: design, tendering, manufacturing of accelerator components
Building finished
Start accelerator installation
Commissioning, preparation certification
Start Start research program
CE certification & 1st patient
1989 - 1994
1995
1996 - 2000
1998 - 2004
2005
2007
2009 - 2010
2011
2012
2007 - 2012
2013
2014 - 2016
2016

## Slide 4: Medaustron IN FEW NUMBERS
Values as of September 2023
CNS
Head & Neck
Re-Irradiation
Pediatrics
Sarcoma
Skull Base
Prostate
Gastrointestinal (upper)
Gastrointestinal (lower)
Gynecological Tumors
Urogenital Tumors
Breast/Mamma-Ca<
26%
20%
16%
16%
12%
5%
3%
2%
<1%
<1%
<1%
<1%
Since 2016:
> 2000
Patients
> 50,000
Single Fractions
TEAM
~300 employees from 20 different countries

## Slide 5: Facility overview
  Irradiation Rooms Three rooms for patient treatments
  Research Irradiation room for non-clinical use
  Synchrotron
  Ion Sources and linear accelerator
  S1  p
  S2  C
  S3  He
  140 m
IR4 – Gantry and rotator
Proton
IR3 – Fixed beam line
Horizontal
Proton and Carbon
IR2 – Fixed beam line
Hor + Ver
Proton and Carbon
IR1 – Fixed beam line
Hor
Proton, Carbon and
Helium ions!
TOUR ON THURSDAY!
  Circ. ~77 m

## Slide 6: Linear accelerator

## Slide 7: Synchrotron

## Slide 8: high energy transfer line HEBT

## Slide 9
World-wide first Rotator system
7 quadrupoles
Rotating synchronously with the Gantry
 Beam parameters at the isocenter are independent from Gantry angle
Rotator and Proton GANTRY
M. Pivi at al, IPAC’22 https://accelconf.web.cern.ch/ipac2022/papers/thpoms002.pdf

## Slide 10
Rotator and Proton GANTRY
Weight ~ 220 tons

## Slide 11
Rotator and Proton GANTRY

## Slide 12: Slow extraction at medaustron
CURRENT STATUS
Slow extraction based on:
  third order integer resonance
  using a Betatron core to drive beam into unstable region with resonant sextupole to enlarge the stopband
RF channeling for all particle types
Clinical extraction times of 10 seconds (0.1-30 seconds available for research & development)
Downward operation (from MAX to MIN energy)
  p  252.7 - 62.4 MeV, (800 MeV only for research)
  C  402.8 – 120.0 MeV/n
  He  402.8 – 40.0 MeV/n (under commissioning)

## Slide 13: Slow extraction at medaustron
STUDIES and FUTURE DEVELOPMENTS
General overview
  Within the IFAST-REX collaboration
Florian Kühteubl (MedAustron and TUW)
“IFAST-REX slow extraction survey”
Markus Wolf (MedAustron)
“Development of a RF system for Slow Extraction signal generation and measurement”
Florian Kühteubl (MedAustron and TUW)
“Beam ripple studies at MedAustron”
“Slow extraction developments at MedAustron”
Fabien Plassard (MedAustron)
“Beam loss optimization for slow extraction at MedAustron”
“Simulation of multi-energy extraction with RFKO”
Elisabeth Renner (TUW)
“Simulation study of mixed He2+/C6+ beam slow extraction for online range-verification”
Studies and applications
  In collaboration with CERN and TUW
RFKO future implementation
  Efficiency increase (less losses and chopping)
  Necessary for Multi Energy Extraction and Dynamic Intensity Control

## Slide 14
Thanks for your attention and enjoy the workshop!
In Wiener Neustadt city center  https://konditorei-ferstl.at/
Rosenmontag!

## Slide 15: Areas of research
Clinical • translational • scientific

## Slide 16: RESEARCH AT MEDAUSTRON
CLINICAL
RESEARCH
  Registry study
  Clinical studies
Creating more evidence in particle therapy
TRANSLATIONAL & SCIENTIFIC
RESEARCH
  Radiation Biology
  Med. Radiation Physics
  Accelerator Physics
  Particle Physics
In cooperation with Medical Universities Vienna & Graz, Technical University Vienna, HEPHY and FH Wr. Neustadt
INTERDISCIPLINARY ONCOLOGY RESEARCH
  Radiation Oncology
  Medical Physics
Teaching and research site of the Karl Landsteiner University

## Slide 17: Non-clinical research at medaustron

## Slide 18: MILESTONES
2016
2017
2018
2019
2020
2022
2023
Vertical beam line
VBL-IR2
Start treatment & research – carbon ions
HBL-IR2/IR3
Carbon ions vertical beam line
VBL-IR2
Start Proton Gantry &
Helium Commissioning
GBL-IR4
Pediatric treatments,
2nd room
HBL-IR2
Start treatment & research – protons
HBL-IR1/IR3
Carbon ions horizontal beam line II
HBL-IR3
P
C
P
P
P
C
C
P
He
C