## Slide 1: CNAO Overview
M. Pullia, A. Mereghetti, P. Meliga, L. Falbo

## Slide 2: CNAO National Center for Oncological Hadrontherapy
Not-for-profit private foundation Created by the Italian Ministry of Health in 2001 With the purpose to introduce hadrontherapy in clinics, pursue research and education
The Board is formed by 14 Institutions:
5 hospitals
3 universities
2 research institutes
2 public entities (Ministry of Health and Town of Pavia)
2 bank foundations
Located in Pavia

## Slide 3: One of the six therapy centers with p and C beams

## Slide 4: CNAO accelerator system
PIMMS Family
Accelerated ion p, C
Energy range (MeV/u) 60-225 (p) (30-320mm)
120-400 (C) (30-270mm)
4900 patients treated
3 treatment rooms
+1 experimental room

## Slide 5: Implementation of RFKO in addition to betatron
Dp/p
Amplitude
(b)
Amplitude-momentum
selection
X’
XES
Dp/p
Amplitude
(c)
RF-KO
X’
XES
Standard method
at CNAO
Being implemented
for multi energy
extraction studies

## Slide 6: Treatment execution with Multi Energy Extraction
Sync
1 s
Saved
time
Saved
time
(Courtesy K. Noda – CAS Medical)
Use remaining beam after slice completion

## Slide 7: New source
Aisha 1 in INFN LNS
Courtesy of L. Celona
Aisha 2 at CNAO – He, Li, O, Fe

## Slide 8: New source

## Slide 9: CNAO experimental room and facility
Multiple configuration
Accessible during treatment
Experiments can be installed
for many days
DDS customization possible
Biological laboratory with all the
necessary equipment to prepare
and process cell samples is
available on site.
Small animal irradiation is possible
taking advantage of the nearby
animal house facility of the
University of Pavia

## Slide 10: Available beams
Protons
60-250 MeV
< 1010 p/spill
Carbon
120-400 MeV/u
< 4 x 108 C/spill
~2s
t
I
~1s
En.1
En.2
En.3
FWHM ~10 mm (particle and energy dependent)
Irradiation field
< 200 x 200 mm2 [iso4]
Max distance downstream target < 5.5 m
[iso1]
Low intensities (103 part/s) possible

## Slide 11: Low intensity Monitor for XPR
Monitor for intensities up to 105 – 106 part/s
It measures intensity, position and size
It can replace one of the DDS boxes in the nozzle
Ita can work both as standalone detector and as
DDS monitor for low intensity “treatments”
128 + 128 scintillating fibers 1 mm wide
Commercial boards (CAEN) based DAQ
Collaboration with INFN Roma - SBAI
Under construction

## Slide 12: New DDS
Standard treatment
Standard treatment on moving detector
Treatment subdivided in 10 phases
Collaboration with GSI for 4D treatment: compensation of breath related
tumour movement. Subdivide treatment in respiratory phases.
Notes: E’ stata instaurata una collaborazione con il centro GSI per lo sviluppo di un nuovo sistema di distribuzione della dose
per compensare il movimento del tumore durante il ciclo di respirazione.
Per ogni fase respiratoria si costruisce un piano che rilascia un parte della dose totale e
durante il trattamento il piano erogato cambia in base alla fase istantanea fino al completamento del piano totale.

## Slide 13: Typical research activities
Many reasearch activities on technical, preclinical and translational subjects
Typical research subjects carried out at CNAO are aimed at improving treatment
  Improving the understanding of biological mechanisms
  Improving the knowledge of basic physical processes
  Improving the technical performance of the accelerator system
  Improving the technical performance of the dose delivery
    Motion management and 4D delivery
    Range verification (Inside PET, HeCheck, prompt gamma,…)
  Providing new types of radiation (new weapons to the clinician)
Collaborations with many institutions

## Slide 14: CNAO Expansion phase 1-2
Carbon gantry
New XPR
BNCT
p gantry
BNCT:
1 treatment room
1 experimental room

## Slide 15: Single room facility with gantry for protons
Synchrotron room
Treatment room
Installation to begin in a few weeks
360°isocentric gantry (Field size: 30x40 cm2)

## Slide 16: BNCT
Boronated drug that selectively reaches the tumour cells and avoids the healthy tissues
Accelerator driven neutron production
First Approved BNCT Drug (in Japan), May 2020
Notes: STELLA PHARMA will launch
Steboronine®, the World's First BNCT Drug,
on May 20, 2020

## Slide 17: Accelerator based BNCT
Proton energy 2.5 MeV
Intensity 10-15 mA
p-Li reaction
Collaboration agreement signed September 2020
Notes: neutron yield at 10 mA
8.9 × 1012 [s-1]
Avg neutron energy 0.55 MeV at 0°
[/cell], [m-2] (30 minutes irradiation by flux [n/cm2/s ]):
(mostly fired)
(the half is not fired)
neutron yield at 10 mA
8.9 × 1012 [s-1]
Avg neutron energy 0.55 MeV at 0°
𝑁=〖10〗^9 [/cell], Φ=1.8×〖10〗^16 [m-2] (30 minutes irradiation by flux 〖10〗^9[n/cm2/s ]):
𝑃(0)=𝑒^(−6.84)=0.001 (mostly fired)
𝑃(0)=(⟨𝑛⟩^0 𝑒^(−⟨𝑛⟩ ))/0!=𝑒^(−⟨𝑛⟩ ) =" " 𝑒^(−𝑁𝜎Φ)
𝑁=〖10〗^9 "[/cell], " Φ=1.8×〖10〗^15 " [m−2] (30 minutes irradiation by flux " 〖10〗^8 "[n/cm2/s ]):"
𝑃(0)=𝑒^(−0.684)=0.505 (the half is not fired)

## Slide 18: SC Gantry
SIGRUM
CNAO-CERN-INFN-MedAustron collaboration
HITRI+ and IFAST

## Slide 19
Thank you for your attention