## Slide 1: Beam ripple studies at MedAustron
Florian Kühteubl 5th Slow Extraction Workshop 12.02.2024

## Slide 2: MOTIVATION & METHODS
Ripples are important for clinical treatment
  Constant particle flux required
  Intensity ripples slow down treatment
  Safety aspects
Good understanding of ripples & ripple mitigation is needed for optimised machine performance
Ripple measurements
  Quality Intensity Monitor (QIM)
  Detector provided by CIVIDEC© with high sampling rate
Ripple transfer function measurement
 | QIM | CIVIDEC
Position | HEBT | Isocenter
Sampling rate | 25 kS/s | 78 MS/s

## Slide 3: Beam quality Parameter
See talk „IFAST-REX Slow Extraction Survey” from this morning!
Peak to mean ratio r: Intensity divided by mean intensity of the spill | 
Ripple factor RF: Windows of 10ms Ratio of maximum and mean intensity in each window | 
Duty factor DF: Windows of 10ms Mean value and standard deviation | 
Amplitude of 4 kHz ripple | 

## Slide 4: Beam quality at MedAustron
Proton, 252.7 MeV, 10s, EBC

## Slide 5: Ripple structure at MedAustron Low frequency
Proton, 252.7 MeV, 10s, no ripple mitigation

## Slide 6: Ripple structure at MedAustron High frequency
Proton, 252.7 MeV, 10s, no ripple mitigation
Data taken with CIVIDEC© detector

## Slide 7: Ripple Mitigation: Empty Bucket Channeling
Channeling
„Tune Wobbling“
Simulation with BLonD by Fabien Plassard

## Slide 8: Ripple Mitigation: Empty Bucket Channeling

## Slide 9: Ripple Mitigation: Empty Bucket Channeling

## Slide 10: Ripple Mitigation: Empty Bucket Channeling
Data taken with CIVIDEC© detector

## Slide 11: RF Knockout (unbunched FM)
Modulation frequency = 100 Hz Data taken with QIM
Dual FM

## Slide 12: RF Knockout Beam quality for unbunched FM

## Slide 13: RF KNOckout Excitation pattern

## Slide 14: RF Knockout (bunched PRBPSK)
Random phase shifts by Data taken with QIM

## Slide 15: Constant optics slow extraction
Magnet ramp by -0.4% Data taken with QIM
Intensity drift to be compensated!
Further optimisation ongoing!

## Slide 16: Phase displacement extraction
Frequency ramp from 3.5 kHz to 0 Hz, Data taken with QIM
Optimisation needed for constant intensity!
Further optimisation ongoing!

## Slide 17: Ripple transfer function
Ripples with and induced to the power converter of the magnet
Ripples with A_0 and 𝑓_0 induced to the power converter of the magnet
Intensity ripples in the extracted beam
Ripple transfer function for different magnet families
Intensity ripples in the extracted beam
Ripple transfer function for different magnet families

## Slide 18: Betatron Core with EBC

## Slide 19: Conclusion & Outlook
Empty Bucket Channeling reduces ripple factor by 67%
  „Tune Wobbling“ suppresses mainly 4 kHz ripple
Betatron Core extraction with Empty Bucket Channeling close to optimised
Beam quality for RF Knockout depends on excitation method and modulation frequency
Ripples for COSE look very promising
Most critical components for ripple mitigation are dipoles and quadrupoles
Time-dependent simulations with Xsuite framework
Further optimisation of COSE and PDE

## Slide 20: Thank You!
Laurids Adler
Felix Feichtinger
Lorenz Fischl
Xavier German
Greta Guidoboni
Katrin Holzfeind
Clemens Maderböck
Thomas Margreiter
Mauro Pivi
Fabien Plassard
Dale Prokopovich
Elisabeth Renner
Valeria Rizzoglio
Claus Schmitzer
Ivan Strasik
Alexander Wastl
Michael Benedikt
Rebecca Taylor
Pablo Andreas Arrutia Sota
Matthew Fraser
CIVIDEC

## Slide 21: UnBunched RFKO with FM

## Slide 22: Bunched RFKO with FM