## Slide 1: Status of the Bucharest ams facility T. Sava, O.Gâza, I. Stanciu, D. Păceșilă, D. Ghiță, B. Ștefan, C. Simion
Institutul National de Fizica si Inginerie Nucleara – Horia Hulubei
Horia Hulubei – National Institute for Physics and Nuclear Engineering

## Slide 2
Contents:
Bucharest AMS (Accelerator Mass Spectrometry) center
- localization
- facility
- 14C dating method
SIRI (Sixt International Radiocarbon Inter-comparison) test
    - samples
    AMS measurements and calculations
    results

## Slide 3
Institutul National De Fizica si Inginerie Nucleara – IFIN-HH

## Slide 4
The 1 MV Tandetron – AMS (Accelerator Mass Spectrometry) machine
Courtesy of HVEE Nedherland

## Slide 5
Isotope ratios measured for:
Carbon (14C, 13C, 12C)
Beryllium (10Be, 9Be)
Aluminum (27Al, 26Al)
Iodine (129I, 127I), etc.
Applications in:
Cultural heritage preservation
Geology
Environmental studies
Homeland security
Energetics
etc.
Chemistry laboratories
for sample preparation
Courtesy of
ETHZ – Ionplus AG
Courtesy of
ETHZ – Ionplus AG

## Slide 6
- Necessary quantity of carbon for a 14C dating – 1 mg
- For shells this is extracted from ~ 10 mg of sample
Procedure
Cleaning by sand-blasting or acid treatment, then sonication in ultrapure water;
Phosphoric acid (75-103%) treatment;
CO2 is transferred through the water trap to the zeolite trap via helium gas jet;
CO2 is converted to graphite under hydrogen reaction.
Carbonate sample with phosphoric acid
Courtesy of
ETHZ – Ionplus AG

## Slide 7
14C dating in a nutshell
14C dating means to measure de 14C/12C ratio in an object of unknown age and to compare it with a piece of wood of known age, which has the same 14C content
14C dating method:

## Slide 8
Types of samples that can be dated via 14C:
Bones
Wood
Seeds
Corals
Shells
Sediments
Textiles
Mortars
Alloys
Water
Paper
14C dating:

## Slide 9
Measuring sensitivity →10-15 / Method limit ~ 10 x T1/2 ~ 55000 Years

## Slide 10
SIRI (Sixt International Radiocarbon Inter-comparison) proficiency test
- Coordinated by Marian Scott (University of Glasgow) -
Code | Type | Sample description | Provider
Sample A | Wood | Reichwalde 3 (Miocene) | Univ. of Hohenheim
Sample B | Bone | Mammal bone (Pleistocene) from North Sea | Prof. Hans van der Plitcht
Sample C | Bone | Mammoth bone (Marine Isotope Stage 7; background sample) | Dr. Alex Bayliss (English Heritage) Dr. Katharine Scott (St. Cross College)
Sample D | Barley mash | Scottish whisky distillery | 
Sample F | Wood | Medieval period (floor joist) | Queens University of Belfast
Sample G | Wood | Medieval period (floor joist) | Queens University of Belfast
Sample H | Wood | Medieval period (floor joist) | Queens University of Belfast
Sample I | Wood | Tree ring from Lake Gribben | Irina Panyushkina, University of Arizona
Sample J | Charcoal | Paleolithic site | 
Sample K | Carbonate | Doblespar from Island | Prof. J. Heinemeier
Sample L | Wood | From Oregon, background sample | Irina Panyushkina, University of Arizona
Sample N | Humic acid | < 1 half-life from peat deposit, Scotland | 

## Slide 11
SIRI (Sixt International Radiocarbon Inter-comparison) proficiency test
- Coordinated by Marian Scott (University of Glasgow) -
Code | Type | Sample description | Pre-treatment
Sample A | Wood | Reichwalde 3 (Miocene) | Cellulose extraction (acid-base-acid)
Sample B | Bone | Mammal bone (Pleistocene) from North Sea | Collagen extraction (demineralization-ultrafiltration)
Sample C | Bone | Mammoth bone (Marine Isotope Stage 7; background sample) | Collagen extraction (demineralization-ultrafiltration)
Sample D | Barley mash | Scottish whisky distillery | Sonication
Sample F | Wood | Medieval period (floor joist) | Cellulose extraction (acid-base-acid)
Sample G | Wood | Medieval period (floor joist) | Cellulose extraction (acid-base-acid)
Sample H | Wood | Medieval period (floor joist) | Cellulose extraction (acid-base-acid)
Sample I | Wood | Tree ring from Lake Gribben | Cellulose extraction (acid-base-acid)
Sample J | Charcoal | Paleolithic site | Direct AMS measurement
Sample K | Carbonate | Doblespar from Island | Acid dissolving and graphitization
Sample L | Wood | From Oregon, background sample | Cellulose extraction (acid-base-acid)
Sample N | Humic acid | < 1 half-life from peat deposit, Scotland | Direct graphitization

## Slide 12
ASN= sample 14C/12C ratio
AON= standard 14C/12C ratio
Ab= background 14C/12C ratio
δ13C = measure of isotope
fractionation
Background corrected;
Fractionation corrected;
Beam current corrected.
Some units and calculations

## Slide 13
14C/12C ratio is depending by the 12C current → an additional correction
Correction is made on the standard material OXA2

## Slide 14
Without
12C current correction
With12C current correction

## Slide 15
Code | Type | Sample description | Age info | Age measurement
Sample A | Wood | Reichwalde 3 (Miocene) | background | Background (> 55000 years)
Sample B | Bone | Mammal bone (Pleistocene) from North Sea | ~ 40,000 years | 40,403 (366) BP
Sample C | Bone | Mammoth bone (Marine Isotope Stage 7; background sample) | background | Background (> 55000 years)
Sample D | Barley mash | Scottish whisky distillery, collected 2013 | pMC ~ 103% | pMC = 103,1% (0,2)
Sample F | Wood | Medieval period (floor joist) | ~ 1487 AD | 1548 (28) AD
Sample G | Wood | Medieval period (floor joist) | ~ 1479 AD | 1557 (30) AD
Sample H | Wood | Medieval period (floor joist) | ~ 1475 AD | 1578 (29) AD
Sample I | Wood | Tree ring from Lake Gribben | ~ 11,300 -11,170 cal BP | 10109 (36) BP
Sample J | Charcoal | Paleolithic site | Paleolithic | 32570 (156)
Sample K | Carbonate | Doblespar from Island | background | Background (> 55000 years)
Sample L | Wood | From Oregon, background sample | background | Background (> 55000 years)
Sample N | Humic acid | < 1 half-life from peat deposit, Scotland | < 1 half-life | 3377 (27)

## Slide 16
Age calibration with OXCAL online:

## Slide 17
Colleagues @ work
Clients:
Museums;
Various faculties ie: mineralogy and geology, archeology;
Research institutes;
Work art owners;
Mineral water bottlers;
Etc.

## Slide 18
Radiocarbon Dating Team - Bucharest AMS
Thank you!