## Slide 1: CRYRING @ ESR Slow highly charged ions and antiprotons
  Overview, Motivation, Physics Program
  Status of Installation
Project Team F. Herfurth, M. Lestinsky, Z. Andelkovic, N. Bauer, A. Bräuning-Demian, R. Bär, H. Danared, C. Dimopoulou, O. Dolinskyy, W. Enders, M. Engström, S. Fedotova, B. Franzke, M. Frey, W. Geithner, O. Gorda, R. Hettinger, L. Heyl, P. Hülsmann, A. Källberg, Th. Köhler, S. Litvinov, Y. Litvinov, J. Mohr, I. Pschorn, A. Reiter, J. Roßbach, A. Simonsson, T. Sieber, J. Sjöholm, M. Steck, Th. Stöhlker, G. Vorobjev, ...
GSI/FAIR + Stockholm University, + KVI Groningen
SPARC + HI Jena, + Krakow University

## Slide 2: CRYRING in Stockholm (MSL)
~200 different ion species singly charged (pos. & neg.)
multiply charged molecular (pos. & neg.)
GSI(FAIR): + heavy, highly charged ions!
Successfully operated from 1992 to 2010
Dismantled and shipped to FAIR/GSI in 2012/13

## Slide 3: CRYRING@ESR
Max. rigidity 1.44 Tm
  15 MeV/u U92+
  96 MeV/u protons
Min. rigidity ~ 0.054 Tm
  Actual limit given by beam life time
UHV … 10-11 mbar

## Slide 4: Vacuum & Beam Life Time
V. Shevelko, priv. comm.
Ion pumps
  ~ 10
Cryopumps
NEG pumps
  ~ 100
0.3
15
3 s
15 min

## Slide 5: Electron Cooling ESR - CRYRING

## Slide 6: CRYRING @ ESR
CRYRING@ESR is a prototype for FAIR + Detector tests (e.g. CCC)
Research opportunities
  Slow, highly charged ions: every ion species available at GSI can be transported to CRYRING: SPARC, NUSTAR, BioMat, (FLAIR?)
  Shortlived nuclei: fast ramping.
  “Double ring configuration”: accumulation, breeding, purification of quantum states in ESR, precision analysis in CRYRING
  Local injector: research may continue even during major shutdowns (at limited ion ranges)
Max. rigidity 1.44 Tm
  15 MeV/u U92+
  96 MeV/u protons
Min. rigidity ~ 0.054 Tm
  150 keV/u protons

## Slide 7: Equipment to be installed
Electron cooler
Particle detectors
0° port
180° port
Gas jet,
MOTReMi,
EXL ...
Microcalorimeter
Microcalorimeter
Injection
Extraction
Particle detectors
Max. rigidity 1.44 Tm
  15 MeV/u U92+
  96 MeV/u protons
Min. rigidity ~ 0.054 Tm
  150 keV/u protons

## Slide 8: Documents
Max. rigidity 1.44 Tm
  15 MeV/u U92+
  96 MeV/u protons
Min. rigidity ~ 0.054 Tm
  150 keV/u protons
Accepted
SPARC TDR
In print
EPJ-ST
Contact: Michael Lestinsky

## Slide 9: TDR items
ECOOL
  HV-amplifier and DAQ electronics (→ Schippers/Gießen)
  precision HV-divider (→ Weinheimer/Münster)
Probes
  laser lab (→ Nörtershäuser/Darmstadt)
  transverse electron target (→ Schippers/Gießen and Kester/Frankfurt)
Detectors
  particle detector mount mounts (→ Reifarth/Frankfurt)
  Seya-Namioka VUV-VIS spectrometer (→ Ehresmann/Kassel)
  MWPC/MTPC counters for Xrays (→ Georgiadis/Lüneburg)
Related TDRs: maXs, SimX, gasjet target (TBD)
http://appa-rd.fair-center.eu

## Slide 10: Detector Workshop
May / 2016

## Slide 11: Laser Experiments
x-ray cell?
x-ray cell?
Dielectronic recombination assisted laser spectroscopy
Preparation of polarized ion beams in a storage ring
…
Start with
  24,25Mg+
  9Be+
  …
  H and Li like Pr, Pb, and Bi
Installed 2017

## Slide 12: Research Summary
with present GSI accelerator chain
with FAIR
We can do lots of science with CRYRING@ESR:
  Atomic structure and slow collision dynamics
  Nuclear structure, astrophysically relevant rates in the Gamov window of p-process, (p,γ), nuclear collisions at the Coulomb barrier
  Intersections of atomic and nuclear physics (nuclear magnetic moments, isotope shifts and charge radii, NEEC...)
  Biology, biophysics?
  HCI and surfaces/bulk material?
  pbar, rare isotopes, FLAIR
First experimental setups are being prepared. ETA ~2017/18

## Slide 13
12/2015

## Slide 14
12/2015

## Slide 15: Local Injector Operational
Local Ion source - mAs of H2+
Accelerated to ~300 keV/nucleon
Ready to be injected into ring
Faraday Cup - intensity
Fluorescent Screen - beam shape
Capacitive Pickup
- bunches, ToF, energy
03/2016

## Slide 16: ESR – From 400 to 4 MeV/u
magn.dipole
field
ion current
RF amplitude
40 s
ESR cycle during recent experiment
injection, stoch. cooling
deceleration 400 – 30 MeV/u
e- cooling, rebunching
deceleration 30 – 4 MeV/u
e- cooling, ejection
reset magnets
signal:
5..20
3..10
2..6
2..5
2..5
3
time (s)
ESR – Experimental Storage Ring at GSI with stochastic and electron cooling
Ni28+ 400  30  4 MeV/u
1100 A  180 A  25 A
2  107

## Slide 17: Beam transport ESR – CRYRING
from ESR @ 0.7 Tm
07/2016

## Slide 18: Timeline CRYRING@ESR
2012
2013
2014
2015
2016
2017
2018
Dec 20
Nov 7
First ions @ 300 keV/u
Idea, Study Group Report
Transport
to GSI
Restart of SIS/ESR
First ions from source
commissioning
New Cave Topping Out
First ions stored in ring
Reconstruction Cave B
We are here
UHV, bake out, e-Cooler
Installation
and Test of 1st
Experiments
Infrastructure, Setup, cables etc.
Transport test with ESR beam