## Slide 1: The Kaonic Atoms research program at DAFNE: from SIDDHARTA to SIDDHARTA-2
International Conference on Exotic Atoms and Related Topics – EXA 2017 Vienna 10-15/09/2017
Alessandro Scordo
(on behalf of SIDDHARTA-2 collaboration)

## Slide 2: Summary
Physics case: why STRANGE exotic atoms
The DAFNE F-factory @ LNF
The SIDDHARTA experiment:
  Basic concepts and setup
  K-He, KH results
SIDDHARTA-2 experiment: a quest for Kd
  New setup and detectors
  Expected improvements
Conclusions

## Slide 3: STRANGE exotic atoms
Strange quark mass is still, together with the u,d quark masses, lower than the LQCD parameter (≈ 217 MeV)
At low energies, the (running) coupling constant of QCD becomes higher and color confinement is observed. A perturbative approach is not anymore possible!
How strong is the strange quark interaction with ‘standard’ matter?
Is there any place for strange matter?
Kaons are the lowest mass strange particles and their interaction with protons and neutrons at very low energy is fundamental to be investigated

## Slide 4: Kaonic atoms
e-
K-
p
1s
3d
2p
n ~ 25
K-
K-
X- ray
emission
Nuclear
absorption
K-
1s
Strong interaction causes a shifting of the energy of the lowest atomic level from its purely electromagnetic value
Absorption reduces the lifetime of the state, so Xray transitions to this final atomic level are broadened.

## Slide 5: Kaonic atoms
Energy shift e and line width G of 1s state are related to real and imaginary part of the S-wave scattering length (Deser-Trueman formula) :
Scattering lengths can be expressed in terms of antiK-N isospin dependent scattering lengths:

## Slide 6: The KH & K4He ‘puzzles’
Both puzzles have been finally solved by the SIDDHARTA experiment

## Slide 7: The DAFNE F-factory @ LNF
e+ e- at 510 MeV
resonance decays at 49.2 % in K+ K- back to back pair
Very low momentum (≈ 127 MeV) K- beam
Flux of produced kaons: about 1000/second
Best low momentum K- factory in the world

## Slide 8: The SIDDHARTA setup
e-
e+
F
K-
K+
Gaseous target
T = 18 K
P = 1.2 bar
Silicon Drift Detectors
Very fast and triggerable
Used for the first time as energy detectors

## Slide 9
K-4He & K-3He results
K-3He (3d-2p)
K-4He (3d-2p)
PLB697(2011)199
 | Shift [eV] | Reference
KEK E570 | +2±2±2 | PLB653(07)387
SIDDHARTA (He4 with 55Fe) | +0±6±2 | PLB681(2009)310
SIDDHARTA (He4) | +5±3±4 | arXiv:1010.4631, PLB697(2011)199
SIDDHARTA (He3) | -2±2±4 | 
First measurement with a gaseous target both on 3He and 4He

## Slide 10
KH & Kd results
Residuals of K-p x-ray spectrum after subtraction of fitted background
e1S= −283 ± 36(stat) ± 6(syst) eV
G1S= 541 ± 89(stat) ± 22(syst) eV
M. Bazzi et al.. 2011. (SIDDHARTA Coll.), Phys. Lett. B704, 113
Only exploratory measurement for Kd, no measured e,G values obtained

## Slide 11
From SIDDHARTA to SIDDHARTA-2
With the new S/B, Kd measurement will be possible
(YKH / YKd ≈ 10)

## Slide 12
From SIDDHARTA to SIDDHARTA-2
ultra pure
Al bars
copper-band
Working temperature: 30 K
Working pressure : 0.3 MPa
Target cell wall is made of a
2-Kapton layer structure
(25µm+25µm+Araldit<100µm)
HPH Deuterium generator and heavy water

## Slide 13
From SIDDHARTA to SIDDHARTA-2
The veto-1 system
SiPM –4x4 Trento (FBK)
BC-408 scintillator tile
The veto-2 system
After K- absorption, a pion is always emitted

## Slide 14
From SIDDHARTA to SIDDHARTA-2
external CUBE preamplifier
(MOSFET input transistor)
larger total anode capacitance
better than FET performances
standard SDD technology
SDD produced @ FBK
Electronics developed by PoliMi
4x2 SDD array - single unit

## Slide 15
Expected Kd spectrum
Achievable precisions:
De(1s) = 30 eV and DG(1s) = 70 eV
MC simulation for 800 pb-1
Assumptions
signal: shift - 800 eV
width 750 eV
density: 5% (LHD)
detector area: 246 cm2
K yield: 0.1 %
yield ratio as in Kp

## Slide 16
DAFNE & SIDDHARTA Timeline

## Slide 17
Conclusions
Kaons are the lowest mass strange particles and their interaction with protons and neutrons at very low energy is fundamental to be investigated
Kaonic atoms, in particular KH & Kd, represent a unique tool to investigate the KN low energy interaction,
The DAFNE collider @ LNF is the best low momentum K- factory available and represents the only possibility to perform measurements leading to a better understanding of the low energy QCD in the strangeness sector
The SIDDHARTA experiment, with its data taking campaign in 2009, delivered fundamental results based on the KH, K4He and K3He shift and width measurements
The SIDDHARTA-2 experiment, in 2019, aims to deliver the first measurement ever of the Kd 1s level shift and width
SIDDHARTA-2 future program and perspectives involve also:
Other light kaonic atoms (K-O, K-C,…)
Heavier kaonic atoms (K-Si, K-Pb…)
Kaonic helium transitions to the 1s level
Kaon mass - precision measurement at a level < 7 keV
Radiative kaon capture – L(1405) study
Possible measurement of other types of hadronic exotic atoms (sigmonic hydrogen ?)

## Slide 18
Thanks for your attention !