## Slide 1: High-precision measurements of the antiproton's fundamental properties
Christian Smorra
RIKEN, Ulmer Fundamental Symmetries Laboratory former: CERN, Research Fellow
on behalf of the BASE collaboration
International Conference on Exotic Atoms and Related Topics, EXA 2017, Vienna – 11.09.2017

## Slide 2: Outline
Motivation: CPT invariance
Antiproton Decelerator
CPT Tests in Penning traps
BASE - Experimental Setup
Antiproton Lifetime
Antiproton Magnetic Moment

## Slide 3: CPT INVARIANCe

## Slide 4: CPT Invariance
T
C
P
fundamental interactions and their symmetries,
fundamental constants
particle
antiparticle
What are the discrete symmetries of the fundamental interactions?
CPT Theorem: Quantum-field theories are CPT invariant given a few assumptions: locality, unitarity, spin statistics and Lorentz-invariance of the interactions
CPT invariance is an important symmetry in the Standard Model of particle physics
Fundamental properties of matter and antimatter conjugates are identical
Stringent tests of CPT symmetry by high-precision comparison of these quantities
Adapted from H. Wilschut

## Slide 5: Some CPT tests based on particle/antiparticle comparisons
R.S. Van Dyck et al., Phys. Rev. Lett. 59, 26 (1987).
B. Schwingenheuer, et al., Phys. Rev. Lett. 74, 4376 (1995).
H. Dehmelt et al., Phys. Rev. Lett. 83, 4694 (1999).
G. W. Bennett et al., Phys. Rev. D 73, 072003 (2006).
M. Hori et al., Nature 475, 485 (2011).
G. Gabriesle et al., PRL 82, 3199(1999).
J. DiSciacca et al., PRL 110, 130801 (2013).
S. Ulmer, C. Smorra, et al., Nature 524, 196-200 (2015).
ALICE Collaboration, Nature Physics 11, 811–814 (2015).
M. Hori et al., Science 354, 610 (2016).
H. Nagahama, C. Smorra, et al., Nat. Comm. 8, 14084 (2017).
M. Ahmadi et al., Nature 541, 506 (2017). M. Ahmadi et al., Nature 548, 66–69 (2017).
CERN
AD
Recent
Past
Planned
The work on CPT invariance tests
in general has been summarized in:
V. A. Kostelecky, N. Russell, 0801.0287v10 (2017).

## Slide 6: Recent work of the BASE collaboration
Physics:
  Antiproton-to-proton charge-to-mass ratio comparison with 69 ppt relative precision [1]
  Antiproton magnetic moment measurement with 0.8 ppm relative precision [2]
  Observation of individual spin transitions of a single antiproton [3]
  Antiproton lifetime limit of 10.2 years [4]
  Overview: Technical and Physical Aspects of the BASE experiment [5]
Technical papers:
  Antiproton reservoir trap [6]
  Highly-sensitive image-current detection systems for single particles [7]
[1] S. Ulmer, C. Smorra, et al., Nature 524, 196-200 (2015).
[2] H. Nagahama, C. Smorra, et al., Nat. Comm. 8, 14084 (2017).
[3] C. Smorra et al., Phys. Lett. B 769, 1-6 (2017).
[4] S. Sellner et al., New J. Phys. 19, 083023 (2017).
[5] C. Smorra et al., Eur. Phys. J. ST 224, 3055-3108 (2015).
[6] C. Smorra et al., Int. J. Mass Spectr. 389, 10 (2015).
[7] H. Nagahama et al., Rev. Sci. Instr. 87, 113305, (2016).

## Slide 7: ANTIPROTON DECELERATOR

## Slide 8: Antiproton Decelerator of CERN
AD
CERN – Meyrin Site
Antiproton Decelerator (AD)
Only source of slow antiprotons
35 million antiprotons
5.3 MeV kinetic energy
150 ns pulse length
2 min cycle time
The world’s only laboratory to study antimatter at rest (so far)

## Slide 9: Antiproton decelerator in 2015
figure from M. Doser
Proton Synchrotron beam on irdium target: Pair production of antiprotons
Focusing and separation of antiprotons
Antiproton decelerator:
Synchrotron for antiprotons
Decelerates from 3.6 GeV to 5.3 MeV by
1.) Rf-deceleration
2.) Stochastic cooling 3.) Electron cooling
Ejection to experiments: 30 million antiprotons in 200 ns
every 110 s

## Slide 10: BASE in the AD/ELENA-facility
ASACUSA
ALPHA
BASE
ATRAP
AEGIS
GBAR
40 m
BASE, ATRAP,
Fundamental properties of the antiproton
ALPHA, ATRAP,
Spectroscopy of 1S-2S in antihydrogen
ASACUSA, ALPHA
Spectroscopy of GS-HFS in antihydrogen
ASACUSA
Antiprotonic helium spectroscopy
ALPHA, AEgIS, GBAR
Test free fall/equivalence principle with antihydrogen
M. Hori, J. Walz, Prog. Part. Nucl. Phys. 72, 206-253 (2013).
AD - 5.3 MeV
ELENA - 100 keV

## Slide 11: CPT Tests in penning traps

## Slide 12: High-precision measurements in Penning traps
Cyclotron Frequency
Larmor Frequency
H. G. Dehmelt and P. Ekström, Bull. Am. Phys. Soc. 18, 72 (1973).
D. J. Wineland and H. G. Dehmelt, J. Appl. Phys. 46, 919 (1975).

## Slide 13: The Penning trap
B
q/m
Cyclotron frequency:
Invariance Theorem:
Motion of the confined particle:
The cyclotron frequency can be determined by measuring the three particle eigenfrequencies

## Slide 14: Image-current detection
kHz
MW
1 to 10 fA
Image current:
Effective resistance:
Resonance frequency:
Consequences:
A signal at the eigenfrequency of the particle can be detected
The particle dissipates energy and is resitively cooled
Axial frequency dip of a single antiproton
D.J. Wineland, H.G Dehmelt, J. Appl. Phys. 46, 919 (1975).
C. Smorra et al., Eur. Phys. J. ST 224, 3055 (2015).
Notes: Motional frequencies are measured via image-current detection

## Slide 15: Larmor Frequency measurement
Magnetic potential:
Axial frequency becomes function of spin state
- Very difficult for the proton/antiproton system.
- Most extreme magnetic conditions ever applied to single particle.
Measurement based on continuous Stern Gerlach effect.
Observe driven spin transitions -> Measurement of Larmor resonance
Harmonic force generated by a magnetic bottle:
B2=300000 T/m2

## Slide 16: Standard Model Extension in Penning traps
Proton
Antiproton
a
Figure from V.A. Kostelecky
b
D. Colladay and V.A. Kostelecky, Phys. Rev. D 55, 6760 (1997).
Y. Ding and V.A. Kostelecky, Phys. Rev. D 94, 056008 (2016).

## Slide 17: CPT violation in the SME framework
Effective field theory to include Lorentz-violation into the Standard Model
CPT violation is mediated through Lorentz violation in the Standard Model Extension (SME)
Dirac’s Equation is modified (lowest order CPT-odd contributions):
D. Colladay and V.A. Kostelecky, Phys. Rev. D 55, 6760 (1997).
P.A. Bolokhov, S.G. Nibbelink, and M. Pospelov, Phys. Rev. D 015013 (2005).
Y. Ding and V.A. Kostelecky, Phys. Rev. D 94, 056008 (2016).
Figure from V.A. Kostelecky

## Slide 18: Experimental consequences of the SME
Proton
Antiproton
a
Frequencies become dependent on the experiment orientation relative to the SME fields
Sidereal variation of the measured frequencies occur
Hypothetical signature of CPT violation:

## Slide 19: Experimental setup

## Slide 20: The BASE Apparatus at CERN

## Slide 21: The BASE experiment
H. Nagahama et al., Rev. Sci. Instr. 87, 113305, (2016).

## Slide 22: The BASE four Penning-trap system
RT
PT
CT
AT
HV Electrodes
Degrader
Spin flip coil
Electron gun
Pinbase
Catching / Reservoir Trap: Catching, cooling and storing of antiprotons
Precision Trap: Homogeneous field for frequency measurements
Cooling Trap: Fast cooling of the cyclotron motion
Analysis Trap: Inhomogeneous field for the detection of antiproton spin flips, B2 = 30 T / cm2
New trap system dedicated to measure the antiproton magnetic moment with 10-9 uncertainty

## Slide 23: Antiproton decelerator in 2015
figure from M. Doser
Proton beam on Ir target:
Pair production of antiprotons
Focusing and separation of antiprotons
Antiproton decelerator:
Synchrotron for antiprotons
Decelerates from 3.6 GeV to 5.3 MeV by
1.) Stochastic cooling 2.) Rf-deceleration
3.) Electron cooling
4.) Ejection to experiments
30 million antiprotons in 200 ns
every 110 s

## Slide 24
C. Smorra et al., Eur. Phys. J. ST
224, 3055-3108 (2015).

## Slide 25: Reservoir Trap

## Slide 26: Antiproton Lifetime Limit ~10 years

## Slide 27: Deceleration from 5.3 MeV to 0.5 meV
Antiprotons
HV pulsed
HV static
Ring electrode
Mesh degrader
Al degrader
Stainless steel
Vacuum window
Pinch off tube
Trap can vacuum: < 10-18 mbar
Isolation vacuum: ~ 10-8 mbar
1 – 5 x 10-4
20 um

## Slide 28: Non-destructive extraction: Separate and Merge

## Slide 29: Reservoir trap
Inversion of the baryon asymmetry:
Antibaryon density: ~ 108/cm3
V < (50 mm)3
Baryon density: ~ 1 / cm3
p < 10-16 Pa
Antiprotons stored from 03.11.2015 – 22.12.2016
Storage of antiprotons for more than one year: 405.5 days
Extraction of single particles by a potential tweezer scheme
C. Smorra et al., Int. J. Mass Spectr. 389, 10 (2015).
S. Sellner et al., New J. Phys. 19, 083023 (2017).

## Slide 30: Antiproton Lifetime Limits
y (68% C.L.)
y (90% C.L.)
Antiproton lifetime limits:
S. Sellner et al., New J. Phys. 19, 083023 (2017).

## Slide 31: Measurements in the magnetic bottle

## Slide 32: Spin-state readout in a magnetic bottle
Axial frequency shift due to orbital and spin angular momentum!
A. Mooser et al., Phys. Rev. Lett. 110, 140405 (2013).
Measurement principle: induce changes in the quantum numbers ms and n+ by excitation/spin-flip drives.
Measure the increase of the axial frequency fluctuation

## Slide 33: Resonance curves
H. Nagahama et al., Nat. Comm. 8, 14084 (2017).

## Slide 34: Lineshape in the magnetic bottle
No concern for 10-6
precision
Lineshape reflects the Boltzmann
distribution of axial energy
Energy fluctuation smears out the “cut” Ez = 0.
Stability requirement 5 mK / 12 h.
The frequencies of interest depend strongly on the particle amplitudes
The axial detector acts as a thermal bath (correlation time 33 ms).
To obtain the g-factor we need to extract the frequencies at zero axial amplitude and identical magnetron radius

## Slide 35: Cyclotron cut frequency
Record frequency fluctuations for drive frequencies close to the cut frequency
The time fraction the drive frequency is above the cut frequency increases the fluctuation
Analytical reconstruction of the line-shape based on the magnitude of the fluctuations
or
Monte-Carlo simulation to extract the confidence interval for the cyclotron frequency
Cyclotron frequency measurements up to 0.6 ppm precision
H. Nagahama et al., Nat. Comm. 8, 14084 (2017).

## Slide 36: Larmor cut frequency
Monte-Carlo simulation using the magnetron heating rate information to extract the confidence interval
Larmor cut frequency was measured with up to 0.6 ppm precision

## Slide 37: Spin-state readout in a magnetic bottle
The magnetic bottle couples also the magnetic moment to the radial motion to the axial frequency!
Measurement needs to be done at constant n+, n-!
A. Mooser et al., Phys. Rev. Lett. 110, 140405 (2013).

## Slide 38: Antiproton g-factor results
Six fold improved uncertainty of the antiproton magnetic moment
Respective limits on SME coefficients for CPT violation improved up to a factor 20
H. Nagahama et al., Nat. Comm. 8, 14084 (2017).

## Slide 39: SME Figures of Merit
vector
vector
vector
vector
scalar
scalar
V. A. Kostelecky, N. Russell, 0801.0287v10 (2017).

## Slide 40: (Anti)proton g-factor WiTH 10-9 Precision

## Slide 41: Divide and Conquer - Double Trap Method
Precision Trap
44 mm
19 mm
H. Häffner, Phys. Rev. Lett.85, 5308 (2000)
Analysis
Trap
Requires clear identification of the spin state
Idea: Separate spin state analysis and precision frequency measurements.
B2 = 300000 T/m2
T+ < 0.2 K
B2 = 3.5 T/m2
T+ = 300 K
Dnz/nc = 5 x 10-9

## Slide 42: The Magnetic Moment of the Proton
First direct high precision measurement of the proton magnetic moment.
Improves 42 year old MASER value by factor of 2.5
Value in agreement with accepted CODATA value, but 2.5 times more precise
g/2 = 2.792847350 (7) (6) (3.3 ppb)
A. Mooser, S. Ulmer, K. Blaum, K. Franke, H. Kracke, C. Leiteritz, W. Quint, C. Smorra, J.Walz, Nature 509, 596 (2014)
Line width:
Saturation,
Residual B2
Magnetic field fluctuations
A. Mooser et al., Nature 509, 596 (2014).

## Slide 43: Single antiproton spin-transitions
Single spin transitions can be identified with a high fidelity (Average spin-state fidelity > 92 %)
Enables an antiproton g-factor measurement with the double-trap method
C. Smorra et al., Phys. Lett. B 769, 1-6 (2017).

## Slide 44: Conclusion and Outlook
Proton-antiproton charge-to-mass ratios compared with highest precision
6-fold improved antiproton g-factor
High precision measurement of the proton g-factor using the double-trap technique:
Outlook: Antiproton g-factor measurement with the double trap method

## Slide 45: Thank you for your attention!
Thanks to the BASE team
BASE@CERN: M. Borchert, J. Harrington, T. Higuchi, A. Mooser, H. Nagahama, S. Sellner, T. Tanaka, S. Ulmer
BASE@Hannover: M. Niemann, C. Ospelkaus, A. Paschke
BASE@Mainz: M. Bohman, A. Mooser, G. Schneider, N. Schoen, J. Walz
BASE collaborators: K. Blaum, Y. Matsuda, W. Quint, Y. Yamazaki
Thank you for the funding:

## Slide 46: ANTIPROTON Q/m

## Slide 47
S. Ulmer, C. Smorra, A. Mooser et al.,
Nature 524, 196-200 (2015).

## Slide 48: Measurement configuration
Based on reservoir extraction technique and developed methods to prepare negative hydrogen ions we prepared an interesting set of initial conditions
antiproton
H- ion
Comparison of H-/antiproton cyclotron frequencies:
One frequency ratio per 4 minutes with ~ 5 ppb uncertainty

## Slide 49: Data analysis and result
6521 frequency ratios
Line-width limitation:
Random-walk noise of the magnetic field: 5.5 ppb
Major systematic limitation:
A displacement of 29 nm in the gradient of B1 = 7.6 mT / m requires a correction of : 114(26) p.p.t.
  Final experimental result:
Rexp,c = 1.001 089 218 755 (64) (26)
In agreement with CPT conservation
Exceeds the energy resolution of
previous result by a factor of 4.

## Slide 50: Data analysis and result
Cyclotron frequency ratios for -to- and -to- are also evaluated
6521 frequency ratios
Consistent with 1
Rexp = 1.001 089 218 872 (64)
Experimental result:
Width limited by random-walk noise of the magnetic field (~ 5.5 ppb)

## Slide 51: Systematic Corrections
Major systematic correction due to the residual magnetic B1 gradient.
  A displacement of 29 nm in the gradient of B1 = 7.6 mT / m causes a correction of
  dRB1 = -114(26) p.p.t.
  Slight re-adjustment of the trapping potential: dRC4 = -3(1) p.p.t.
  Final experimental result:
Rexp,c = 1.001 089 218 755 (64) (26)
In agreement with CPT conservation
Exceeds the energy resolution of
previous result by a factor of 4.

## Slide 52: Sidereal Variations (Lorentz violation)
Constrains in first order CPT-even parameters of the Standard Model Extension
Limit of sidereal variations in proton/antiproton charge-to-mass ratios to < 0.72 ppb
Amplitude
Oscillation Period (s)

## Slide 53: Antiproton gravitational redshift
R. J. Hughes, & M. H. Holzscheiter, Phys. Rev. Lett. 66, 854-857 (1991).
R. J. Hughes, Contemporary Physics, 34:4, 177-191 (1993).
R
8.7
Cyclotron Frequency reflects the gravitational binding energy of the antiproton
Gravitational anomaly can be constrained
Our 69ppt result sets
a new upper limit of
S. Ulmer et al., Nature 524 196 (2015)
Cyclotron frequency ratio depends on (q/m)-difference, SME-coefficients, and the gravitational anomaly
Limits on the gravitational anomaly depend on assumptions on the gravitation potential U

## Slide 54: Conclusions to antiproton Q/M
TRAP (1999/2006) 68% C.L.
BASE (2015) 68% C.L.
Most precise comparison of a fundamental quantity of baryons and antibaryons.
Test of the standard model with eV energy resolution. Factor 4 improvement due to lower cyclotron frequency
Constrain on the gravitational anomaly of antiprotons by arguing via the gravitational redshift
No diurnal variation in cyclotron frequency ratio observed in 35 days
5.5 ppb
1.25 ppb
Limitations due to the magnetic field fluctuations have been improved
A more precise measurement seems feasible

## Slide 55: Antiproton g-factor WiTH 10-6 Precision

## Slide 56: Challenge: Resolve individual spin-flips
Status after the 0.8 ppm antiproton g-factor measurement
Axial frequency stability: 101 mHz
Spin flip frequency shift: 170 mHz
Suppression of voltage noise densities of order 10 – 100 pV / SQRT(Hz) is challenging!
This noise can be measured only by a single antiproton in a strong magnetic bottle Axial frequency stability after optimization: 48 mHz

## Slide 57: Why not to use protons
Systematic uncertainties due to the particle position are large (~10-9)
No significant uncertainties in converting the mass ratio
CPT test by a measurement of the cyclotron frequency ratio of antiproton and H- ion
Rtheo = 1.0010892187542(2)
(0.2 ppt)
G. Gabriesle et al., PRL 82, 3199(1999).
S. Ulmer, C. Smorra, A. Mooser et al., Nature 524, 196-200 (2015).

## Slide 58: g-factor measurements of protons/antiprotons
J. DiSciacca et al.,
Phys. Rev. Lett. 110,
130801 (2013).
A. Mooser et al.,
Nature 509, 596 (2014).
Antiproton g-factor:
Proton g-factor:

## Slide 59: Antiproton gravitational redshift
R. J. Hughes, & M. H. Holzscheiter, Phys. Rev. Lett. 66, 854-857 (1991).
R. J. Hughes, Contemporary Physics, 34:4, 177-191 (1993).
R
Assuming CPT Invariance, we can compare the proton/antiproton gravitational redshift.
Constrain of the gravitation anomaly for antiprotons:
constrained to 10-6

## Slide 60: Double Trap System in Mainz
High precision due to spatially separated spin state analysis and precision frequency measurements.
Precision Trap
44 mm
19 mm
H. Dehmelt and P. Ekström, Bull. Am. Phys. Soc. 18, 72 (1973).
E. A. Cornell et al., Phys. Rev. A 41, 312 (1990).
H. Häffner, Phys. Rev. Lett.85, 5308 (2000).
A. Mooser, K. Franke et al. Phys. Lett. B 723, 78 (2013).
Analysis
Trap
Proton trap system (Mainz University)

## Slide 61: Detection of the radial frequencies
Sideband method: A radiofrequency drive at n+ - nz or nz + n- couples two eigenmotions. The amplitudes of the two states are periodically exchanged.
Amplitude (dBm)
n-nz (Hz)
The magnetron frequency and the reduced cyclotron frequency can be measured by detecting nl, nr and nz
Using the invariance theorem
the free cyclotron frequency is derived.

## Slide 62: The Magnetic Moment of the Proton
Sweeping excitation frequency -> g factor resonance
First direct high precision measurement of the proton magnetic moment.
Improves 42 year old MASER value by factor of 2.5
Value in agreement with accepted CODATA value, but 2.5 times more precise
g/2 = 2.792847350 (7) (6)
A. Mooser, S. Ulmer, K. Blaum, K. Franke, H. Kracke, C. Leiteritz, W. Quint, C. Smorra, J.Walz, Nature 509, 596 (2014)
Line width:
due to saturation and residual B2
In precision trap.
A. Mooser et al., Nature 509, 596 (2014).

## Slide 63: Antiproton charge-to-mass ratio
TRAP I: 100 protons vs. 100 antiprotons (40 ppb)
Limit: Coulomb interaction
TRAP II: 1 proton vs. 1 antiproton (1.1 ppb) Limit: Magnetic field gradient “Trap Asymmetry”
TRAP III: Co-trapped negative hydrogen ion (H-) and antiproton (90 ppt)
Limit: Magnetic field stability, extrapolation to zero energy
BASE I: Fast exchange of 1 H- ion and 1 antiproton (69 ppt)
Limit: Magnetic field stability, trap asymmetry
G. Gabrielse et al., Phys. Rev. Lett. 82, 3198 (1999).
G. Gabrielse, Int. J. Mass Spectr. 251, 273-280 (2006).
S. Ulmer, C. Smorra et al., Nature 524, 196 (2015).

## Slide 64: Limitations of the state-of-art method
Transition amplitude for electric dipole transitions in the cyclotron mode:
Resistive cooling to prepare particles with high spin-flip fidelity is inefficient!
3 hours for each Larmor resonance data point are required
400 data points in 4 month measurement time for 3.3 ppb
A. Mooser et al., Phys. Rev. Lett. 110, 140405 (2013).
A. Mooser, K. Franke et al. Phys. Lett. B 723, 78 (2013).
1 K

## Slide 65: Cooling (anti-)protons with laser cooled ions
Laser-cooling provides a deterministic cooling scheme to cool to the ground-state of motion
(Anti-)Protons have no optical transitions
Use the methods proposed by Wineland/Heinzen to form a coupled harmonic quantum oscillator
Direct coupling by coulomb interaction in a microtrap (2d = 200 mm)
Cooling times of 1 ms can be achieved
Increases data collection rate of the state-of-art method by a factor of ~ 50
C. Ospelkaus, M. Niemann, A. Paschke et al.
M. Niemann, Master Thesis, Leibniz Universität Hannover (2013).

## Slide 66: Systematic Studies
High sampling rate enables us to perform detailed systematic studies
Magnetic field fluctuations are the most significant uncertainty contribution
100 ppb fluctuation by the AD
Reduced by self-shielding factor of 10
AD – Magnetic Noise

## Slide 67: Future prospects
Phase methods allow to achieve higher precision
in shorter measurement time.
Applications:
Detection of the axial frequency jump due to a spin flip
Fast and direct measurement of the cyclotron frequency
g-factor line width can be reduced to about 0.5 ppb limited by magnetic field inhomogeneity
E. A. Cornell et al., Phys. Rev. Lett. 63, 1674 (1989).
S. Sturm et al., Phys. Rev. Lett. 107, 143003 (2011).
S. Ulmer, Ruprecht-Karls University Heidelberg, PhD Thesis (2011).
Proof of principle from the proton precision trap

## Slide 68
Measurement cycle is triggered by the antiproton injection into the AD
One BASE charge-to-mass ratio measurement is by 50 times faster than
achieved in previous proton/antiproton measurements.
AD cycle
First high-precision mass spectrometer which applies fast shuttling technique
Measurement cycle

## Slide 69: Axial frequency drifts/fluctuations
The magnetic bottle couples also the magnetic moment to the radial motion to the axial frequency!
S. Ulmer, PhD thesis, Heidelberg University (2011).
Transition | Shift / mHz
Spin | 180
Cyclotron | 65
Magnetron | 0.05
Noise on the trap electrodes drives cyclotron and magnetron transitions!

## Slide 70: Single spin-flip resolution 1/2
A. Mooser et al., Phys. Rev. Lett. 110, 140405 (2013).
A spurious external noise source with noise density E0 in V/m Hz-1/2 drives dipol transitions of a harmonic oscillator.
According to Fermi`s golden rule:
E+ < 150 meV, n+ < 1300

## Slide 71: Single spin-flip resolution 2/2
Spin-state fidelity and cyclotron cooling:
75 % fidelity
Current energy threshold with 2 hour preparation time
Preparation of a particle below 150 meV cyclotron energy is necessary for a reliable spin-state detection!
A. Mooser et al., Phys. Rev. Lett. 110, 140405 (2013).

## Slide 72: Progress – Beamtime 2015
RMS fluctuation of magnetic field improved by factor of 4.
With conditions of beamtime 2014 Q/M comparison with 15 ppt possible.
Implementation of a self-shielded solenoid and increase of homogeneity in the measurement trap
12ppb
5.5 ppb
1.25 ppb

## Slide 73: Catching / Reservoir Trap
Antiprotons
HV pulsed
HV static
Trap Center
Mesh degrader
Al degrader
Stainless steel
Vacuum window
Pinch off tube
1 – 5 x 10-4
20 um
G. Gabrielse et al., Phys. Rev. Lett. 57, 2504 (1986).
G. Gabrielse et al., Phys. Rev. Lett. 63, 1360 (1989).
100 trapped antiprotons
at 5.3 (1.1) K temperature
Image-current detection system

## Slide 74: Non-destructive extraction: Separate and Merge
No particle loss in > 40 separate and merge cycles
Single particle preparation time of minutes instead of hours
Efficient use of antiprotons compared to single-particle preparation by evaporation

## Slide 75: Loading antiprotons and H- ions (2014 run)
details of H- trapping have yet to be understood.
typical yield H- /pbar = 1/3.
managed to prepare a clean composite cloud of H- and antiprotons.
Frequency (kHz)

## Slide 76: Antiproton storage (12.11.2015-10.03.2016)
Long storage time of antiprotons (> 1 year)
Independent operation of BASE from the accelerator run-time cycle
Enables precision measurements during AD shut-down periods
BASE is the only AD experiment still running with antiprotons from 2015!

## Slide 77: Antimatter Asymmetry in the Universe
Equivalent in theory, but in contradiction: Our universe consists only out of matter!
Cosmic rays show no evidence of primary antiprotons / antinuclei
No baryon number violating process is known
Particles and antiparticles are created in pair production and annihilate exactly in collisions
What caused this asymmetry in the universe?
Is the CPT invariance violated?
D. N. Spergel et al., (WMAP Collaboration), Astrophys. J. Suppl. Ser. 148, 175 (2003).
G. Steigman, Ann. Rev. Astr. Astrophys. 12, 339 (1976).
After Big Bang
Now
?