## Slide 1
Jim Zagel
GSI - IPM17 Workshop
21-24 May 2017
Ion Profile Monitors _ 2017

## Slide 3
Fermilab Campus
Main Injector and Recycler IPM’s
Booster IPM’s

## Slide 4: Accelerators at Fermilab
Recycler
Main Injector
Booster

## Slide 5
Beam On Display

## Slide 6: Booster IPM Location
Booster Layout PDF
http://www-bd.fnal.gov/proton/booster/BoosterLayout.pdf
New Booster IPM Installation this summer
Existing Booster IPM Installation

## Slide 7: Existing Booster IPM
7
Originally installed ~1990’s in Booster as W Graves PHD project.
8KV Clearing Field

## Slide 8: New Booster IPM Can Assembly for Long 4
Main Ring IPMs were reconfigured to use in Booster.
30KV designed to give a good measurement over entire Booster cycle
Will be installed this shutdown.
40 Strips spaced at 1.5mm pitch
Flash Test Strip added
Large Aperture

## Slide 9: New Booster IPM Can Assembly Vacuum Certified Awaiting Installation this summer

## Slide 10: IPM Installations
Jim Zagel | GSI
10
Main Injector Horizontal at Q104
Main Injector Vertical at Q103
Recycler Vertical at Q103
Recycler Horizontal At Q105

## Slide 11: Tevatron IPM
Horizontal Detector
Horizontal Correction Magnet
Used to measure 36 Proton and 36 Anti-Proton bunches per turn using QIE Chips in tunnel.

## Slide 12: Main Injector IPM Discoloration
Some time after installation, with lots of beam having been exposed, we notice some slight discoloration on the supporting structures and on the beam side of the MCP.

## Slide 13: IPM MCP Scan
Independent up and downstream +/- 25mm in horizontal plane for alignment and MCP Exposure.
Allows us to maximize MCP Life.
Upstream Slide is binding as we approach 300mils off center.
We will replace both slides with a more robust/rad-hard version this summer.
June 2016 Scan
March 2017 Scan

## Slide 14: IPM Scan Plots After Move

## Slide 15: IPM Scan Data Yields Relative S/N

## Slide 16: Main Injector IPM Control Grid

## Slide 17: Control Grid Demonstration Test R4H
Turn on
Turn off
Control of electrons allowed to hit MCP.

## Slide 18: MCP Test Chamber
Facility to scan MCPs for suitability and look at areas of reduced gain
EGN Scan
Using an Electron Generator to provide a uniform signal for testing MCP’s.
Unfortunately the EGN is anything but uniform. Lots of shot noise over time

## Slide 19: MCP Test Chamber
1.5” Filament Installed
Using a Nude Ion Gauge filament to provide a steady controllable source of electrons
New 3” Filament

## Slide 20: MCP Test Chamber Work Continues
Filament Controller
Test Chamber

## Slide 21: MCP Test Chamber
Filament Scan
Filament 2 Parallel
Filament 1 Parallel
Using a Nude Ion Gauge filament to provide a steady source of electrons
First test mounting filaments parallel to pick-up strips for proof of principle
Bottom Right, filament perpendicular to pickup strips
1.5” Filament 90o
Notes: Strips at 1mm pitch filament measures approximately .8” = 20.32mm

## Slide 22: MCP Test Chamber
1.5” Filament Scan
Using 1.5” Nude Ion Gauge filament to provide a steady source of electrons
Filament perpendicular to pickup strips

## Slide 23: MCP Test Chamber
3” Filament Scan
Filament perpendicular to pickup strips
Magnet Compensation
Initial Signal

## Slide 24: MCP Test Chamber
3” Filament Scan
With Mu Metal Shielding

## Slide 25
That’s All Folks
That is all for now
Thank you for your attention

## Slide 26: Extra Material
Beyond here, there be Dragons!

## Slide 27: Recent References
Dirk Bartkoski, PhD Dissertation:
Analysis, Prototyping, and Design of an Ionization Profile Monitor for the Spallation Neutron Source Accumulator Ring, December 2013
https://www.researchgate.net/publication/269393015
Nuclear Instruments and Methods in Physics Research Section A Accelerators Spectrometers Detectors and Associated Equipment 11/2014; 767:379–384. DOI:10.1016/j.nima.2014.09.020
9th Ditanet Topical Workshop on Non-Invasive Beam Size Measurement
for High Brightness Proton and Heavy Ion Accelerators, April 2013
https://indico.cern.ch/event/229959/
NEXT: International Beam Instrumentation Conference (IBIC):
August 2017-Grand Rapids Michigan: http://www.ibic2017.org/
Note: IBIC of interest is not the INTERNATIONAL CONFERENCE ON INDUSTRIAL BIOTECHNOLOGY
International Beam Instrumentation Conference (IBIC):
September 2015-Melbourne, Australia: http://www.ibic2015.org
September 2014-Monterey, California: https://conf-slac.stanford.edu/ibic-2014/
September 2016-Barcelona, Spain: http://www.ibic2016.org/

## Slide 28: High Speed Digitizers
IPM VME Crate

## Slide 29: High Speed Digitizers
Alexei Semenov has designed a series of VME digitizers that are the root of most new instrumentation at Fermilab.
Channels | Bits | Frequency | Used on
16 | 14 | 80 MHz | IPM, LCLS
8 | 14 | 125 MHz | ATF, General
12 | 14 | 250 MHz | Booster BPM
8 | 16 | 250 MHz | New Booster BPM
Channels | Bits | Frequency | Used on
16 ADC | 14 | 80 MHz | IPM, LCLS
8 ADC | 14 | 125 MHz | ATF, General
12 ADC | 14 | 250 MHz | Booster BPM
8 ADC | 16 | 250 MHz | New Booster BPM
Feedback System |  |  | 
4 ADC + 4 DAC | 16 | 250MHz | DCCT, Longitudinal Damper

## Slide 30: Ionization Profile Monitors

## Slide 31
Anode Strip Board
Main Injector/Recycler Details
  Ceramic
  Mass terminated connectors.
    80% copper, 20% space.
  50Ω Flash Test Strip
MCP Power Pads

## Slide 32
Anode Strip Board cont’d
Beam Size determines # of Strips and Pitch
Booster
  Beam sigma 4.5 mm
  48 Strips at 1.5 mm Pitch
  1.2E12 to 4.5E12 protons
Main Injector/Recycler
  Beam sigma 4.5 - 1.5 mm
  120 Strips at 0.5 mm pitch
  MI up to 6 booster batches
  RR slip stack up to 12 batches
  RR max intensity 5E13