## Slide 1: Status Operations - 28.08.2018
Ion Sources
  local tests ongoing
UNILAC
  waiting for RF cooling system to be switched on (end of the week)
SIS18
  Dipole has still issues (one breakdown every 2h), The Ramps look good now, but the PE fails
  Quadrupoles + Sextupoles had problems as well
  Tunnel Opening Planned for this week (e.g. for work on RF-Systems), as soon as the Power supply problems are solved
ESR
  Bake-out finished on Monday
  Tomorrow status will change to controlled access  SW-Model is prepared, Dry-Run will start tomorrow
HEST
  NE5 opening of vacuum section is planned for beginning Sep.
  NE5+NE8 Cleaning is needed before
Cryring
  beam operation on local injector

## Slide 2: Restart-Plan September