- pLinac

  - Kickoff Circulator: BANF not possible, “Deckvermerk”  from FAIR missing, EDMS Spec delayed -> QA

  - pLinac Building: infrastructure, cooling water - > meeting with FSB / Company Steag (old planning data)

  - Heater power supply klystron #6 (?) mechanical damaged -> returning to manufacturer (send out via PSP...)

  - FAIR in contact with Thales / Klystrons (Sonia Utermann)

- UNILAC RF systems

  - roof water leakage problems

    - RF amplifiers and power supplies covered by plastic sheets (temporary)

  - UNILAC tunnel to be closed this afternoon

  - air cooling system working since this morning

  - powering up the RF systems, interlock checking