## Slide 1: Optical and raster electron microscopy of RFQ electrode surfaces of the GSI UNILAC high current injector RFQ after various treatments
P. Gerhard, H. Vormann, L. Groening, S. Mickat (GSI Linac Dept.)
B. Lommel, M. Bender, B. Kindler, A. Hübner, V. Yakusheva (GSI Target Lab)
T. Luckhardt (GSI Beam Diagnostics)
Workshop „High Intensity RFQ meets Reality”, Heidelberg 15.-16. April 2019

## Slide 2: Microscopy of RFQ electrode surfaces: The samples
Candidate | Year of fabrication | History |  |  |  | Surface roughness* | 
 |  | Milled | Polished | Cu plated | Used | Ra /µm | Rmax /µm
S1 | 2019 | Yes | No | No | No | 0,2-0,3 | 1,9-2,6
S2 | 2019 | Yes | Yes | No | No |  | 
S2a | 1999 | Yes | Yes | No | No |  | 
S3 | 2004/09? | Yes | Yes | Yes | No | 0,2 | 3,7-4,9
S4 | 2004 | Yes | Yes | Yes | Yes | 2,5-2,9 | 25-29
S5 | 1999 | Yes | (Yes) | No | Yes | 2,5-2,9 | 25-29
*: Measurements courtesy S. Mickat, taken from similar, but not necessarily the same samples/spots
From roughness measurements:
  Roughness used ~ 10x new
  Cu plating makes no difference
How do the surfaces look like?
S1
S2
S2a
S3
S4
S5

## Slide 3: Microscopy of RFQ electrode surfaces: Milled, polished, Cu plated, and used
S1: milled
S2: milled, polished
S3: milled, polished, Cu plated
S3: milled, polished, Cu plated
S4: milled, polished, Cu plated, used
S4: milled, polished, Cu plated, used
S1: milled
S2: milled, polished
S3: milled, polished, Cu plated
S4: milled, polished, Cu plated, used

## Slide 4: Microscopy of RFQ electrode surfaces: Cu plated vs. not Cu plated, used
S5: not Cu plated, used
S5: not Cu plated, used
S5: not Cu plated, used
S4: Cu plated, used
S4: Cu plated, used
S4: Cu plated, used
S4: Cu plated, used
S5: not Cu plated, used

## Slide 5: Microscopy of RFQ electrode surfaces: Not Cu plated, used (details)
S5: not Cu plated, used
S5: not Cu plated, used
S5: not Cu plated, used
S5: not Cu plated, used
S2a: not Cu plated, not used
S4: Cu plated, used

## Slide 6: Microscopy of RFQ electrode surfaces: SEM and EDX
EDX
EDX
S4: Cu plated, used

## Slide 7: Thank you!

## Slide 8: How the data was analysed?
Roughness
Peak-to-valley height
Rmax = = 4,53 µm
Test1-1 - 1200
S5: not Cu plated, used