## Slide 1: machine status
CRYRING@ESR
  - electron cooler – not counting on operation in September, only little hope
  user experiment beamtime (C+)
    untested experiment detector leaked twice – not installed!
    shifted the user time to November
  three vacuum sections are baking (despite the delay due to the det.)
  Control System – adapt patterns for running after LSA upgrade
  - ECR from Giessen: HV problem at the interface to CRYRING@ESR – went back to the MINIS for the remainder of 2019.
HITRAP - no activity
CRYRING@ESR & HITRAP
C+
C+