## Slide 1: and HITRAP
Frank Herfurth
CRYRING@ESR
December-17, 2019
CRYRING@ESR
  ECooler
    isolation vacuum of magnet checked, started test fill
    Major vacuum incident on Nov-23: caused poisoning of the electron cooler cathode, changed, bake out ongoing
  Ring Operation/Test
    first test with the ECR done, promising, needs another gas valve
    Experiment installation ongoing
HITRAP
  faulty MPS (multi passage spectrometer/ beam switch) replaced
  Electron transmission test at the cooling Penning trap ongoing
PAC Experiments in 2020 expect:
  136Xe50+, 238U88+ and 238U91+ @ about 10 MeV/u, 107 (/ minute)
  cooled!