## Slide 1: and HITRAP
Frank Herfurth
CRYRING@ESR
March-03, 2020
CRYRING@ESR
  ECooler
    Last fill lasted 5+ days, first try to refill successful last week, another refill ongoing
    Major vacuum incident on Nov-23: still tests with the cryopumps, compressor change ongoing
  Ring Operation/Test
    YR06QD1 water leak – repair incl. bake out - done
    Giessen ECR running very stable for D+, ion source application and FESA layer still to be finished (CSCO)
    Experiment installation ongoing
  Commissioning with beam starts today in YRT1
HITRAP
  Electron/Ion transmission test at the cooling Penning trap ongoing
  discussion on Shutdown activities for HITRAP linac needed, however, added to planning
PAC Experiments in April/May expect:
  136Xe50+, 238U88+ and 238U91+ @ about 10 MeV/u, 107 (/ minute)
  cooled!