## Slide 1: Absolute gas gain measurement in straw drift tubes at 2 bar

## Slide 2: Experimental setup for absolute gas gain measurements at LNF
137Cs 1.395 GBq
Straw tubes ‘a la COSY’ filled with Ar/CO2(90/10) gas mixture
at overpressure 1000 mbar

## Slide 3: Ionization current I0 changes polarity if voltage ±V changes polarity
ON

## Slide 4: Where zero at ±V at source ON?
6/14/10

## Slide 5: I0 finding from raw data

## Slide 6: Spread of currents in various straws within 20%
Chart: Voltage (V)
| 1700.0 | 1600.0 | 1500.0 | 1400.0 | 1300.0 | 1200.0 | 1100.0 | 1000.0 | 900.0 | 800.0
4 straws in parallel | 6 | 2.3 | 0.95 | 0.37 | 0.16
1:4 | 1.5 | 0.575 | 0.2375 | 0.0925 | 0.04
Straw1 | 2 | 0.75 | 0.3 | 0.13 | 0.05
Straw2 | 1.5 | 0.6 | 0.25 | 0.1 | 0.05
Straw3 | 2 | 0.8 | 0.3 | 0.12 | 0.055
Straw4 | 2.25 | 0.95 | 0.35 | 0.15 | 0.065
4 straws connected in parallel
Variations around middle within 20%
Middle with error bar 20%

## Slide 7: Gas gain increment finding ArCO2(90/10) at room temperature and 1000 mbar over-pressure

## Slide 8: Gas gain presented in Torino – wrong Reason: P measured on input at open output resulting lower pressure inside tube
Chart: HV (V)
| 1800.0 | 1750.0 | 1700.0 | 1650.0 | 1600.0 | 1550.0 | 1500.0 | 1450.0 | 1400.0 | 1350.0 | 1300.0 | 1250.0 | 1200.0 | 1150.0 | 1100.0 | 1050.0 | 1000.0
Frascati-Ferrara (A.Kashchuk) | 57692.3077 | 38461.5385 | 23717.9487 | 14743.5897 | 9294.8718 | 5769.2308 | 3589.7436 | 2307.6923 | 1410.2564 | 897.4359 | 596.1538 | 384.6154 | 237.1795 | 153.8462 | 102.5641 | 64.1026 | 44.2308
J.Smyrski | 50000 | 20000 | 8000 | 3000 | 1500
Torino_AK | 277482.9253 | 95114.6769 | 32603.0935 | 11175.5803 | 3830.7283
Presented
in Torino
New measurements

## Slide 9: Pedagogical reminds
Gas Gain (GG) in a cylindrical proportional counter is a function
of the applied voltage V
b and a are the radii of the anode wire and of the cathode, respectively.
Therefore ln(GG)/V vs V is a straight line with slope DV and intercept Emin.
Chart: 
GAS GAIN | 100 | 1000 | 10000 | 100000 | 1000000
Diethorn parametrization
HV
ln(GG)/V
Emin

## Slide 10: Absolute gas gain and Diethorn’s parameterization G(V,ρ)
Chart: HV (V)
| 1000.0 | 1050.0 | 1100.0 | 1150.0 | 1200.0 | 1250.0 | 1300.0 | 1350.0 | 1400.0 | 1450.0 | 1500.0 | 1550.0 | 1600.0 | 1650.0 | 1700.0 | 1750.0 | 1800.0 | 1850.0 | 1900.0
1000mbar | 44.1176 | 64.7059 | 94.1176 | 141.1765 | 223.5294 | 335.2941 | 529.4118 | 835.2941 | 1323.5294 | 2117.6471 | 3352.9412 | 5470.5882 | 8529.4118 | 13823.5294 | 21764.7059 | 34117.6471 | 52941.1765 | 79411.7647 | 123529.4118
Diethorn | 47.3884 | 69.5301 | 102.9247 | 153.6516 | 231.2416 | 350.7192 | 535.8995 | 824.7321 | 1278.007 | 1993.5974 | 3129.8685 | 4944.3166 | 7857.6225 | 12560.2804 | 20190.8358 | 32635.0341 | 53029.8966 | 86616.44 | 142187.7187
Emin – is the minimal field needed for multiplication;
ΔV - is the potential variation required to produce one more electron in the avalanche;

## Slide 11: Gas gain as current-ratio vs. Diethorn’s equation G(V,ρ) helps to see space charge effect
Chart: G_Diethorn
| 47.38838981524712 | 69.53009932721772 | 102.9246915578893 | 153.6516370520406 | 231.2416158147578 | 350.7192462541095 | 535.8994823928517 | 824.7321263712212 | 1278.007017634543 | 1993.597395618058 | 3129.868452907446 | 4944.31658888123 | 7857.622529983788 | 12560.2803519227 | 20190.83584258192 | 32635.03407282186 | 53029.89663369044 | 86616.43999740874 | 142187.7186614841
Diethorn 28.5/30 | 44.1176 | 64.7059 | 94.1176 | 141.1765 | 223.5294 | 335.2941 | 529.4118 | 835.2941 | 1323.5294 | 2117.6471 | 3352.9412 | 5470.5882 | 8529.4118 | 13823.5294 | 21764.7059 | 34117.6471 | 52941.1765 | 79411.7647 | 123529.4118
Diagonal | 44.1176 | 64.7059 | 94.1176 | 141.1765 | 223.5294 | 335.2941 | 529.4118 | 835.2941 | 1323.5294 | 2117.6471 | 3352.9412 | 5470.5882 | 8529.4118 | 13823.5294 | 21764.7059 | 34117.6471 | 52941.1765 | 79411.7647 | 123529.4118
6/14/10
A.Kashchuk INFN-Ferrara and PNPI-St.Petersburg
11
Emin=28.5kV/cm; ΔV=30V
Current becomes sensitive
to space charge
Very high rate
and large signals
(to be better with MIP)
Diethorn’s model validity (αTown=kE)
1700V
1800V
1900V
HVop=1800V
☺

## Slide 12: Gas gain vs. V and over-pressure
Chart: HV (V)
| 1000.0 | 1050.0 | 1100.0 | 1150.0 | 1200.0 | 1250.0 | 1300.0 | 1350.0 | 1400.0 | 1450.0 | 1500.0 | 1550.0 | 1600.0 | 1650.0 | 1700.0 | 1750.0 | 1800.0 | 1850.0 | 1900.0
Frascati-Ferrara (A.Kashchuk) | 44.1176 | 64.7059 | 94.1176 | 141.1765 | 223.5294 | 335.2941 | 529.4118 | 835.2941 | 1323.5294 | 2117.6471 | 3352.9412 | 5470.5882 | 8529.4118 | 13823.5294 | 21764.7059 | 34117.6471 | 52941.1765 | 79411.7647 | 123529.4118
J.Smyrski | 50000 | 20000 | 8000 | 3000 | 1500
850mb | 48.2353 | 70.5882 | 117.6471 | 176.4706 | 276.4706 | 423.5294 | 676.4706 | 1088.2353 | 1705.8824 | 2764.7059 | 4470.5882 | 7058.8235 | 11764.7059 | 17941.1765 | 29117.6471 | 44705.8824 | 70588.2353 | 109411.7647 | 164705.8824
750mb | 58.8235 | 88.2353 | 147.0588 | 223.5294 | 347.0588 | 552.9412 | 870.5882 | 1411.7647 | 2235.2941 | 3705.8824 | 5882.3529 | 9529.4118 | 15294.1176 | 24705.8824 | 39411.7647 | 60588.2353 | 94117.6471 | 147058.8235 | 232352.9412
600mb | 70.5882 | 105.8824 | 164.7059 | 264.7059 | 423.5294 | 664.7059 | 1117.6471 | 1764.7059 | 2941.1765 | 4705.8824 | 7705.8824 | 12352.9412 | 21176.4706 | 32941.1765 | 54117.6471 | 85294.1176 | 135294.1176 | 223529.4118
500mb | 82.3529 | 129.4118 | 205.8824 | 329.4118 | 529.4118 | 852.9412 | 1411.7647 | 2235.2941 | 3764.7059 | 6176.4706 | 10235.2941 | 17058.8235 | 27647.0588 | 46470.5882 | 73529.4118 | 120588.2353 | 211764.7059 | 352941.1765

## Slide 13: Conclusion
Results of gas gain measurements obtained with 2 methods:
  Cs-137 (presented here)
  and Fe-55 (presented by J.S. in Torino)
are in agreement
Gas gain 105, if needed for high space resolution, can be reached at reduced over-pressure, e.g. from 1000 to 700 mbar in vicinity of HV=1800V
Gas gain stabilization can be made by an automatic regulation of HV or over-pressure