## Slide 1: CR Power Converters
Status
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 2: CR magnet system
CR Magnet System
DC magnets/ correctors
Injection/ Extraction
magnets
24
DIPOLES
40 QUADRUPOLES
6 POWER
CONV
24 SEXTUPOLES
48+12
CORR+OCT
15 POWER
CONV
1 POWER
CONV
48+12 CORR
PS
KICKER
MAGNETS
INJECTION
SEPTUM
EXTRACTION
SEPTUM
INJ SEPTUM PS
EXT SEPTUM PS
KICKER
PSs
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 3: TCR1 magnet system
TCR1 Magnet System
DC magnets/ correctors
2
DIPOLES
6 QUADRUPOLES
2 POWER
CONV
2
SEXTUPOLES
5
CORRECTORS
6 POWER
CONV
2 POWER
CONV
5 CORR
PS
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 4: CR+TCR1 Power Converters
1 CR Dipole magnets Power
Converter
15 CR Quad magnets Power
Converters
2 TCR1 Dipole magnets Power
Converters
6 TCR1 Quad magnets Power
Converters
6 CR Sext magnets Power
Converters
2 TCR1 Sext magnets Power
Converters
12 CR Octupol magnets Power
Converters
48 CR Steer. magnets Power
Converters
7 TCR1 Steer. magnets Power
Converters
1 PC
23 PCs
8 PCs
12 PCs
55 PCs
CR DPC type
CR QPC Type
CR SPC Type
CR OPC Type
CR CPC Type
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 5: CR magnets types
TYPE | SUB | Qty | Imax A | Lm mHn | Rm mOm | Vm V | Deviat
DIPOLES | - | 24 | 1450 | 377 | 62.45 | 91 | 10ppm
QUADRUPOLES | EWQ | 3 | 1500 | 49.8 | 26.31 | 38 | 100ppm
 | WQ | 14 | 1500 | 59 | 26.31 | 38 | 100ppm
 | SWQ | 12 | 1500 | 44 | 21.67 | 31 | 100ppm
 | NQ | 11 | 1450 | 11 | 10.1 | 15 | 100ppm
SEXTUPOLES | - | 24 | 500 | 6 | 35 | 18 | 0.1%
OCTUPOLES | - | 12 | 30 | 86 | 2450 | 74 | 1%
CORRECTORS | H | 24 | 6 | 182 | 9560 | 58 | 1%
 | V | 16 | 14 | 158 | 4200 | 59 | 1%
 | H/V | 8 | 20 | 90 | 760 | 16 | 1%
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 6
PARAMETER | DPC | QPCTYPE1 | QPCTYPE2 | QPCTYPE3 | SPC | OPC | CPC
MAINS | AC 20kV 50Hz T | AC 400 V 50Hz TN-S |  |  |  |  | 
IOUT MAX | 1450 A | 1500 A |  |  | 500 A | 30A | 6/14/20 A
VOUTMAX | 2750 | 200 V | 100 V | 50 V | 100 V | 90V | 75/75/40 V
ΔIOUT/IOUT | 10ppm | 100ppm |  |  | 0.1% | 1% | 1%
LONG TERM STABILITY | 10ppm | 100ppm |  |  | 0.1% | 1% | 1%
CONTROL | GSI CONTROL UNIT |  |  |  |  |  | 
DCCT | GSI CONTROL UNIT |  |  |  | Built In | Built In | 
MAX POWER | 4MW | 300kW | 150kW | 75kW | 50kW | 2.7kW | < 1kW
CR MAGNETS POWER CONVERTERS PARAMETERS
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 7
POWER CONVERTERS SETUP
High Power part. It is supplied by a 20kV, 3-phase Common supply system C2
Control part. It is supplied by a 400V, 3-phase Common supply system C2
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 8
POWER CONVERTERS SETUP
High Power part. It is supplied by a 400V, 3-phase Common supply system C2
Control part. It is supplied by a 400V, 3-phase Common supply system C2
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 9: DIP MAGNETS POWER CONVERTER DIAGRAM
20kVAC
MAINS
5.2 MVA
Step-Down
TRANSFORMER
+ POLARITY
12 pulse SCR RECTIFIER
POLARITY
12 pulse SCR
RECTIFIER
DCCT
DIP
MAGNETS
1.5kA
OUTPUT
FILTER
1.5kA 2750V
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 10: QUAD MAGNETS POWER CONVERTER DIAGRAM
400VAC
MAINS
Step-Down
TRANSFORMER
RECTIFIER
IGBT
H-BRIDGE
1.5kA 600V
20kHz
OUTPUT
FILTER
DCCT
QUAD
MAGNETS
1.5kA
OUTPUT
FILTER
IGBT
H-BRIDGE
1.5kA 600V
20kHz
IGBT
H-BRIDGE
6x250A 600V
20kHz
OUTPUT
FILTER
1.5kA 200V
TYPE1
1.5kA 100V
TYPE2
1.5kA 50V
TYPE3
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 11: SEXTUPOLE MAGNETS POWER CONVERTER DIAGRAM
400VAC
MAINS
Step-Down
TRANSFORMER
RECTIFIER
DCCT
SEXT
MAGNETS
500A
OUTPUT
FILTER
IGBT
H-BRIDGE
1.5kA 600V
20kHz
IGBT
H-BRIDGE
2x250A 600V
20kHz
OUTPUT
FILTER
500A 100V
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 12: OCTUPOLE MAGNETS POWER CONVERTER DIAGRAMM
400VAC
MAINS
3kW
100 V OUT
AC/DC
DCCT
OCT
MAGNET
30A
IGBT
H-BRIDGE
20kHz
OUTPUT
FILTER
30A 90V
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 13
POWER CONVERTERS LOCATION
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 14
POWER CONVERTERS LOCATION
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 15: 3MVA (1kA 3kV) ČKD DC SOURCE
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 16: QUAD POWER APPEARANCE
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 17: QUAD POWER APPEARANCE
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 18: SEXTUPOLES POWER CONVERTER RACK LAYOUT
500A
Power Section
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 19
POWER CONVERTERS CONNECTIONS
Connection to electrical power : TN-S
Connection to load: watercooled cables
Open doors Front view:
Open doors Rear view:
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 20
PAS SYSTEM
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 21: DIPOLE POWER CONVERTER CONTROL DIAGRAMM
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 22: QUAD POWER CONVERTER CONTROL
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 23: SEXTUPOLE POWER CONVERTER CONTROL
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 24: OCTUPOLE & STEERER POWER CONVERTERS RACK LAYOUT
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 25: OCT. & CORR. POWER BLOCKS
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 26: Current status
Concept
Discussed and agreed
Specifications
Released
Design
Prototyped
CDR
Released for QPC
FDR
planned to 09.2020 – 12.2020
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 27: Current status
ACU
Planned to be delivered to Novosibirsk autumn 2020 for tests
Marnetic Measurements PC
One will be build for Novosibirsk stand
One will be delivered to GSI test stand (QPC prototype)
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 28: Current status
Prototype for magnetic measurements: is planned to be ready summer-autumn 2020
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 29: Current status
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020

## Slide 30: Thank you for attention
4th Joint BINP-FAIR CC Workshop
25.05 - 30.05.2020