## Slide 1: Operations – 23.06.2020
Dry-Run successfully finished
Shutdown started (no major issues or delay yet)
  Common
    20kV pulse power switched off
    Radiation Measurements finished, access to all area granted, critical zones are marked
    green cube blackout due to switching failure (1day down time)
    EH-crane repair shifted to next shutdown
    dust protection wall T101-FAIR finished 
    TVS strategy paper in preparation, 1st measures will start soon (Web-GUI & Cup control)
  Machines:
    see  machine reports