Dedicated refrigerator for PANDA

- Component list

Parts of the Linde refrigeration plants

1 Liquefier (Linde  LR 140)   			(1.6 x1.3 x 2.6m3 1700 Kg)

2 Compressor (DSD241/132 kW) 		(2.3 x 2.0 x 1.9m3 3400Kg)

3 Oil Removal System    			(0.9 x 1.2 x 2.6 m3 500Kg)

4 Buffer Tank 					(usually 20 bar rated 2 m3)

5 Pressure Control Panel 			(quite small, wall mount)

6 Stand-alone Control Panel 			(0.9 x 04 x 1.9 m3 110Kg)

7 Line Drier  		 			(0.9 x 1.2 x 2.6 m3 500Kg)

Parts of the Panda Refrigeration

(To be tailored on the PANDA consumptions and needs)

8 Dewar (suggested 4000 litres)		(x 2.6 m3 1850 Kg)

Parts of the Panda Helium Recovery System

(To be tailored on the PANDA consumptions and needs)

9 H.P. Recovery Compressor 2x(Bauer Verticus5 G15.1-11-5)

2x620 Kg)

10 Recovered Gas Dryer        (Bauer Seccant III AH)

11 Cylinder Bundle				14+2 m3  @ 200 bar for 4000 l

12 Gas Bag					30-50 m3