## Slide 1: Overview on BM@N-STS Mechanics
JINR, SINP MSU

## Slide 2: Outline
Main frame
¼ of station
Carbon C-frame and Al C-frame with cooling
FEB, FEB box, FEB connectivity
Cable routing
Plans

## Slide 3: Main frame

## Slide 4: Main frame

## Slide 5: Main frame

## Slide 6: Station in Main frame

## Slide 7: Station in Main frame

## Slide 8: 1-st station Main frame (side view)

## Slide 9: Main frame details

## Slide 10: Main frame details

## Slide 11: Main frame

## Slide 12: Carbon (sandwich panel) C-frame 1-st station

## Slide 13: Carbon (sandwich panel) C-frame 4-th station

## Slide 14: Carbon C-frame, Al C-frame invisible

## Slide 15: ¼ of the 1-st station

## Slide 16: ½ of the 1-st station in Main frame

## Slide 17: Al c-frame and carbon c-frame

## Slide 18: Al c-frame and carbon c-frame

## Slide 19: Al c-frame and carbon c-frame

## Slide 20: ¼ of the 1-st station

## Slide 21: The 1-st station in Main frame

## Slide 22: Central Ladder for the 1-st station

## Slide 23: BM@N Front-end Boards
Features:
  Size: 87*40 mm²;
  Thickness with components: 3 mm;
  Edge-type connector with two pin groups: [ HV, LV ] & [ DATA ]
Advantages:
  Increased space for the cabling between FEB-boxes;
  90 bending of cables is not needed ;
  Easy connectivity with a FEB-panel;
  Low thickness of the board allows to increase thickness of the cooling fin for one FEB up to 3 mm.
Comparison of two FEB geometries
Prototypes of FEB with FEB-panel

## Slide 24: FEB connectivity
POWER PINS
DATA PINS
POWER PINS
DATA PINS
2× FEBs
FEB panel
20 AWG
power cables
Sig. ret. Caps
HV connectors
Data connector
AWG40 microcoax cables
IPEX Cabline connector

## Slide 25: FEB box

## Slide 26: FEB box prototype

## Slide 27: Cable routing
Power cables to POB
DATA cables to patch panel

## Slide 28: Plans for the construction of the STS mechanics
Production of a prototype C-frames without cooling system for the 4-th station.
The goal is to test the possibility of positioning, evaluate accuracy.
Production of a prototype C-frame without cooling system for 1-st station
The goal is to develop the assembly of ladders and its installation
on the C-frame
Purchase of sandwich panels. EU? NIIKAM (Pereslavl-Zalessky)?.
Production of a prototypes of radiators.
Prototype tooling for manufacturing a main frame.

## Slide 29
Thank you !