## Slide 1: and HITRAP
Frank Herfurth
CRYRING@ESR
Aug-25, 2020
CRYRING@ESR
  Shutdown work ongoing
  Planning of autumn ion source development and machine tests
    O6+, Mg+ from the ECR
    Extraction
    CCC
    Solenoid Cooler
BEA - SPS programmer issue unsolved (FC cup cannot be moved out of the beam in case of FESA issues/updates)
EBIT magnet purchase decision proposal pending
Ring RF upgrade project stalled
HITRAP
  Cooling Penning trap work ongoing / stored electrons, ions, vacuum pump change