## Slide 1: PANDA CDR2 of the control Dewar for solenoid magnet

## Slide 2: PANDA control Dewar and equipment
The PANDA control Dewar is designed to ensure helium delivery to the user in accordance with the flow scheme.
Chimney
Control Dewar
- transfer lines (TL) connecting refrigerator and the control Dewar through a vacuum barrier
- transfer line (Chimney) connecting the vacuum vessels of cryostat and control Dewar
Technologic volume
Vacuum barrier
Pamp station
Instrumentation frame

## Slide 3
PANDA solenoid 2020, Flowscheme

## Slide 4
Control Dewar consists of:
a vessel for liquid helium (~450L);
valves, gauges;
current leads;
AL thermal shields cooled by gaseous helium;
vacuum shell.
1
3
4
2
5

## Slide 5
Weight control Dewar about 3120 kg. with vacuum post ~3500 kg.
The surface of the common platform.
Flexible contact
2318.5mm
Dimensions and weight of the control Dewar with equipment.

## Slide 6
PANDA solenoid 2020, Vacuum scheme control Dewar and cryostat
Leak Detector
RGA
S
Full range gauge
V1
DN150
V3
V4
Safety valve Flange DN350
TMP 680 l/sec
Primary pump
3-4 l/sec
Pirani
Control Dewar
Vacuum stand
V5
DN63
Technologic
volume
Cryostat
The PANDA Control Dewar and the Cryostat are a single vacuum volume

## Slide 7: PANDA control Dewars and cryostats vacuum
Chimney
Control Dewar
Full range guage
Cryostat
Pump station
Pump (680 l/s)
RGA
Primary pump
Pirani
Flange Kf25 for leak detector
Technologic
volume

## Slide 8: The stages of Assembly of the PANDA control Dewar:
1. Installation of pipelines on the lid of the control Dewar
He vessel
Current
leads
Valves
Pipelines
Supporting top cover
Thermal shield

## Slide 9: The stages of Assembly of the PANDA control Dewar:
1. Installation of pipelines on the lid of the control Dewar
4,2KF
5KR
40KF
80KR
1950
1100
The input of the Vacuum barrier

## Slide 10: The stages of Assembly of the PANDA control Dewar:
2. Installation of the thermal shields at the Pipelines assembly, and attached the thermal bridges
Pipeline 50K
Thermal bridge
AL Thermal
shield
m=1230 kg.

## Slide 11: The drawing of the Pipelines PANDA control Dewar:
m=1230 kg.

## Slide 12: He storage vessel drawing
m=295 kg.

## Slide 13: The stages of Assembly of the PANDA control Dewar:
3. Installation pipelines on the lid and thermal shields to the vacuum shell

## Slide 14: Design of the Vacuum shell
G10 supports
The Frame
Removable wall
Vacuum shell Assembly, top view.
The material of the frame and walls of the Vacuum shell is low alloy steel. m=1670 kg.

## Slide 15: Vacuum shell drawing
m=1675 kg.

## Slide 16: The drawing of the control Dewar PANDA :
m=3120 kg.

## Slide 17: The drawing of the Current lead busbar:
m=18 kg.

## Slide 18: The interface of the PANDA control Dewar:
Chimney
Control Dewar
Shift the bellows unit
Combine the pipies in
accordance with the
flow scheme
-Carry out the connection of
the superconductor
-Carry out pipes connection
by welding
Install super insulation
Install the bellows unit in place
Install the front wall of the
thermal shield, fix the thermal bridges
Install the front wall of the Vacuum shell

## Slide 19: The Chimney design:
Flange ISO320RBR
Vacuum shell
Pipelines
Bellows unit
Spacer
Thermal shield
Superconductor
Flange ISO320RBR
m=84 kg.

## Slide 20: The Chimney drawing
m=84 kg.

## Slide 21: Vacuum shell without removable walls calculation
The von Mises stress
Deformation
Margin
P=1300kg
G

## Slide 22: Full Vacuum shell calculation
The von Mises stress
Deformation
Margin
P=0.1MPa

## Slide 23: He storage vessel calculatioin
The von Mises stress
Margin
Deformation
P=2.000 MПа

## Slide 24
Thank you for your attention