## Slide 1
New CR-Building Plan
Status May 2020
by Thorsten Ziglasch

## Slide 2
New CR-Building Plan
Overview of Building
Explanation of Changes
Layout of inner rooms
Errors
New room numbers and database

## Slide 3
Cut through the CR-building

## Slide 4
Cut through the building

## Slide 5
New CR-Building Plan
New level E.15 only for cable trays, cooling water and cooling air distibution
No component placement in E.15
Level E.15 and E.20 now extend over the tunnel southward
Cables are fed to the tunnel from the top with an exception at the crane opening (injection side)
New layout of the levels E.10 and E.20
Extra shielding against radiation applied

## Slide 6
H0209A.E.010
Northern part lowered by 1.3m
Covered BCO-signal pipes
Larger RF-floor
CR-kicker room move to the south (arrangement of kicker control units preliminary)
Heavy concrete wall near injection septum

## Slide 7
Layout E.010

## Slide 8
H0209A.E.015
Level E.015 only for cable trays, water- and air-cooling pipes
Concrete slabs added for radiation protection above injection septum
Access for cables to the tunnel to be determined by M&B

## Slide 9
H0209A.E.020
Level E.020 extends 10 southward over tunnel
More room for transformer and dipole power supply
raised floor at level with outside street for easy transport/installation

## Slide 10
Layout E.020

## Slide 11
Errors
Critical: Wall moved 25cm southward leading to collision with stochastic cooling platform and its signal pipes
Minor: 3D-model lacks some doors which are shown in the 2D-drawings

## Slide 12
Critical errors

## Slide 13
New list of room numbers
A conversion list from the old room numbers to the new room numbers was entered into the cable database and the component database
WPLs should check again if data is correct

## Slide 14
New CR-Building Plan
    I thank you for your attention
    Thorsten Ziglasch
    T.Ziglasch@gsi.de