## Slide 1: and HITRAP
F. Herfurth
CRYRING@ESR
Nov-03, 2020
CRYRING@ESR
  CCC, after final test, installed on its frame into the ring, pumping and baking now
  Prepare test run in Nov/Dec for extraction, CCC test and others
  Need to move out of HKR to allow for roof repair - efforts ongoing for local control room and office control
BEA - SPS programmer issue unsolved (safety FC…)
HITRAP
  Cooling Penning trap work ongoing, ion storage, electron storage
  HITRAP recommissioning related Shutdown work for 2021-22 can be handled by Commons departments – Ok from Mr. Menke received.
  Linac RF manpower and scheduling discussed, can be handled
  Open issues:
    DEC manpower - background talks ongoing