## Slide 1: and HITRAP
Frank Herfurth
CRYRING@ESR
Dec-15, 2020
CRYRING@ESR
  Test with Beam finished
    Extraction
    CCC test
    lowest achievable intensities
    Cooler Orbit Correction
  ECooler
    vacuum issue, valve between cryo-pump and gun needs replacement and cryo-pump needs inspection – scheduled for Jan-14, 2021.
  vacuum intervention section 05 – 08 ongoing, pumps will start again tonight
  OnCall Service for 2021 coordinated (we rely on operation support as sketched during the operator training)
HITRAP
  Electron/Ion transmission/storage test at the cooling Penning trap ongoing
  discussion on Shutdown activities for HITRAP done, added to planning of COM
  refit work started (IH in-coupling loop will be repaired) ! not all resource issues solved yet !
demonstrated
measured down to 5 nA
> 150 nA (1e6 q) required for initial tuning
calc. agree (found polarity inverted corrector)