## Slide 1: Unilac – 2.2.2021
Important: Define date for pulsed gas stripper assembly (7th April?)
Clarify/confirm C3+ for ESR. When? (11.5.?) from EZR with (He1+)?
HLI beam for CW Cryostat commissioning (complete cryo module with 4 cavities) desired for end of June (parallel with Oxygen, from 21st June on)
Obligo shift 2020---2021….
HSI-RFQ “re-calibration” by software done. Successful Tantal beam tests on Thursday 28th January. (181Ta3+, A/q 60.5 > 59.5 U4+). RFQ Transmision 95% at 4 mA Ta3+, HIS transmission 75%. Working point at “85%”. Corresponding 7.4 Volt at RFQ (instead of 8.3 Volt).
Tunnel Septum UT2MUZ/MUX:
  Installation finished incl. commissioning.
  New coil spare part ordering started.
Leakage in Z-branch: re-assembled, pumping. But another turbo pump valve must be repaired.
Another new leakage: UXC, MU3 dipole baffle plate. Plates pumped extra, beam operation uncooled.
A4 / 10 Hz problem: new software version checked on Thursday 14th January. Okay!
RF Topics:
  Commissioning ongoing
    A1 Repair Senderwagen (pre amplifier stage), …

## Slide 2: HSI RFQ Tantal Test 28th January 2021
Chart: Ar1+-high current HSI-RFQ-operation (14emA)
| 61.8638466622604 | 67.085261070720421 | 70.588235294117652 | 73.892927957699939 | 75.875743555849311 | 77.528089887640448 | 79.312623925974876 | 81.031064111037665 | 82.749504296100454 | 84.534038334434882 | 86.252478519497686 | 87.970918704560475 | 89.68935888962325 | 91.209517514871109 | 93.192333113020482 | 94.844679444811632 | 96.695307336417713 | 98.347653668208864 | 100 | 101.85062789160608 | 103.43688037012558 | 107.0720423000661 | 110.50892267019167 | 114.01189689358888 | 117.51487111698611
before upgrade 2004 | 19.6736 | 20.1187 | 24.3027 | 28.3086 | 30.8012 | 34.8961 | 34.451 | 40.0593 | 41.5727 | 42.4629 | 44.3323 | 44.3323 | 40.9496 | 42.4629 | 44.5994 | 44.8665 | 45.8457 | 46.1128 | 47.5371 | 45.9347 | 46.2908 | 48.3383 | 47.3591 | 49.7626 | 50.0297
after upgrade 2004 | 20.6528 | 20.4748 | 21.0089 | 22.9674 | 27.0623 | 31.7804 | 36.7656 | 42.1958 | 46.2908 | 49.3175 | 51.0089 | 51.8991 | 51.9881 | 52.3442 | 53.2344 | 53.8576 | 54.0356 | 54.4807 | 54.6588 | 54.7478 | 54.9258 | 55.3709 | 55.4599 | 55.549 | 55.4599 | 55.3709 | 56.0831 | 56.3501 | 56.0831 | 55.9941 | 55.905 | 56.3501 | 56.4392 | 56.6172 | 56.7062 | 57.2404 | 57.5964
after upgrade 2009 | 7.2479 | 8.1538 | 9.9658 | 11.7778 | 15.4017 | 18.1197 | 20.8376 | 21.7436 | 24.4615 | 26.2735 | 28.9915 | 33.5214 | 38.0513 | 41.6752 | 46.2051 | 53.453 | 57.0769 | 59.7949 | 59.7949 | 60.7009 | 62.5128 | 62.5128 | 62.5128 | 63.4188 | 66.1368 | 66.1368 | 67.9487 | 67.9487 | 68.8547 | 69.7607 | 70.6667 | 71.5726 | 72.4786 | 73.3846 | 73.3846 | 73.3846 | 73.3846 | 74.2906 | 75.1966 | 77.0085 | 76.1026 | 76.1026 | 77.0085 | 76.1026 | 77.0085
2020 Ar High Current 14 mA UH1 | 0 | 0.027778 | 0.18519 | 0.55556 | 1.1111 | 1.8519 | 3.2407 | 5.0926 | 7.1296 | 10.1852 | 14.2593 | 19.1667 | 25.3704 | 29.6296 | 35.2778 | 37.6852 | 39.8148 | 41.6667 | 45.3704 | 50.463 | 54.2593 | 54.6296 | 55.463 | 55.463 | 56.2963 | 56.9444 | 57.037 | 55.9259 | 57.4074 | 59.2593 | 59.6296 | 60.1852 | 60.6481 | 61.1111 | 61.1111 | 61.1111 | 61.1111 | 61.1111 | 61.1111 | 61.1111 | 61.1111 | 61.5741
Tantal3mA | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 94 | 94 | 91 | 90 | 90 | 88 | 85 | 84 | 82 | 81 | 80 | 79 | 77 | 75 | 74 | 72 | 71 | 69 | 67 | 67 | 65 | 65 | 63 | 63 | 61 | 60 | 58 | 54 | 52 | 49 | 48 | 47 | 44 | 41 | 39 | 35 | 31 | 25 | 22 | 18 | 15 | 12 | 10 | 7 | 6 | 5 | 3 | 0

## Slide 3: Leakage UXCMU3
Dipole Magnet MU3
Baffle Plate