## Slide 1: Superconducting Magnets for FAIR overview and progress
SCM - C. Roux
GSI accelerator seminar, 10th of June, 2021

## Slide 2
    Superconducting Magnets for FAIR
SIS100
dipole: summary
quadrupole doublet modules: technical overview, players and sites, first (series) results
Super-FRS
multiplets and dipoles: technical and organisational overview
first results from cold testing of a multiplet and status
Quench detection for FAIR
design and developments: status

## Slide 3
    (partially) related or accompanying talks
vacuum: "Vacuum Requirements for GSI and FAIR“, Andreas Krämer
beam physics: "Simulation of intense beams in synchrotrons“, Adrian Oeftiger
SIS100 magnets: "Superconducting magnets for SIS100 from design to series testing“, Anna Szwangruber
beam physics: "Magnetic field and ion-optical simulations for the optimization of the Super-FRS”, Erika Kazantseva
beam physics: "Simulation of Fragment Separators“, Helmut Weick
beam physics: "Beam Dynamics for SIS100 of FAIR and for the Future Circular Collider (FCC)“, Vladimir Kornilov
SIS100: "SIS18/SIS100 Status and Perspectives“, Peter Spiller
Accelerator Seminar · https://indico.gsi.de/category/359/

## Slide 4: superconducting magnets for SIS100
dipoles | 108
quadrupoles | 166
sextupoles | 42
steerer | 83
multipole correctors | 12
special quadrupoles | 16
total | 427
sc magnet zoo
main accelerator of FAIR
synchrotron
SIS100
+ correctors
quadrupole doublet modules
dipoles

## Slide 5: SIS100 dipole
SIS100 dipole
B | 1.9 T
Inominal | 13.2 kA
ramp rate | 4 T/s
current ramp rate | 28 kA/s
deflection | 3 1/3°
aperture | 140 mm × 68 mm
length | ~ 3 m
weight | 3 t
iron dominated – window frame
type and specs
Nuclotron NbTi cable
forced flow two-phase He
dipole yoke
with coil
Nuclotron cable
NbTi within CuMn matric
CrNi wire
CuNi tube
J. Hosan / GSI Helmholtzzentrum für Schwerionenforschung GmbH
cooling lines
vacuum vessel &
thermal shield
bus bars

## Slide 6: dipole project
Chart: #
| 2017 | 2018 | 2019 | 2020 | 2021
Dipole delivered | 8 | 15 | 54 | 33
Dipole passed SAT | 23 | 49 | 36 | 2
series production & test
release of series production: 22.07.16
FoS1 delivery: 03.06.13
FoS2 delivery: 09.10.15
first series dipole: 29.09.17
production and testing finished
project progress and status
upcoming:
VC integration (not included here)
installation + commissioning
Chart: #
systematic issues
→ re-work
wiring quality
interface position
feedthroughs
straight delivery & testing
(after starting problems)
spent effort
up to 49 SATs/year
100 steps per SAT
30 parameters to be investigated
and documented
highly efficient organisation and interplay of all actors
  thanks to
  testing team(s)
  cry
  vac
  tri
  eps
  qua
  alignmnent
  mew
  mds
  and further

## Slide 7: FoS reminder
example
insertion into yoke
aperture measurement system
capacitive sensors
targets
(laser tracker)
first time:
FoS1: “proof of principle”
low losses, stable operation
bad field quality
steel
high current cable
single layer coil
FoS2
precise stamping of lamination
laser welding:
minimization of tension
increase of reproducability
SIS100 dipole
spec
due to bad yoke quality

## Slide 8: yoke precision – series
capacitive sensors on carrier
measurement system
laser targets to follow sag
aperture height
determines transfer function
spec: < 0.1 mm to limit spread along series
h0
aperture tool
capacitive sensors
laser targets
functional @4 K
aperture tool
outstanding results

## Slide 9: quench performance & ac losses
nominal
current
acceptance
criterion
power
converter
limit
Current | [kA]
Nominal (In) | 13.2
Acceptance criterion (110 % In) | 14.5
Power converter limit | 16.9
Theoretical cable limit | 17.8
strong forces →
quench training
outstanding results along series
ac losses
lower than expected
recipe:
tolerable for cryo plant
coil movement
cracks
…
mechanical stability
efficient cooling

## Slide 10: dipole field
material properties (Hc, µ)
requirement (closed orbit):
results
to control:
aperture height
measure length &
count lamination
B (T)
H (A/m)
measure &
sort
10 times better than limit
transfer function
material (Hc, µ)
yoke length
packing factor

## Slide 11: harmonics
b3 – systematic, correctable
results
except:
generally low
good agreement with expectation
harmonics
a2 – due to coil shift
beam losses acceptable

## Slide 12: integration of vacuum chamber
logistics
preparation of chamber
pipe welding (according to DGRL)
flange welding
testing
(major) process steps
leak checking
vacuum chambers
integrated chamber

## Slide 13
    SIS100 dipole
  series production and testing successfully finished (in time)
  vacuum chamber integration ongoing

## Slide 14: quadrupole doublet – design concept
configuration | short name | #
QDB-TRP-SF2 | 2.123 | 15
QDB-TRP-SF2s | 2.13s | 2
QDBb-T-SF2M | 2.4 | 5
QDBx-T-SF2Mx | 2.4x | 1
VQD-CR-SF2B | 2.5 | 6
BQD-C-SF1H | 1.6A | 12
VQD-CR-SF1B | 1.7B | 12
BQD-C-SF2H | 2.8C | 12
BQD-CR-SF2J | 2.9D | 12
MQD-C-SF1Bb | 1.E | 5
MQDi-C-SF1Bi | 1.Ei | 1
steerer
multipole
sextupole
iron dominated
quadrupole
iron dominated
SIS100 | field | #
quadrupole | B2 | 166
sextupole | B3 | 42
steerer | B1, A1 | 83
multipole | B2, A3, B4 | 12
special quad | B2 | 16
GESAMT |  | 427
11 types
quadrupole units (166 pcs.)
quadrupole + corrector + corrector
configurations
quadrupole doublet modules
two units on common girder
integration into common cryostat
together with other elements:
beam chamber
cryo catcher
BPM
cryo pump, roughing CWT
> 300 magnets
166 units, 17 types
83 modules, 11 types
SF2B
VQD
doublet module
beam position monitor
-B-
vacuum
chamber
defocusing
quadrupole -QD-
unit VQD
unit SF2B
cryocatcher
-C-
focusing
quadrupole -F2-
steerer
-S-
chromaticity
sextupole
-V-
quadrupole
quadrupole
steerer
SF2B
VQD
sextupole

## Slide 15: supply chain - quadrupole doublets
JINR, Dubna, Russia
unit production
cold testing units
Bilfinger Noell, Würzburg
doublet integration
GSI supplies:
INFN, Salerno, Italy
cold testing doublets
beam chamber
cryo catcher
BPM
LCLs
cryo pump
roughing CWT

## Slide 16: unit production - impressions
quadrupole yoke
quadrupole
magnet
yoke production
coil winding
cabling machine
production and testing facility @JINR
units
sextupole yokes

## Slide 17: quadrupole units – FAT and SAT
aperture tool
20 capacitive sensors
testing cryostat
intensive measurement program for quality assurance
FAT + SAT (@JINR)
precise aperture measurements

## Slide 18: quadrupole units – FAT & SAT
magnetometer
intensive measurement program for quality assurance
FAT + SAT (@JINR)
precise aperture measurements
magnetometer
magnetometer
quadrupole field
spread of transfer function < 10-3
leading harmonics within expectation
magnetometer
five segments, five coils each
corrector fields
spread of transfer function : < .8 %
magnetometer calibration needed

## Slide 19: magnetic axis vs. doublet concept
unit
center
unit
ends
roll
transl.
yaw
pitch
roll
transl.
yaw
pitch
spherical joint at center
precision plates at ends (0.1 mm)
alignment system on girder
0.2 mrad per step (yaw, pitch)
yaw and pitch with respect to fiducials R1 – R8
vibrating wire technique
magnetic axis measurement
alignment of girder along beam
units adjusted individually
roll
yaw
pitch
correction plates
girder
integration of cold mass into cryostat
two units aligned on common girder
(within cryostat)
two units prepared for girder mounting

## Slide 20: FoS QDM – testing at STF
doublet cryo-mechanics
approval of
integration quality
piping
instrumentation
…
cryo UHV system
doublet losses
Bildtext
do not change
width
picture size:
height 9 cm in case of text
delivery 11-2019
FoS QDM @STF
6 K
20 K
12 K
12 K
6 K
12 K
12 K
6 K
A
Z
1
2
3
4
5
7
X
Y
B
8
6
ΔY, ΔZ ≤ 0.1 mm
300 K → 4 K
between cycles
FoS QDM @STF

## Slide 21: FoS QDM – testing at STF
horizontal steerer:
poor quench behavior at
nominal ramp rate (1225 A/s)
issues
doublet cryo-mechanics
approval of
integration quality
piping
instrumentation
…
cryo UHV system
doublet losses
several (little) leaks
loose cable
nominal current not reached
fixation: clamps and blocks
→ successful mitigation
proven at next units
FoS QDM @STF

## Slide 22: QDM project timeline & prospective
QDM testing
units
QDM integration
QDM testing
09-2018
FoS units delivery
to BNG
11-2019
FoS QDM delivery
to FAIR
10-2020
FoS QDM handover
to INFN
ongoing
commissioning of facility

## Slide 23: QDM project timeline & prospective
units
QDM integration
QDM testing
delivered: 12 units
next 8: 06.2021
finish till end of 2023
first series QDM: 06-2020
4 more under preparation
QDM testing
next QDM
first of each type at STF
series testing from 10-2021
second line Q1-2022

## Slide 24: string test @STF
End box
FoS QDM 2.5
End Cap 1.E
FoS BPL
Dipole
with VC
Feed box 3
End box*
Dipole with VC
Dipole
with VC and CAP
installation sequences
interconnections / interfaces
process decription
tool qualification
assembly
mechanical stability
resistance, capacitance
cross talk
resonances, traveling waves
collective electrical behavior
cooling time
hydraulics
losses
cryogenics
beam and insulation vacuum
vacuum system
forces at cool-down and operation

## Slide 25
    SIS100 quadrupole doublet modules
  FoS QDM: approval of doublet concept
  series production and testing of quadrupole units started
  first series QDM at integration
  preparation for series QDM testing at Salerno & STF

## Slide 26: Super-FRS magnet strings
SFRS | # | 
QUAD III | 44 | 24 long multiplets 7 short mutliplets
Quad IV | 32 | 
Sext | 39 | 
Oct | 42 | 
Steerer | 13 | 
Dipole Type 2 | 3 | 
Dipole Tye 3 | 21 | 
GESAMT | 194 | 
dipole | 24
quadrupole | 76
sextupole | 39
octupole | 42
steerer | 13
total | 194
magnet needs
multiplet:
quadrupole + correctors
dipole magnet
particle creation
mass separation
Super-FRS

## Slide 27: supply chain(s) Super-FRS
ASG, Genua, Italy
multiplet production
CERN/GSI, Geneva, Switzerland
cold testing
CEA, Saclay, France
dipole design + follow up
GSI
Super-FRS
Elytt Energy, Bilbao, Spain
dipole production

## Slide 28: Super-FRS multiplets
 | LQ | SE
In [A] | 300 | 291
Imax [A] | 330 | 320
L [H] | 21 | 0.88
Emax [kJ] | 1100 | 37
ramp rate [A/s] | 2.5 | 2.425
text 02
text 03
text 04
text 05
quadrupole
sextupole
LHe reservoir
quadrupole
sextupole
warm bore
long multiplet
cold mass
SE – SQ+OC – SE – LQ – ST – SQ+OC – SE
long multiplet
short multiplet
short multiplet
(cold) iron dominated
common helium bath
warm beam pipe (d = 380 mm)
individual powering (I < 300 A)
multiplets – common specs
pre separator
standard: quadrupole + sextupole
2.5 m, 25 tons
short multiplets (8 pcs)
main separator
14 configs
max: 9 magnets, 7 m, 60 tons
long multiplets (25 pcs)

## Slide 29: Super-FRS multiplets - production
dipole coil
octupole
cold mass
cold mass
concentricity
< 0.3 mm
quadrupol
quadrupole coil
48 turns,
26 layers
sextupole
(cold) iron dominated
common helium bath
warm beam pipe (d = 380 mm)
individual powering (I < 300 A)
multiplets – common specs
pre separator
standard: quadrupole + sextupole
2.5 m, 25 tons
short multiplets (8 pcs)
main separator
14 configs
max: 9 magnets, 7 m, 60 tons
long multiplets (25 pcs)

## Slide 30: Super-FRS multiplets – delivery status
2.5 m, 25 tons
short multiplet - FoS
LQ – SE
7 m, 60 tons
long multiplet - FoS
SE – SQ+OC – SE – LQ – ST – SQ+OC – SE
delivery to CERN: 11.2020
delivery to CERN: 02.2019

## Slide 31: Super-FRS magnets - dipole
warm iron dominated
superconducting coil
50 to 60 tons
1.6 T @250 A
specs
18 pcs: 9.75°
3 pcs: 11°
3 pcs: 9.75° branched
types
conductor:
wire in channel
self protecting
Cu/Sc = 9
dipole FoS

## Slide 32: FoS testing
short multiplet
cool down: 7 days
stable magnetic axis (@cool down)
HV @4 K only partially ok
issues with leakage and heat load
used to commission two benches
300 K → 80 K
12 bar, 23 g/s
80 K → 4.2 K, 1.3 bar
long multiplet
cool down: 16 days
HV @ 4 K ok: all magnets
further commissioning of facility
dipole
electrical testing @300 K ongoing
heat load
current leads
SM programm details
delivery: Feb. 2019
warm tests at preparation area (repair of non-conformities)
1st cold test Q3/4 2019:
  commissioning
  Long quadrupole powering
  Long quadrupole magnetic pre-qualification measurements
2nd cold test Q1 2020:
  Long quadrupole full magnetic measurements
  Sextupole powering
corona break: mid March - mid June: magnet floating, testing could re-start as "1st priority" at CERN.
3rd cold test: July 2020:
  parallel powering of both magnets,
  Sextuple magnetic measurements
  cross talk magnetic measurements
  cryogenic tests
4th cold test: Q4 2020:
  bench-2 commissioning
  additional cryogenic tests
FoS SM at testbench
FoS LM (front)
FoS SM (back)
FoS short multiplet
+ Magnetic parameters of long quadrupole and sextupole ok
+ No magnetic axis movement after thermal cycles
+ Cool down time significantly faster than required
o Heat loads higher than expected (Re-evaluation ongoing)
- Leakage of thermal shield pipe
- Leakage of current leads to atmosphere
- HV test at cold failed (1050 V instead of 1500 V)

## Slide 33: Super-FRS – field testing setup
rotating coils
induced voltage due to flux change
3 PCBs
5 radial coils each
outer radius 167 mm
+ Fourier analysis
field strength/quality, harmonics
flux through surface traced by moved wire
stretched wire
field strength / quality, harmonics, magnetic axis
translating fluxmeter
further (for dipole)
Hall sensor on 3D mapper
collaboration with CERN

## Slide 34: field quality
field quality
quadrupole: approved
sextupole: approved
approval of methods & equipment
cross calibration
(huge) effort
cross talk investigation ongoing
(some allowed harmonics beyond expectation, but fine)
relative variation of gradient (integral)

## Slide 35: S-FRS project timeline & prospective
multiplets
cold testing
pre-assembly / assembly
FoS SM delivery 02.2019
FoS LM delivery 11.2020
next FAT (SM) ongoing
FoS SM finished
FoS LM ongoing
dipoles
preparation ongoing
FoS delivery 02.2021
next FAT ongoing
cold testing
FoS testing started

## Slide 36
    Super-FRS magnets
  FoS for each type delivered
  testing site (almost) fully commissioned
  FoS short multiplet: approval of concept
  FoS long multiplet and dipole testing upcoming soon

## Slide 37: Quenchdetection
 |  | SIS100 | LHC | 
Type |  | Super-ferric | Coil-dominated cosΘ | 
Nominal field | B [T] | 1,9 | 8,33 | 
Nominal current | In [kA] | 13,2 | 11,85 | 
Inductance at 0 A | Lo [mH] | 0,56 | 51 | 
Inductance at In | Ln [mH] | 0,45 | 49,35 | 
Energy stored at In | Emag [kJ] | 40 | 3465 | 
Nominal cycling rate | dI/dt [A/s] | 28000 | 10 | 
Inductive voltage at cycling | Vmag [V] | 16 | 1 | 
Operating temperature | Top [K] | 4,2 | 1,9 | 
Bending radius | ρ [m] | 53 | 2804 | 
Total mass | M [t] | 3,2 | 27,5 | 
Temperature margin at In, Bn | Tmargin [K] | ~1 | 2 | 
Energy margin | E margin [mJ/cm3] | 1,1 | 3 | 
transition to normal state
Quench
hardware development @GSI
units (boards)
cabinets + control cabinet
SIS100 cabinets
55 pcs.
+ 18 control cabinets
S-FRS
integrated into PS
use of accelerator network (LAN)
conditioning boxes (QCB)
450 pcs. for SIS100
software & testing
conditioning boxes
data aquisition
unit firmware
QuD unit
S-FRS: 250
SIS100: 1250
QuD unit
analogue input
(bridges)
digital data processing (FPGA)
quench signal
inductive voltage
time scale
~ 100 mV
~ 100 V
~ 10 ms
final design phase
procurement upcoming (SIS100)
prototype finished
approval at string test

## Slide 38
    Quench detection for FAIR
  quench detection units developed and prototypes approved
  development of further hardware and software
  procurement (series) ongoing or in preparation

## Slide 39
all project on track (or finished)
enormeous effort needed in the next years
we are looking forward 
SIS100
dipole project successfully finished with strong GSI effort and expertise
quadrupole unit series production started
FoS QDM with approval of concept
first series QDM under integration
Super-FRS
FoS modules delivered, FoS SM approved
testing site in operation
in parallel: preparation for installation phase at FAIR

## Slide 40
    thank you
    + all collaborators

## Slide 41
https://www.gsi.de/forschungbeschleuniger/fair
    thank you