## Slide 1: Stautus of the CR-Building
7th BINP-FAIR Collaboration Coordination Workshop
November 2021 Thorsten Ziglasch

## Slide 2: Stautus of the CR-Building
Completing the data for the CDB and cable database
cable heat load
cooling water distribution
pressured air distribution
placement of kicker racks

## Slide 3: Stautus of the CR-Building
cable heat load
work in progress: 80% done by Albert Rakhimov
small changes needed according Reinhard Ingelmann

## Slide 4: Stautus of the CR-Building
cooling water distribution
cooling water distribution pillars entered in data sheet
placement of pillars in 3d-model just started (Ina Schurig)

## Slide 5: Stautus of the CR-Building
pressured air distribution
data for pressured air users to be entered into CDB
ongoing, but still some divice types and nomenclatures need to be created for CDB

## Slide 6: Stautus of the CR-Building
placement of kicker racks
two alternative plans were created (Ina Schurig) and a choice needs to be made (BINP) because of new design