## Slide 1: Glasgow Report
Euan N. Cowie
Nuclear Physics Group
University of Glasgow

## Slide 2: Glasgow Hall Layout
Trigger and Detector Positions
Beam
Direction
ToF1
Fast
ToF2
166cm
18.9cm
717cm
Detector
448cm
Distances From downstream edge of MWPC

## Slide 3: Prototype Layout
Beam
Axis
Axis of Rotation
A: Fused Silica Radiator
B: Lithium Fluoride Plate
C: PMMA Lightguide
D: H9500 MAPMT

## Slide 4: The Source

## Slide 5: The ToF
The ToF spectrum at for a run at 10GeV

## Slide 6: The ToF
The ToF spectrum at for a run at 4GeV

## Slide 7: The Timing Hydra
The timing of the output of our synced trigger and our accepted trigger. Note 4 peaks.

## Slide 8: The Resulting Mess
A QDC spectrum example with previous 4 peaks overlay.

## Slide 9: The Resulting Mess
A(nother) QDC spectrum example with previous 4 peaks overlay.

## Slide 10: The Fit
Automated ToF fitting example

## Slide 11: The Background Subtracted

## Slide 12: The pretty pictures pt I
18o
7o
3o
Polar Angle
One 4 x 16 pixel section read out

## Slide 13: The final countdown
Finalise “Heat Map” diagrams
Finalise results from Chromatic Dispersion measurements
Combine with simulations of both set-ups
The final countdown

## Slide 14: The Backup

## Slide 15: The Backup

## Slide 16: The Backup

## Slide 17: The Backup

## Slide 18: The Backup

## Slide 19: The Backup