## Slide 1
MVD services integration
G. Giraudo
GSI 4th July 2012

## Slide 2
CENTRAL REGION – ACTUAL DESIGN
BACKWARDS EMC
SUPPORT FOR BACKWARDS EMC
G. Giraudo
GSI 4th July 2012
MVD
STT & CENTRAL SUPPORT FRAME

## Slide 3
Parameters | Pixel | Strip
# of SuperModules # of DetectorModules # of Sensors # of FrontEndChips Total Power Volume | 66 176 176 810 1.4 kW ~6.4 dm3 | 70 140 254 1324 1.8 kW ~18 dm3
G. Giraudo
GSI 4th July 2012
MVD General Properties

## Slide 4
MVD services routing
GSI 4th July 2012
G. Giraudo

## Slide 5
MVD Cooling
Pixel Cooling Lay-out
IN - 21 channels
OUT - 21 channels
IN/OUT 25 channels
IN/OUT 25 channels
GSI 4th July 2012
G. Giraudo

## Slide 6
Strip Cooling Lay-out
IN - 23 channels
OUT - 23 channels
GSI 4th July 2012
OUT - ? channels
IN - ? channels
G. Giraudo

## Slide 7
Patch Panel for Cooling Manifolds
Pressure Sensors?
Accessible from outside.
Stiffener must be reduced
Polyurethane flex tubes Ø4xØ2.5
GSI 4th July 2012
G. Giraudo

## Slide 8
Ø300 mm
Ø150 mm
Cooling Patch Panel – dimensional constraint
GSI 4th July 2012
G. Giraudo

## Slide 9
Parameter | Pixel | Strip | Power (W)
GBT | 122 | 26 | 350
DC-DC Conv. | 596 | 1322 | 
MVD Read Out Electronics
GSI 4th July 2012
GBT  60 x 25 x (10÷14)
DC-DC conv.  28.4 x 13.5 x 12
G. Giraudo

## Slide 10
GBT Arrangement Preliminary design.
74 GBT boards in 4 lines (half MVD)
Base Support & Cover act as Thermal Screen
System coupled with the beam pipe
Routing of the optical fibres & cables must be evaluated.
VERY PRELIMINARY
Øin 222 mm
Øex 298 mm
L 600 mm
G. Giraudo
GSI 4th July 2012

## Slide 11
Ø298 mm
Ø222 mm
1 mm clearance
G. Giraudo
GSI 4th July 2012

## Slide 12
TOWARD THE PATCH PANEL
TOWARD THE PATCH PANEL
TOWARD THE COOLING
PATCH PANEL
TOWARD THE COOLING
PATCH PANEL
G. Giraudo
GSI 4th July 2012

## Slide 13
VOLUME FOR MVD SERVICES
1200x1500x400mm OUTSIDE THE MAGNET DOORS
GSI 4th July 2012
Cooling manifolds
Pressure transmitters
DC-DC converters
Cooling for DC-DC converters
(Water at 5 bar)
Cooling manifolds
Pressure transmitters
DC-DC converters
Cooling for DC-DC converters
(Water at 5 bar)
G. Giraudo