## Slide 1: UNILAC Pulsed Gasstripper
P. Gerhard/PSU
on behalf of the gasstripper team

## Slide 2
Introduction
Progress since 2022
Oil issues
Machine development beam time 2023
Preparation for and experiences from beam time operation 2024
Summary & outlook
Outline

## Slide 3: Why do we want to use H2 instead of N2?
Heavy ions (U, Bi):
  more narrow distribution
  increased stripping efficiency
  higher beam intensity
All ions:
  higher average charge state
  less rf power
  higher energy in SIS18
P. Scharrer et al., Proc. LINAC16, TUOP03
Measured charge state distributions with highest <q>

## Slide 4
Gas Stripper Chamber and Pulsed Valves Setup
Pulsed stripper
setup with
two gas valves
valve
gas supply
interaction zone
Liquid and gaseous
media valves

## Slide 5: Formal Progress in Safety
Report on the Absence of
Ignition Sources in the Pulsed Valves
Draft Explosion Safety Document

## Slide 6: New Explosion Safe Roots Pump Station
Delivery 2.5.23

## Slide 7: Old Roots Pump Station Moved and Reinstalled

## Slide 8: Oil Issues: Consumption and Oil in the Wrong Places
floating
ring seal oil
collector pan
floating
ring seal oil
splash guard
roots
pump
oil level
window
of shaft
bearing
floating ring seal
oil reservoir
pump bearing
oil reservoir

## Slide 9: Oil Issues: The Rise and Fall of Oil Levels
Green area = operational range
Level rise due to oil from the floating ring seal entering the transmission gear and bearing chamber
Time between intervention 1-2 months
Time between refills 2-3 months

## Slide 10: Machine development beamtime November/December 2023
Cn+ after N2 stripping
Aun+ after
H2 stripping
U28+ → H2 stripper operation for SIS18 Booster Mode and other experiments
Pulsed stripper operation with N2 for other experiments
Collect more data on stripping of [CH3⇒C, Ar, Fe, Au, U] by [N2, H2]
Gather essential operating parameters for light, inter-mediate and heavy ions for specification of gas station
Chart: H2 pressure /bar(a)
| 12 | 11.2 | 11 | 10.5 | 10 | 9.5 | 9 | 8.5 | 8 | 7.5 | 7 | 6.5 | 6 | 5.5 | 5 | 4.5 | 4.0999999999999996 | 4 | 3.5 | 3 | 2.8 | 2.5 | 2 | 1.5 | 1
U 28+ | 1.32 | 1.38 | 1.38 | 1.41 | 1.42 | 1.43 | 1.45 | 1.47 | 1.48 | 1.49 | 1.49 | 1.47 | 1.42 | 1.35 | 1.2 | 1.09 | 0.95 | 0.65 | 0.43 | 0.22 | 0.08 | 0.025
U 29+ | 1.55 | 1.53 | 1.52 | 1.49 | 1.47 | 1.37 | 1.27 | 1.07 | 0.76 | 0.28

## Slide 11: Preparation for beam time operation 2024
new low pressure
regulators
flexible use of
2 injection valves,
bypass line
N2 from supply line
control air
from supply line
split purge line
interlock signals
to vacuum controls

## Slide 12
Stripping data collected during beam time
Measured stripping efficiencies of O2, Ar, Cr, Fe, Mo, Er, Au, U on N2

## Slide 13
Stripping data collected during beam time
Measured stripping efficiencies of U on N2 and H2

## Slide 14
Nominal service life under intended use: 380.000.000 cycles, equivalent to 88 days of 50 Hz operation
Pulsed gas stripper does not comply with intended use in several ways
  different gases, very low gas pressure & flow, higher voltage & current, very high cycle rates over extended periods
3 valves broke premature during beam time 2024
  serial 2-11-08-16 010154 reached 20% of expected service life
    history: delivery 06.2017, used for 5 machine beam times, development, safety tests, SAT roots pump station a. o. since 2018 with N2 and H2
    usage: approx. 76.000.000 cycles in total, of which 73.500.000 @50Hz in beam time 2024
  serial 2-11-08-16 005603 reached 20% of expected service life
    history: delivery 06.2017, used for 6 machine beam times, development, safety tests, SAT roots pump station a. o. since 2018 with N2 and H2
    usage: usage approx. 77.000.000 cycles in total, of which 8.600.000 @50Hz and 62.600.00 @25Hz in beam time 2024
  serial 2-30-10-17 005056 reached 14% of expected service life
    history: delivery 05.2018, used since 7.5.24 with N2, unused before 2024
    usage: usage approx. 54.000.000 cycles in total, most of which @50Hz
Injection Valve Failures

## Slide 15
5000 s
Added gas flow monitoring as diagnostics
Look into opportunities to operate valves more gentle, closer to intended use, and for alternative ways of operation for high duty cycle beams
Injection Valve Failure: Mitigation
Exemplary time series of stripper gas flow
with faulty pulsed injection valve at 1 Hz operation

## Slide 16
Pulsed gas stripper project is progressing
  Safety concept reviewed by expert companies, proceed with implementation based on this
  Gas alarm system extension completed, commissioned 22.12.2023
  ATEX Roots pump station in operation, remaining issues will be fixed together with manufacturer
  Shutdown 2024: Replacement of 4 Turbopumps for differential pumping stages
  Major remaining parts: Gas control, vacuum exhaust treatment, safety interlock
  Many other small things to do ...
  Commissioning of fully-fledged pulsed gas stripper planned for end of 2025
Provision of 5 months of pulsed stripper operation during user beam time 2024 (unexpected, unplanned, on short notice) and machine beam time 2023
  Lots of data and experience gained
Issues
  Premature failures of injection valves
  Short maintenance intervals of roots pump due to oil issues
  Automated stripper gas pressure control, procurement of gas control
Summary & Outlook

## Slide 17
Thank you
for your attention!

## Slide 18
General System Overview