## Slide 1: Benchmark of Linac Model and Phase Space Measurements at the SNS Beam Test Facility
Kiersten Ruisard
Oak Ridge National Laboratory
10/3/24 ICAP’24

## Slide 2: Beam loss, an operational challenge for SNS and other high-power ion accelerator
SNS Beam test facility:
13 meters
Complex nonlinear dynamics complicate ion trajectories
Lost ions at high energy cause radioactivation
1.3 GeV
MEBT: 2.5 MeV
SNS Accelerator Complex:
335 meters
RFQ
Ion source
2.5 MeV beam transport
Beam loss at SNS (<0.001% of the beam) causes radioactivation in tunnels
Simulation models cannot predict losses
Excess beam loss can limit high power linac operation

## Slide 3: Scope of BTF project is to accurately model halo development over short, 2.5 MeV transport line
2D phase space measurement vs model
(Linear scale, dynamic range of 102)
Up to 6D phase space
2D high dynamic range
2D phase space
Up to 5D phase space
“input bunch”
“output bunch”
Hoover et. al (2023).
PRAB 26, 064202
5D measurement of initial bunch

## Slide 4: Scope of BTF project is to accurately model halo development over short, 2.5 MeV transport line
“input bunch”
“output bunch”
Relatively strong-focusing FODO line:
9.5 cells
105 degrees per cell
Permanent magnet quadrupoles
Qiang, J., et. al (2002).
PRSTAB, 5(12), 124201.
Zhang, Z., et. al (2020).
NIM-A, 949, 162826.

## Slide 5: Beam Test Facility is equipped for thorough measurement of the bunch distribution
Up to 6D phase space
2D high dynamic range
2D phase space
Up to 5D phase space
slit 1
slit 3
dipole
H- beam
slit 4
wire
RF
)
secondary e-
slit
dipole
slit 1
slit 2
H- beam
0.95 m
2-camera system
H+
6D phase space measurement
2D high-dynamic-range (106) phase space measurement

## Slide 6
Recent operation and results, benchmark status
What matters? Model parameters and constraints
  Input bunch
  Quadrupole field model
  Longitudinal and space charge dynamics
3. Outlook and next steps

## Slide 7: Operational notes from 2024 BTF experiments
Long shutdown for most of 2023
Ion Source
0.06 - 2.5 MeV acceleration (RFQ)
High-dynamic range measurement
Full-6D measurement
Periodic focusing
5D-capable diagnostics
2018 - 2022
Re-commissioned in early 2024:
New high-current ion source with wide aperture delivers 52 mA at RFQ output
New-to-BTF RFQ for 2024 run
Notes: Operation

## Slide 8: Recent reconfiguration of the BTF beamline has simplified beamline and improved benchmark
Initial beam
X rms, Y rms
Measured | Simulated
X
Y
Measured | Simulated
X
Y

## Slide 9: Recent benchmark for 52 mA output bunch
200k particles
input bunch measured with 102 dynamic range
Measured | Simulated
X
Y
Notes: Appeal to join us! Test code with our results

## Slide 10: Recent benchmark for 52 mA bunch
99%
90%
67%
33%
99%
90%
67%
33%
Red: simulation model
Black: measurement
X |  | Y
Notes: Appeal to join us! Test code with our results

## Slide 11: Recent benchmark for 52 mA bunch
Red: simulation model
Black: measurement
Pink: simulation uncertainty
All simulations in PyORBIT!
uncertainty region defined by 100 simulations, sampling random errors:
quadrupoles,
energy error 1%
X |  | Y
Notes: Appeal to join us! Test code with our results

## Slide 12
Recent operation and results, benchmark status
What matters? Model parameters and constraints
  Defining of input bunch
  Quadrupole fields
  Longitudinal and space charge dynamics
3. Outlook and next steps

## Slide 13: To define input bunch, sampling of 3 2D phase space measurements is sufficient (for now)
Initial bunch typically has 200k particles
Initial bunch
Quadrupoles
Dynamics

## Slide 14: 6D bunch predicted to have small effect
Initial bunch
Quadrupoles
Dynamics
There are measurable differences between and
y
x
Integrated f(x,y) (measured)
Slice f(x,y) vs longitudinal energy

## Slide 15: 6D bunch predicted to have small effect
Initial bunch
Quadrupoles
Dynamics
Hoover et al, High Brightness Workshop, CERN (Oct 2023)
Beam distribution (1D profiles) evolving with/without full 6D beam (simulated):
As inferred from simulations with PARMTEQ initial bunch. We have never tracked a bunch based on full-and-direct 6D measurement!
10-7 (~99.99999%)
10-2
(~99%)

## Slide 16: Initial bunch out of RFQ shows little halo
Initial bunch
Quadrupoles
Dynamics
Initial bunches used for benchmark based on low-dynamic-range measurements
Linear color scale, logarithmic contours

## Slide 17: Iron-core quadrupole model
Initial bunch
Quadrupoles
Dynamics
No gridded 3D fields!
Pure quadrupole field
Soft-edged profile modeled with Enge function
Gradient/current curves from rotating coil measurements
Notes: We’re uncovered errors amounting to 5-10% gradient errors by re-checking old data

## Slide 18: Permanent magnet quadrupoles
Initial bunch
Quadrupoles
Dynamics
Pure quadrupole field
Soft-edge modeled with analytic expression from Halbach
in rotating coil gradient measurement
Halbach permanent magnet quad
9”

## Slide 19: Sensitivity to quadrupole gradient errors
Initial bunch
Quadrupoles
Dynamics
PMQ 1
Iron-core 1
Case 1:
Case 2:
Case 1:
Case 2:
Black: measurement
Pink: simulation with uncertainty

## Slide 20: BTF has no RF past RFQ, debunching occurs rapidly
Initial bunch
Quadrupoles
Dynamics
Bunches start to overlap in beginning of FODO section
Bunch train formed by RFQ fields (s=0)
402.5 MHz, 2.48 ns

## Slide 21: PyORBIT has multi-bunch field solver
Initial bunch
Quadrupoles
Dynamics
Poisson solver :
3D FFT
nx,ny,nz = 64
n_particles = 200k
stepsize <= 0.01 m
n_bunches = 3
Notes: This is a limitation for testing codes

## Slide 22: Large energy spread and longitudinal correlation means large chromaticity
Initial bunch
Quadrupoles
Dynamics
Per FODO cell,
For 30 keV RMS width and 9.5 cell FODO, phase advance varies by
Full projection phase spaces:
Phase space for different energy slices:
tail
head
Notes: This is an effect that is particular to BTF beamline
Two fold effect: energy kick

## Slide 23: Uncertainty from central energy
Initial bunch
Quadrupoles
Dynamics
Time-of-flight measurements
Uncertainty from 1% energy error
Uncertainty from .5% quadrupole gradient errors

## Slide 24
Recent operation and results, benchmark status
What matters? Model parameters and constraints
  Input bunch
  Quadrupole fields
  Longitudinal and space charge dynamics
3. Outlook and next steps

## Slide 25
Current benchmark status:
Good agreement for core
Fair agreement for 10-2 tails
Larger disagreement for mismatch indicates linear focusing error
Divergence of tails indicates nonlinear error
“Halo benchmark” not started yet
Red: simulation model
Black: measurement
Pink: simulation uncertainty
uncertainty region defined by 100 simulations, sampling random errors:
quadrupoles, 0-
energy error 1%
X |  | Y

## Slide 26
Current benchmark status:
Good agreement for core
Fair agreement for 10-2 tails
Larger disagreement for mismatch indicates linear focusing error
Divergence of tails indicates nonlinear error
“Halo benchmark” not started yet
Red: simulation model
Black: measurement
Pink: simulation uncertainty
uncertainty region defined by 100 simulations, sampling random errors:
quadrupoles, 0-
energy error 1%
X |  | Y

## Slide 27: 52 mA output distribution at high-dynamic-range and large mismatch oscillation

## Slide 28: 52 mA output distribution at high-dynamic-range and large mismatch oscillation

## Slide 29: Backup material

## Slide 30: Self consistent model of PMQs has little effect on dynamics
Initial bunch
Quadrupoles
Dynamics
Thompson, Gorlov, et al, High Brightness Workshop, CERN (Oct 2023)
for a single particle at maximum acceptance:
unnormalized coordinates
normalized coordinates

## Slide 31: All benchmark cases
 | Matching strategy A, 52 mA | Matching strategy B, 52 mA | Mismatched, 52 mA | Matching strategy B, 30 mA
x |  |  |  | 
y |  |  |  | 
Contours at 33%, 67%, 90%, 99% contained

## Slide 32
Measured 0-current matrix elements compared to simulation:

## Slide 33: Large losses and steering kicks
Initial bunch
Quadrupoles
Dynamics
Apertures
Existing correctors
Losing a least 5% of 52 mA beam by end of beamline
Measure centroid to be as much as 0.5 cm offset in this area
Aperture r=4 cm, x,y rms ~ 0.5 cm
Notes: What is precision?

## Slide 34: Large energy spread and longitudinal correlation means large chromaticity
Initial bunch
Quadrupoles
Dynamics
Per FODO cell,
For 30 keV RMS width and 9.5 cell FODO, phase advance varies by
Full projection phase spaces:
Phase space for different energy slices:
Notes: This is an effect that is particular to BTF beamline
Two fold effect: energy kick (add plot?)