## Slide 1
We present today a new study for the housing of STT electronics, cables, gas pipes.
First of all we will remind some numbers:
STT channels and layout: numbers and nomenclature;
electronics cards;
number and types of signal cables, gas pipes, HV cables, etc...
The aim is to make everybody aware of the status and to agree upon solutions.

## Slide 2
SECTOR “A”
N.4 INNER STRAW MODULES:
-4° MODULE 22+23= 43 STRAWS
-3° MODULE 20+21= 41 STRAWS
-2° MODULE 18+19= 37 STRAWS
-1° MODULE 16+17= 33 STRAWS
N.5 OUTER STRAW MODULES:
-13° MODULE 24+17+6= 47 STRAWS
-12° MODULE 32+29= 61 STRAWS
-11° MODULE 35+34= 69 STRAWS
-10° MODULE 35+35= 70 STRAWS
-9° MODULE 34+35= 69 STRAWS
N.4 SKEWED STRAW MODULES:
-8° MODULE 30+31= 61 STRAWS
-7° MODULE 28+29= 57 STRAWS
-6° MODULE 26+27= 53 STRAWS
-5° MODULE 24+25= 49 STRAWS
SECTOR “C”
SECTOR “B”
N.4 INNER STRAW MODULES:
-1° MODULE 16+17= 33 STRAWS
-2° MODULE 18+19= 37 STRAWS
-3° MODULE 20+21= 41 STRAWS
-4° MODULE 22+23= 43 STRAWS
N.5 OUTER STRAW MODULES:
-9° MODULE 34+35= 69 STRAWS
-10° MODULE 35+35= 70 STRAWS
-11° MODULE 35+34= 69 STRAWS
-12° MODULE 32+29= 61 STRAWS
-13° MODULE 24+17+6= 47 STRAWS
N.4 INNER STRAW MODULES:
-4° MODULE 24+25= 49 STRAWS
-3° MODULE 22+23= 45 STRAWS
-2° MODULE 20+21= 41 STRAWS
-1° MODULE 18+19= 37STRAWS
N.5 OUTER STRAW MODULES:
-13° MODULE 24+17+6= 47 STRAWS
-12° MODULE 30+29= 59 STRAWS
-11° MODULE 38+37= 75 STRAWS
-10° MODULE 38+37= 75 STRAWS
-9° MODULE 36+37= 73 STRAWS
N.4 SKEWED STRAW MODULES:
-8° MODULE 32+33= 65 STRAWS
-7° MODULE 30+31= 61 STRAWS
-6° MODULE 28+29= 57 STRAWS
-5° MODULE 26+27= 53 STRAWS
316
220
154
316
154
TOT. 690
TOT. 690
329
236
172
TOT. 737
TOT. STRAWS 2117
LNF/SPAS -12/10/2012
N.4 SKEWED STRAW MODULES:
-5° MODULE 24+25= 49 STRAWS
-6° MODULE 26+27= 53 STRAWS
-7° MODULE 28+29= 57 STRAWS
-8° MODULE 30+31= 61 STRAWS
220

## Slide 3
15
15
13
13
15
14
85 Flates
(2890 Ch.)
7
8
13
8
8
13
7
8
13
4
3
4
4
7
6
7
6
4
4
4
4
4
4
7
6
4
3
44mm
0,65mm
- Flat cable cross section 28,6mm^2/each
- Total: 28,6x85 = 2431mm^2
Weight: 0.059 kg/m
-The encumbrance of the connectors has not been considered!
PATHWAYS OF FLAT CABLES BUNCHES

## Slide 4
52mm
13,5mm
6,6mm
FLAT CABLE CONNECTOR
ELECTRONIC CARD CONNECTOR
56mm
10mm
7mm
E_Card
Approx. weight of connector: 5g / Each

## Slide 5
13 HV Cables
13 HV Cables
13 HV Cables
- The encumbrance of the connectors has not been considered!
20 HV Cables
20 HV Cables
12 Gas Pipes
12 Gas Pipes
4 Gas Pipes
(From the Forward Side)
8 Gas Pipes
(From the Forward Side)
4Gas Pipes
(From the Forward Side)
- Cross Section 8,1mm^2/each
- Total: 8,1x20 = 162mm^2 (Each Pathway)
- Weight: 0,0162 Kg/m
- Cross Section 28,26mm^2/each
- Total: 28,26x12 = 340mm^2 (Each Pathway)
Weight: 0.016 kg/m
13
13
7
6
8 Gas Pipes
(From the Forward Side)
PATHWAYS OF HV CABLES AND GAS PIPES
GAS PIPE DIMENSIONS
HV CABLE DIMENSIONS

## Slide 6
Weight: 0,0162Kg/m
L = 50mm
Thinner cables exist, but we have only 40...
Out diam.: 3.2 mm

## Slide 7
Weight: 0,0162Kg/m
Outer diam: 6 mm

## Slide 8
Mounting sequence: step 1
The ST modules are mounted in the
mechanical frame.
Each chamber is attached to the Central Support Frame

## Slide 9
Mounting sequence: step 2
An independent mechanical frame (material can be aluminum) is inserted and connected with the ST Tracker.
Its duty is to support electronics and route cables and other services outside in the backward region.
Notes: Area laterale 6092 mm2

## Slide 10
One of the advantages of this solution is that the weight of the electronics is decupled from the detector.
The length of the straws is the maximum possible inside the mechanical frame.
The connections between the electronics and the straw tubes should be made with flexible wires.
Mounting sequence: step 2
- Electronics cards: one plane for each double-layers

## Slide 11
Mounting sequence: step 3
Signals cables, HV cables, gas pipes etc.. are connected and routed in the 4 available zones.
- Four areas have been left for the STT services

## Slide 12
Gas distribution is done in the forward region, then gas pipe have to run along the external surface of the detector to reach gas-manifolds
Side view of STT detector after cables and gas pipes mounting
- Forward region
- Backward region
123 mm

## Slide 13
The cable routing system is attached to the STT rails. It drives the cables outside of the PANDA magnet in a tidy way.
Mounting sequence: step 4
Cable are attached to the routing system.
Left and right boxes are filled with signal cables.
Top and bottom space is for HV-cables, gas pipes and other services.
NB: Where the flats
bent, their thickness double.
A test on a prototype is mandatory.

## Slide 14
6000mm^2
1600mm^2

## Slide 15
85 Flates
(2890 Ch.)
DIRC inner radius: 448mm
STT Cable housing: 443mm
EMC-BW: 413mm
STT Cable housing: 410mm
ADDITIONAL SPACE NEEDED: 10mm
DIRC inner radius: 448mm
EMC-BW: 413mm
STT Cable housing: 410mm
-20 hv Cables
-12 Gas Pipes