## Slide 1: High-precision mass measurements of light ion species
DPG Spring Meeting 2024
Sangeetha Sasidharan

## Slide 2
High-precision Mass Spectrometry
Bee (60mg) on Eiffel tower (7300000Kg)
Field | δm/m | δE
General chemistry | ≤ 10-5 | 1 MeV
Nuclear Structure Physics | ≤ 10-6 | 100 keV
Astrophysics | ≤ 10-7 | 10 keV
Weak interaction studies | ≤ 10-9 | 100 eV
Metrology, Fundamental constants, Neutrino physics | ≤ 10-10 | eV – meV
CPT tests, QED in HCI | ≤ 10-11 | meV, eV - meV
Relative mass precision of 10-9 and below can be reached by Penning-trap mass spectrometry
Focus: Simple and stable atomic systems
Short lived nuclides /
Online facilities
Stable nuclides /
Offline setups

## Slide 3
Acronym for Light ION TRAP experiment situated in Mainz.
High precision Penning-trap mass spectrometer for light ions
Precision goal:
Measure directly in atomic mass units,
Specialized trap : Measuring light ions is difficult because of relatively small signals and high relativistic shifts
LIONTRAP

## Slide 4
Light Ion Masses for Fundamental Physics
and are fundamental properties of the basic building blocks of matter
md is the starting point for the determination of the atomic mass of the neutron:
Simple atomic systems
  Ro-vibrational spectroscopy in molecular ions:
M.S. Dewey et al. Phys. Rev. C73, 044303 (2006) S. Rau et al. Nature 585, 43–47 (2020)
T
p
d
Notes: 1:00
Einzig stabile Hadron / leichteste Baryon
Ungefähr 1 % der Masse des Protons kommt von den Massen der Valenzquarks, der Rest stammt von der Bewegungs- und Bindungsenergie zwischen Quarks und den Gluonen.
Correlation coefficient: r(mp,Rinf)=-0.0058 (siehe: https://physics.nist.gov/cgi-bin/cuu/CCValue?ryd|ShowSecond=rydberg+constant&First=mpu) -> Ungenauigkeit von Rinf müsste Faktor 180 mal schrumpfen, dann wäre Unsicherheit durch 1E-10 Protonmasse (VanDyck) dominierend und verbesserte Elektronenmasse wird benötigt.
Erklärung r: Wenn sich mp um ein Sigma (delta_mp) verschieben würde, dann würde sich Rinf um r*delta_Rinf verschieben
CPT-Test (siehe: https://www.nature.com/articles/nature14861): Messe R==(q/m)_antiproton/(q/m)_hydrogen-anion und vergleiche zu R, wo CPT als richtig angenommen, dann: R_theo=(1+2*me/mp+polarizability shift/mp-electron binding energy/mp-electron affinity of hydrogen) und hier ist Unsicherheit von R_theo=2E-13. Und Unsicherheit von R_exp=69E-12. Damit müsste Experiment um Faktor 345 verbessert werden, damit verbesserte Protonmasse benötigt wird.

## Slide 5
Light Ion Masses for Neutrino physics
[1] The KATRIN collab., Nat. Phys., 18, 160 (2022)
[2] M. Restrepo et al., Phys. Rev. Lett. 131, 243002 (2023)
Independent ) as a consistency check is required
[2]
KATRIN experiment
Aim at m() < 0.2 eV/ [1]
T
From: http://www.katrin.kit.edu
δ(ΔM)< 20meV [ ]

## Slide 6
[1] R.S. Van Dyck Jr et al., Phys. Scripta A T59, 134 (1995)
[2] Brunner. S et al., Eur. Phys. J. D 15, 181 (2001)
[3] T. Fritioff et al., Eur. Phys. J. D 15, 141-143 (2001)
[4] R. S. Van Dyck et al., Int. J. Mass Spectrom., 251,(2006)
[5] A. Czarnecki, Phys. Rev. Lett. 120, 043203 (2018)
Bound electron g-factor measurements to obtain electron’s atomic mass
  Higher (Zα) order contributions of QED & nuclear size corrections on the theoretical value of the g-factor scale rapidly with nuclear charge
  , 2 orders of magnitude smaller than for [5]
Disagreement of the mass of alpha particle in the past
[1]
[2]
[4]
[3]
Light Ion Mass for Mass of electron

## Slide 7
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1]
[3]
[3]
[2]
[2]
[1] R. S. Van Dyck Jr. et al., AIP Conf. Proc. 457, 101 (1999)
[4] Yan et al., PRA 67, 062504 (2003)
[3] E. Myers et al., PRL 114, 013003 (2015)
12C
3He
T
H
D
HD
4.4 σ
790(180) pu
Deviation
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
Puzzle of Light Ion Masses

## Slide 8
1cm
Ion
B-field
UUC2 ~ -6 V
UUC1 ~ -7 V
UR ~ -8 V
ULC1 ~ -7 V
ULC2 ~ -6 V
Deuteron:
Measurement Tool
[1] L.S. Brown & G. Gabrielse, PRA 25, 2423 (1982)
Cyclotron frequency via invariance theorem [1]:
Ion stored in a Penning trap:
  homogenous static magnetic field
  electrostatic quadrupole potential for trapping
Helium:
needs to be measured most precisely
Cyclotron frequency ,

## Slide 9
B
B
Basic Measurement Principle
Direct measurement of the atomic mass of the ion :
(p, d, HD+, 3He2+, 4He2+...)
12Cq+
˂ 8.10-14

## Slide 10
Offline experiment
Liquid helium temperature
Hermetically sealed trap chamber, Ultra-high vacuum (Pressure < 10-16 mbar)
Storage time of several months!
In situ ion creation using miniature EBIT/S
2.3 m
ST1
PT
ST2
MT
mEBIS
Setup
Notes: -6:40

## Slide 11
Precision Trap (PT)
Storage
Trap 2 (ST2)
Storage
Trap 1 (ST1)
12C6+
Measurement Procedure
superconducting tank circuit
A
ultra low noise
cryogenic amplifiers
Detected signal (dBVrms/√Hz)
ν-460800 (Hz)
ν-460838 (Hz)
Detected signal (dBVrms/√Hz)
Fourier transformation
Eg Dip signal of a single deuteron
Compare cyclotron frequencies of two ions in the same magnetic field B → same place → (almost) same time
measurement of induced image currents () on trap electrodes
Notes: -6:40

## Slide 12
    Advantages:
    -Linear scaling with Measurement Time
    -No lineshape model needed
    BUT: at (small) excited radius
Dipolar excitation
Electrode
S. Sturm et al., PRL 107, 143003 (2011)
Phase-Sensitive Detection Method
phase-sensitive measurement scheme
phase of mapped to by a pulse with → amplifies both modes
the Fourier spectrum provides phase of the ion

## Slide 13
Systematic Uncertainties
Magnetic inhomogeneity :
An axial dip spectrum of 4He2+
Field Imperfections:
Electric field anharmonicity:
Special relativistic:
Interaction of ion:
With the electrodes:
Image charge effect dominantly shifts radial frequencies
Simulated and measured to a relative uncertainty of 4%
With the detection system:
Shifts are large for lighter ions
Finite temperature of the ion → finite thermal radius
B(z)=B0+B1z+B2z2+…
<B>=B0+B2<z02>/2
Ultra harmonic doubly compensated
Superconducting B2 shim coil
Electronic feedback cooling

## Slide 14
Results of Previous Measurements
Effect | Rel. Unc. () Proton Mass | Rel. Unc. () Deuteron Mass
Magnetostatic Inhomogeneity | 27.5 | 0.6
Electrostatic anharmonicity | 0.1 | 0.3
Special Relativity | 7.1 | 1.2
Image Charge | 4.6 | 4.1
Dip Lineshape | 3.0 | 4.7
Quadratic Sum | ≈29 | ≈6.5
Effect |  | 
Magnetostatic Inhomogeneity | 27.5 | 0.6
Electrostatic anharmonicity | 0.1 | 0.3
Special Relativity | 7.1 | 1.2
Image Charge | 4.6 | 4.1
Dip Lineshape | 3.0 | 4.7
Quadratic Sum | ≈29 | ≈6.5
Systematics
md = 2.013 553 212 535 (11)stat (13)sys (17)tot u,
Deuteron mass:
Proton mass:
mp 1.007 276 466 583 (32) tot u,
(previously)
*FSU: measurement of
S. Rau et al. Nature 585, 43–47 (2020)
F. Heiße et al., PRL 119, 033001 (2017)
Deuteron mass:
Proton mass:
B2-shim coil

## Slide 15
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1]
[3]
[3]
[2]
4.4 σ
790(180) pu
Deviation
[2]
[1] R. S. Van Dyck Jr. et al., AIP Conf. Proc. 457, 101 (1999)
[4] Yan et al., PRA 67, 062504 (2003)
[3] E. Myers et al., PRL 114, 013003 (2015)
12C
3He
T
H
D
HD
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
Puzzle of Light Ion Masses

## Slide 16
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
Our Measurement
[1]
[3]
[3]
[2]
3.5 σ
560(160) pu
Deviation
[2]
[4] Yan et al., PRA 67, 062504 (2003)
[3] E. Myers et al., PRL 114, 013003 (2015)
12C
3He
T
H
D
HD
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
Puzzle of Light Ion Masses
Notes: -230 nu
056(16) nu

## Slide 17
R.S. Van Dyck et al. @ UW
E. Myers et al. @ FSU
+ Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
Our Measurement
[2]
[1]
[3]
[5]
[2]
4.8 σ
484(97) pu
Deviation
[5] S. Hamzeloui et al, PRA 96, 060501 (2017)
[4] Korobov et al., PRL. 118, 233001 (2017)
[3] E. Myers et al., PRL 114, 013003 (2015)
New Measurement
12C
3He
T
H
D
HD
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
Puzzle of Light Ion Masses
Notes: 0.47(10) nu

## Slide 18
Motivation for 3He mass measurement!!
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
[5] S. Hamzeloui et al, PRA 96, 060501 (2017)
[4] V. Korobov et al., PRL. 118, 233001 (2017)
[3] E. Myers et al., PRL 114, 013003 (2015)
[6] S. Rau et al., Nature 585, 43–47 (2020)
[7] D. J. Fink, E. Myers, PRL 127, 243001 (2021)
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
Puzzle of Light Ion Masses
255(84)

## Slide 19
Latest Published Results: Helium-4 Mass

## Slide 20
Error Budget Helium-4
Effect | Rel. Unc. ()
Magnetostatic Inhomogeneity | 0.2
Electrostatic anharmonicity | 0.1
Special Relativity | 0.3
Image Charge | 3.3
Dip Lineshape | 7.1
Quadratic Sum | ≈8
Effect | 
Magnetostatic Inhomogeneity | 0.2
Electrostatic anharmonicity | 0.1
Special Relativity | 0.3
Image Charge | 3.3
Dip Lineshape | 7.1
Quadratic Sum | ≈8
Statistical Error
Systematic Error
The total relative uncertainty is 12ppt .
m(4He2+) = 4.001 506 179 651(36)stat(31)sys(48)tot u.
Notes: 2:20
Wire Radius:
Acetylenflamme mit Schutzgas

## Slide 21
Results – Discrepancy
[1] R.S. Van Dyck Jr et al., Phys. Scripta A T59, 134 (1995)
[2] Brunner. S et al., Eur. Phys. J. D 15, 181 (2001)
[3] T. Fritioff et al., Eur. Phys. J. D 15, 141-143 (2001)
[4] R. S. Van Dyck et al., Int. J. Mass Spectrom., 251,(2006)
[5] S. Sasidharan et al., PRL 131, 093201 (2023)
[6] E. Tiesinga et al., Rev. Mod. Phys. 93 (2021)
UW
wrt m(12C)
Mainz
wrt m(p), m(d)
SMILETRAP
wrt m(p)
UW
wrt m(12C)
LIONTRAP wrt m(12C)
[1]
[2]
[4]
[3]
[5]
CODATA18 [6]

## Slide 22
Motivation for 3He mass measurement!!
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
[5] S. Hamzeloui et al, PRA 96, 060501 (2017)
[4] V. Korobov et al., PRL. 118, 233001 (2017)
[3] E. Myers et al., PRL 114, 013003 (2015)
[6] S. Rau et al., Nature 585, 43–47 (2020)
[7] D. J. Fink, E. Myers, PRL 127, 243001 (2021)
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
- Last Piece in the Light Ion Mass Puzzle?
255(84)

## Slide 23
Preliminary
Estimated Error Budget
Effect | Rel. Unc. ()
Residual Magnetostatic Inhomogeneity | 1.2
Electrostatic anharmonicity | 0.01
Special Relativity (thermal) | 0.24
Image Charge | 3.69
Axial frequency determination/ Dip lineshape | ?
Effect | 
Residual Magnetostatic Inhomogeneity | 1.2
Electrostatic anharmonicity | 0.01
Special Relativity (thermal) | 0.24
Image Charge | 3.69
Axial frequency determination/ Dip lineshape | ?
Statistical Error
Systematic Error
Improved hardware

## Slide 24
5σ
FSU2015
UW1999+UW2015
UW2015+MPIK2017
FSU2017
UW2015+MPIK2017+MPIK2020
FSU2023
stat only!
MPIK2024
Prelim!
stat only
m(H) + m(D) − m(3He) Vs m(HD) − m(3He)
+ Molecular Binding Energy [4]
[2] S. L. Zafonte et al., Metrologia 52, 280 (2015)
[1] F. Heiße et al., PRL 119, 033001 (2017)
[5] S. Hamzeloui et al, PRA 96, 060501 (2017)
[4] V. Korobov et al., PRL. 118, 233001 (2017)
[3] E. Myers et al., PRL 114, 013003 (2015)
[6] S. Rau et al., Nature 585, 43–47 (2020)
[7] D. J. Fink, E. Myers, PRL 127, 243001 (2021)
Preliminary
- Last Piece in the Light Ion Mass Puzzle?

## Slide 25
Summary
Future
The magnet is moving to MPIK
Proton mass measurement
Deuteron mass measurement
Alpha particle mass measurement
Helion mass measurement
Light Ion mass puzzle solved,
hopefully!

## Slide 26
1Division of Stored and Cooled Ions at MPIK, Heidelberg
2Atomic Physics Division at GSI Helmholtzzentrum, Darmstadt
Acknowledgement
Funding:
Work Group: | Sangeetha Sasidharan1,2, Olesia Bezrodnova1, Wolfgang Quint2, Sven Sturm1 and Klaus Blaum1
Former members: Sascha Rau, Fabian Heisse, Florian Koehler-Langes
Thank you for your attention!