## Slide 1: Performance of the ALPIDE detectors for s091 & s118 experiments
By : Martin Bayzek && Luke Rose
Date: 09/07/2024

## Slide 2: What worked

## Slide 3
Data suppression
BEFORE
“Thats alot of nothing”

## Slide 4
Data suppression
AFTER
*Danke Martin
Code word
# sensor fired
Reciver_id-1=3->Convert to chip
For this experiment ctrl=MOSAIC_ID

## Slide 5
Data rates

## Slide 6
Data rates
Cern 2020 Data
Measured cluster size stable as intensity increased.
Number of clusters/pixels fired increased with the beam rate.

## Slide 7
Clusters
Spill structure
φ
L
W
Energy relation
Shape analysis

## Slide 8
Vertexing

## Slide 9: What was poor form

## Slide 10
Time
From CERN 2022
Timing signals had to be perfect or would loose PPL lock.
(used slow rata clock 6.25 MhZ over lemo)

## Slide 11
BUSY
Ohne BUSY (from CHIP)
->Use MOSAIC internal busy as compromise

## Slide 12
R/W register for Slow Control
Read the Analog voltage register and look at fluctuations.
Can check fluctuations->Hints at temperature increase.
Can add to readout cycle every cycle (++1-5us of deadtime for safety as takes time to read.)
Must be stability tested once configured if implemented.
Here linear translation to try reconstruct temperature.->Not accurate can just monitor register its easier! And probably more useful can be done per sensor!