## Slide 1: GLAD status, upgrade &
H. Simon ●
GSI Darmstadt
R3B Collaboration Meeting
20240709 Darmstadt

## Slide 2
Remaining issues:
Field maps  Based on Valeriis field maps inconsistencies with tracker have been found (M . Heil / A Kelic-Heil )
Analysis in progress (M. Kelic-Heil, M.Heil, V. Panin)
Decision on Mapping@FAIR for precision tracking based on findings
 Dedicated talk by Michael

## Slide 3
In-kind accepted (France/Germany)
In-kind contracts closed
Maintenance contract closed preventive maintenance and hot-line support (10k€/y)
Documentation received 05/2022 / approval by QA.
Common funds via NUSTAR  ECE/ECSG (193k€@2005) ok
FAIR budget allocated, Contract closed
Work on DAQ system (MSS) has started
open issue: PLC based magnet control system
Contractual status - remaining issues:

## Slide 4
Scope:
Cabling, Magnet Control, Magnet Safety System, Software

## Slide 5: R3B - Analog MSS – current status

## Slide 6: R3B - Analog + Digital MSS for commissionning from end of this year

## Slide 7: R3B - Digital MSS (alone after the commissionning – new Cave)

## Slide 8: R3B- MSS cabinet – Work in Progress
MSS cabinet
Dispatching Chassis
Compact RIO (FPGA + µP)
Measurement boards
Acquisition FEPC

## Slide 9: R3B - Digital Inputs

## Slide 10: R3B - Digital Outputs

## Slide 11: Parallel Operation of old an new MSS prepared (tentative plan – still preliminary (V6) )
S073 (Hypernuclei)
S122 (ASYEOS, no GLAD)
- Nov/Dec 2024 Test (?)
Super-FRS Detector tests (Beginning February & July, no GLAD)
 Prepare for early operation 2025 with mirrored MSS

## Slide 12: Further preparation
See Daniels talk

## Slide 13: Remaining Issue
MCS – Heaters, Local MCS, Main MCS
Software received, analysis still to be contracted, Meeting with ACC/IND end of March – possible COSYLab contact

## Slide 14: Summary
MSS is on its way
MCS has just started, needs budget and study (Q3/2024)
Design of Foot holding structure discussed
Survey in Cave necessary (alignment, fiducialization)
Magnet Measurement campaingn @ FAIR (Michael)

## Slide 16: Example – STAARQ MSS – General synoptic
CRYO_OK, others ..>>
<< Trigger if quench
<< MSS OK, others …
Front view
Rear view
Analog Front End chassis
with high voltage insulation
16 measurements per chassis
3 chassis max
48 measurements max
Logic I/O (24 V logic standard)
16 outputs max - scalable to 31 inputs with another chassis
16 inputs max - scalable to 31 inputs with another chassis
24V Power supplies for
Compact RIO chassis
Measurement chassis
Main supply distribution
Vrms = 230 V ; Irms= 1,15 A
From a UPS
Compact RIO
cRIO 9039 Sync
cRIO 9049
User interface
Configuration, exploitation, monitoring of the MSS cabinet
(Reset MSS)
Logic modules
ADC
modules
Local Ethernet
network
measurements
Command and control Logic
Cryostat
Current leads
Rdump
Magnet
Breaker
MPES
MCCS
Magnet Dispatching System (MDS
VT
V and I
Measurements
I dcct
Cmd Breaker
Power supply STOP
Trigger distribution if quench
Cyber security
UDP
TCP
TCP
UDP
Digital MSS cabinet
Magnet installation with Rdump only
Export MSS Data
Magnet General Control System

## Slide 17: Example – STAARQ MSS - Detailed synoptic
32 logic outputs (24V)
td = 8µS
32 logic inputs (24V)
td = 8µS
NI 9220
16 ADC – 16 bits
+/- 10V
Fs = 100 kHz
Simultaneous sampling
MSS Digital processing
cRIO 9049
  Magnet Voltage Taps System
  48 Magnet analogue measurements
  One more chassis may be added to reach 64 measurements
Spare
slots
16 channels
16 channels
16 channels
    Analogue interface for other subsystems like the Magnet Command / Control System
    Two Channels
    Gain 1 to 500 (adjustable)
    Bandwith = 900 Hz (adjustable)
    ± 10 V differential or single end outputs
    Isolation working voltage = 3,5 kV
    Front side
    Rear side
    +24V
± 10 V test points
Other subsystem
NI 9220
Local Eth
network
TCP
UDP
NI 9477
NI 9425
  Magnet Power Electronic System
Cmd if Quench of Breaker, Heaters, CLIQ, Power supply STOP
  Magnet Data Acquisition System
  Trigger if quench
  Magnet Command Control System
  Trigger if quench and Logic
16 logic outputs
16 logic inputs
I dcct

## Slide 18: Example – STAARQ MSS - Digital I/O
32 logic outputs (24V)
td = 8µS
32 logic inputs (24V)
td = 8µS
NI 9220
for analogue inputs
MSS Digital processing
Compact RIO
Spare
slots
Local Ethernet
network
TCP
UDP
NI 9477
NI 9425
  Magnet Power Electronic System
Cmd if Quench of Breaker, Heaters, CLIQ, Power supply STOP
  Magnet Data Acquisition System
  Trigger if quench
  Magnet Command Control System
  Trigger if quench and Logic
Pluggable static relay
    +24V for
    NI 9477
Wago 2042-7204
Input 24V, 7mA
Output 24V , 100 mA max
Drop out-time ≤ 20 µS
Working Isolation = 250V
State led: green
Example: Interface subsystems for logic outputs
up to 16 channels (scalable to 32) - on the shelf devices
Low = active level for command/control for safety
    AC main
    220 V
Terminal blocks
with no operation of connection or disconnection for maintenance
Logic outputs
Logic inputs

## Slide 19: Digital MSS – Size of cabinet B and box CTB
Cabinet B
Width = 800 mm
  812 mm if wheels are not aligned under the cabinet
Depth =1030mm
  +60 mm if wheels are not aligned under the cabinet
  Space is needed to open the doors
Height = 2400 mm
Box CTB
Width = 610 mm
Depth = 305 mm
Height = 805 mm
H
W
4 lifting eyes
Space is needed to plug or unplug connectors on both sides

## Slide 20: R3B - Logic I/O of MSS