## Slide 1: Results of the Disc DIRC test beam campaign at DESY
AG Düren
JLU Gießen

## Slide 2: Contents
Experimental Setup
Calibration
Results and Comparison to MC-Data
First Conclusions

## Slide 3: Experimental Setup
Beam-Dump
Radiator
3 sensor batteries
equipped with 5 PMTs each
Pivotable and linearily movable mounting device
Location: DESY, Hamburg

## Slide 4: Experimental Setup
Ready to Go

## Slide 5: Selection Criteria
Time spectra are smoothed out. Then a peak-finding-algorithm scans the spectra.
The highest peak is used to center a ± 10 ns window
No energy cuts applied.
Just the direct hits are kept!
Smoothing and peak detection

## Slide 6: Selection Criteria
Time Cut
LinearChannelID = 16 * PmtID + ChnID

## Slide 7: Time Resolution
Monte Carlo (no normalization)
Real Data (noise corrected)
Example: Direct hit peak in time spectrum
(Calibration Run)

## Slide 8: Calibration
The detector was calibrated by shooting the electron beam 15 cm away from every single lightguide (200k events) .
The same positions are used in a MC-simulation of the experiment (Geant 4) done by O. Merle.
The centers of gravity are computed for each sensor for MC and for the data.

## Slide 9: Calibration
Discrepancies between MC and data are used to correct for misalignment of the sensors. The sensor positions in the MC were iteratively shifted to minimize the differences.
Initial Situation
Electronics related
malfunction of TOF board

## Slide 10: Calibration
Question: How do we shift the sensors?
  A) match peaks in both spectra
  B) maximize sensor efficency
  C) match centers of gravity
From now unbinned MC-data is used including dead space between pixels to obtain the center of gravity.
Measured Data (red) and ‘Event-Normalized‘ predictive MC (Green)

## Slide 11: Calibration
Unbinned MC
Fake Data
Deviations after calibration

## Slide 12: Calibration
Measured / MC
Efficencies can be analysed
for entire runs:
Threshold: 0.01 hits/event

## Slide 13: Results
Angle Scan
  1M Events per position
  16 Runs
  Angles from -8° to +8° scanned
Results
  Hitmaps (MC and Data)
  MC-Ratio-Maps
  Multi-Hit Events
    Hitmaps (Data)
341 mm
341 mm

## Slide 14: Multi-Hit Events
An event is considered a multi-hit event if more than 10 hits are detected.
It is discarded however if one sensor fired more than 5 of its pixels (which happened quite frequently and we don‘t really now why).
Taken from angle scan at -8°

## Slide 15: Angle Scan
-8°
Data
MC

## Slide 16: Angle Scan
-4°
Data
MC

## Slide 17: Angle Scan
4°
Data
MC

## Slide 18: Angle Scan
7°
Data
MC

## Slide 19: Results
Distance Scan
  300k Events per position
  14 Runs
Results
  Hitmaps
  MC-Ratio-Maps
  Multi Events
    Multiplicities
    Hitmaps
    MC Multi Events
  Attenuation map
15 cm
2 cm
14 runs

## Slide 20: Distance Scan
15 cm
MC (not normalized)
Data
Did we hit the FLG??

## Slide 21: Distance Scan
15 cm

## Slide 22: Distance Scan
15 cm
MC
Data
Why the increase?

## Slide 23: Distance Scan
27 cm
MC (not normalized)
Data

## Slide 24: Distance Scan
27 cm

## Slide 25: Distance Scan
27 cm
MC
Data

## Slide 26: Distance Scan
41 cm
MC (not normalized)
Data

## Slide 27: Distance Scan
41 cm

## Slide 28: Distance Scan
41 cm
MC
Data

## Slide 29: Distance Scan
How do entries vary over distance?

## Slide 30: First Conclusions
The data shows obvious qualitative similarity to MC in all aspects.
There are however some issues that cause (massive) quantitative discrepancies between the two.
  Electronics
    Threshold on TOF-addon boards
    Noisy PMTs fire all their pixels in one event (HV supply?)
  Optical imperfections
    Different transparencies of optical interfaces
    Surface imperfections worsen reflectivity
    Focusing quality of FLG
  Mechanical misalignment
    Sensor and FLG misalingment
    Beam impact position

## Slide 31: First Conclusions
My personal (somehow educated) guesses from looking at the data: 2 main problems
  Missing photons: Electronics and Optics
    Malfunction of TOF boards and threshold issue
    Absorption of photons due to ‘photon-drains‘ along the paths (interfaces, rough surfaces etc.)
  Unexpected impact positions of photons: Mechanics and Optics
    Sensor misalignment
    Electron impact position misalignment
    Focusing properties
Please don‘t get me wrong: These are just guesses!
To really disentangle all of the possible effects more effort is inevitable!

## Slide 32: Backup Slides

## Slide 33: Experimental Setup
Lengths in mm

## Slide 34: Experimental Setup
Hodoscope (Trigger)
Readout Electronics
DAQ-PC
Benno
Rack (HV-Supply, Network Hub, Trigger-Logic)

## Slide 35: Experimental Setup

## Slide 36: Experimental Setup

## Slide 37: Experimental Setup
Triple coincidence required to trigger readout
Electron energy recorded by EM-Calorimeter (TOT)

## Slide 38: Experimental Setup

## Slide 39: Experimental Setup
PMT Signal Sockets
(4 x 32 TOF board)
Network Connection
Front board (TOF-addon) holds:
Pre-Amplification and Discrimination (NINO)
Conversion into LVDS signal
Back board (TRB-board) holds:
HP-TDC (Time measurement)

## Slide 40: Conversion of Data
Experiment
Scan
Run
Event
Hit
e.g. ‘Angle Scan‘: Includes measurements at 16 different angles
each of which has roughly 1M electrons that fired the trigger and caused
roughly 2 photons per electron to strike the sensors.
Let‘s do some semantics first...

## Slide 41: Conversion of Data
Readout generates *.hld rawdata files consisting of 32 bit sequences (binary files)
Resulting files are first treated with the “Grzegorzkorcyl-Unpacker“ which converts the rawdata into root trees (Let‘s call them “Greg-Trees“) making the data easily accessible
Greg-trees were examined directly after the data was taken with Daniel Mühlheim‘s “Online Tool“ in order to check if the measurement was meaningful
The offline analysis (the main focus of this work) takes the Greg-Trees as lowest level input.
The big picture

## Slide 42: Conversion of Data
Greg-Tree
Contains unsorted rawdata of one run.
AGD-Tree
Cointains entire data sorted into data-classes so that all the information can be accessed directly and quickly (rather than having to read out the raw data over and over again). Time and energy spectra are computed and peaks in the spectra are automatically found. So from looking at the data a human being can decide if the selection criteria make sense and should be applied.
Cut-AGD-Tree
Event and hit selections can be applied to convert each AGD-Tree into its “Cut-Counterpart“. This tree is the same as the above but all events and hits that don‘t fulfill the selection conditions are no longer there. This tree contains the refined data and can be used to easily draw conclusions from the measurement.
Plots, Images, MC-Comparisons, Data -Sections etc.
Cut-AGD-Tree-Chain
Every (graphical) representation of the data can be taken from the Cut-AGD-Tree or the Cut-AGD-Tree-Chain and can be shown or analysed.
To examine properties of a SCAN rather than isolated RUNS the trees corresponding to various runs of one and the same scan can be ‘thrown together‘ into a ‘chain‘ to be able to quickly loop an entire scan.

## Slide 43: Conversion of Data
Greg-Tree
n Events (ordered chronologically)
m Hits (ordered through TRB-Channels)
Pixel, ECAL, Reference Channel
Leading Edge
Trailing Edge
TRB-Channel
...
TDC
...
Structure of Greg Trees

## Slide 44: Conversion of Data
AGD-Tree
AGD-run
k AGD-Hits
Run-ID
Electron Impact Position
n AGD-Events
ECAL TOT
Leading Edge (un)referenced
Trailing Edge
(un)referenced
Leading Edge
of Ref-Chan
Trailing Edge
of Ref-Chan
TDC
PMT-ID
Pixel-ID
Validity Flag
Linear ID
= 16 * PMT-ID + Pixel-ID
TRB
Data-File
Number of valid hits
Structure of AGD-Trees

## Slide 45: Calibration
Compare unbinned MC to DATA
(including dead space)
Shift to match centers of gravity
Compute ‘Fake Data‘ (rebinned & taking into account dead spaces & normalization)
to estimate efficiency for each channel
Example shown for one Sensor (14)

## Slide 46: Time Spectra
Why can‘t we do more with the time spectra? MC looks very interesting!

## Slide 47: Time Spectra
Very complicated structure!
Just one leading and one trailing edge written out for every pixel in every event
  All the interesting ‘late‘ structure ‘drowned‘ in direct hits
No measurement of absolute time available
  Could be done by calibrating the direct photon peaks
Signal-to-Noise-ratio
→ Very messy business
→ Time information mainly used to focus out the direct hits