## Slide 1: CAVE - CBM services
46th CBM Collaboration Meeting
Jens Thaufelder (GSI)

## Slide 2: Overview Rooms of interest
LV racks under the upstream platform in the cave
HV racks and gas on the supply level E30
DAQ racks next to the control room
HV, Gas E30.012
DAQ E40.017
UP E10.003
CBM CC E40

## Slide 3
Cable planning was divided into two stages
  Collecting cable information for HV, LV and DAQ and for planning cable cross-sections and routes
  Detailed planning of racks with crates and the necessary infrastructure
CBM Cabel planning
End of FAIR CDB
planning
Module ID
-2 ports
Cable ID
CERN SCEM 04.31.52.075.9
LV Panel
-10 ports
HV Panel
-20 ports
Detector
Rack ID
Device ID
LAN/DCS
Stage 1
Stage 2

## Slide 4
Racks and patch panels were defined for all systems.
Using the information collected about HV, LV and DAQ cables, routing between the racks, PP and systems was carried out in CAD.
Stage 1

## Slide 5
The collected cable data was prepared for the cable database and will be uploaded shortly.
The current version of the cable list can be found on EDMS, including data sheets. https://edms.cern.ch/document/3358034/1
CBM Cable list

## Slide 6
Detailed planning of racks and crates
  power requirement
  space utilisation and optimisation
  cooling
  detailed cable routing on racks and PP
DCS cable
Additional services
  gas
  cooling
  others
Next steps

## Slide 7: Thank you