## Slide 1: EDC: Focus on SCA and DCS interface, Status
EDC Concepts and acronyms (Many from DCS Workshop 04/2025: )
+ Focus on SCA: Mission, concept, requirements, examples
+ Focus on DCS from ECS side: Mission, requirements, interfaces
Latest developments in EDC project (ECS, SCA, auxiliary systems, …)
Some slides are meant as support for discussion and may be passed quickly/skipped, especially

## Slide 2: Controls > EDC > ECS
EDC
=> computing project
ECS
Readout
Controls
FLES
Control
DCS
Online Software
Control
Parameter Manager(s)
Logging service
Monitoring service &
Database
TFC
User
Interface(s)
Online Processing
Online Monitoring
& QA
Read. HW
Env. HW
Computing Farm
Input and computing Farm

## Slide 3: Concepts and acronyms

## Slide 4: ECS?
ECS
Readout
Controls
FLES
Control
DCS
Online Software
Control
Parameter Manager(s)
Logging service
Monitoring service &
Database
TFC
User
Interface(s)
Online Processing
Online Monitoring
& QA
EDC
=> computing project
Read. HW
Env. HW
Computing Farm
Input and computing Farm
Still in project?

## Slide 5: ECS
Experiment Control System …. ~ ”the Boss”/”the Architect”
Missions:
Derive combined state from states of participating systems
Allow definition and control of state transitions (both automatic and manual ones)
Apply or detect the configuration of all systems to ensure combined configuration known at all time
Allow emission and propagation of commands toward the participating systems
Provide the main interface for the shift crew through its UI(s)
Specifications:
Global states, common to all systems
Local states as sub-states of the Global states, specific to given systems
Configurations internally propagated as sets of tags and sub-tags
Allow operation of subsets of detectors systems in parallel (Partitions)
Initial version in Python

## Slide 6: Planned ECS Agents (~Layers) and interfaces
Device Control Agent = DCA
CRI
System Control Agent = SCA
Supplies
DCS
Experiment Control Agent = ECA
Partition Control Agent = PCA
DCA
CRI
SCA
Supplies
DCS
PCA
DCA
CRI
SCA
Supplies
DCA
ECS
Readout
Controls
DCA
CRI

## Slide 7: Focus on the SCA
Aim: try to clear some confusion and questions
What is the SCA?
Layer of the ECS, should be able to operate stand-alone for detector systems
Represents a full system or the share of a full system assigned to a partition
  Detectors
  Central systems specific to a partition: DAQ, Online, TFC, …
  Central systems common to full setup and “not-controlled”: Magnet, Cave, Accelerator, …
Provides an aggregated State based on the states of the sub-elements of this system
  Critical for <Run Control>, can be based on usage of “sub-agents” but not mandatory
Accepts commands from higher layers of ECS (UI or automatized) to perform
  common state transitions
  system specific operations
Manages the resolution of the configuration of the system
  from descriptive tag(s) input
  to actual values applied
For detectors: manages the interface to both the DCA (readout chain) and the DCS (environment)

## Slide 8: Central systems: non-detectors SCAs
ECS
Readout
Controls
FLES
Control
DCS
Online Software
Control
Parameter Manager(s)
Logging service
Monitoring service &
Database
TFC
User
Interface(s)
Online Processing
Online Monitoring
& QA
EDC
=> computing project
Read. HW
Env. HW
Computing Farm
Input and computing Farm
New Comp. Project

## Slide 9: Central systems: SCAs
Central systems are:
Systems not producing physics data in the stream (but maybe adding auxiliary data in it)
Systems consuming the data stream
Typically representing:
Resources shared between partitions: TFC, Accelerator infos, Magnet
Resources spread between partitions: FLES, Online processing
Some of these systems are read-only and maybe handled in “DCS-SCA”: Accelerator, Magnet, …
Need special treatment in order to allow partitions!
Main SCA entity representing the full system
“Partition SCA” sub-agent representing
  either the share of resources assigned to a given partition
  or a clone of the common device state

## Slide 10: Detector systems: SCA and DCA
ECS
Readout
Controls
FLES
Control
DCS
Online Software
Control
Parameter Manager(s)
Logging service
Monitoring service &
Database
TFC
User
Interface(s)
Online Processing
Online Monitoring
& QA
EDC
=> computing project
Read. HW
Env. HW
Computing Farm
Input and computing Farm
Still in project?

## Slide 11: Detector systems: SCA and DCA
System Control Agent …. ~ ”the Team Leader”/”the Bauleiter”
Derive system state from sub-elements states
Convert state transitions (=“order”) into sequence of commands (=“actions”)
Retrieve the parameter values corresponding to configuration (sub)tag(s)
Entry point for “expert commands” access bypassing the ECS
May have sub-agents corresponding to “islands” in both readout controls and slow controls
Lower layer(s) of the ECS, Higher layer(s) of System specific controls
Device Control Agent …. ~ “the (Specialized) Worker”
Interface to CRI driver for the readout/controls logics (everything outside of microslice readout)
Access to all registers those controlled by FLES
Protocols for the elements behind the CRI (GBTx, ASICs, …)
Execute commands toward the CRI as “single sequence”
Perform some monitoring accesses in background in “non-perturbative” way
Carefully using threads for performance and stability reasons
Written in C++ for performance reasons

## Slide 12: DCS (brief)
ECS
Readout
Controls
FLES
Control
DCS
Online Software
Control
Parameter Manager(s)
Logging service
Monitoring service &
Database
TFC
User
Interface(s)
Online Processing
Online Monitoring
& QA
EDC
=> computing project
Read. HW
Env. HW
Computing Farm
Input and computing Farm
Still in project?

## Slide 13: Focus on the DCS and interface to ECS
Detector Control Systems
Goals/Properties of the DCS relative to ECS?
Implemented in EPICS
Both system independent of ECS and “element of the ECS” (in the case of common/central/setup PVs)
  Interfaces at different levels of the CBM systems
  Should be able to be operated even if ECS is down!
Controls and monitors the environment of CBM systems
  Supplies (LV, HV, gas, local cooling, …)
  All monitoring not linked to the data chain (temperature, pressure, light, …)
  Independent instances per Detector System
Accepts commands from corresponding layers of ECS (UI or automatized) to
  perform changes to the operating conditions (single value change or state transitions)
  provide information on system/environment status
Monitors and archives
  Alerting/Alarming
  Automatic actions = must be shared to the corresponding SCA if effect on readout HW or data expected

## Slide 14: Interfaces to DCS #1: DCS-SCA
Represents DCS as a system + Monitors/Controls CBM environment
State of the DCS HW (main nodes, network, …)
Interface for all non-system specific requests
  Cave environment
  Common supplies
    Cooling
    (Main) Power
    Network
  Eventually shared read-only resources? (Magnet, …)
  … anything which would be hooked to EPICS but not assigned to a detector or central system
Expected operation mode: goes green at startup, stays green until end of operation period
State changes here indicate major/experiment level problems

## Slide 15: Interfaces to DCS #2: detector DCS  detector SCA
SCA <A> needs to be able to request current state from DCS <A> (“on demand” updates)
SCA <A> needs to be able to sent config point “change requests” to DCS <A>
DCS <A> needs to be able to inform SCA <A> of changes in the relevant PV state (“auto” updates)

## Slide 16: A few Visual/Graphical examples of ECS-DCS interplay

## Slide 17: EDC “execution”/“logical” layers, 1 System partition
“Detector “
System Controls
ECA
DCS
SCA
DCA
DCS
Subagent
State up
Commands down
LV control
State check
0-N
intermediate layers
C++
“SCA”
layer
Python
EPICS
EPICS
Interface
Detector specific
CRI
FEE
Subsubagent
Subsubagent
PCA
“ECS”
layer
Python
Supplies/Env. HW

## Slide 18: Detector systems: SCA-subagents and DCA
DCA
CRI
Supplies
DCS
CRI
CRI
DCA
CRI
FEE
FEE
FEE
FEE
FEE
FEE
FEE
FEE
Channel
Channel
Channel
Slow control
Islands
Readout control
Islands
CRI
FEE
Channel
Subagent
~ State Islands
DCA

## Slide 19: Detector systems: SCA-subagents and DCA
DCA
CRI
Supplies
DCS
DCA
CRI
CRI
DCA
CRI
FEE
FEE
FEE
FEE
FEE
FEE
FEE
FEE
Channel
Channel
Channel
Slow control
Islands
Readout control
Islands
CRI
FEE
Channel
Subagent
~ State Islands
SCA

## Slide 20: Detector systems: SCA-subagents and DCA
DCA
CRI
Supplies
DCS
DCA
CRI
CRI
DCA
CRI
FEE
FEE
FEE
FEE
FEE
FEE
FEE
FEE
Channel
Channel
Channel
Slow control
Islands
Readout control
Islands
CRI
FEE
Channel
Subagent
~ State Islands
SCA

## Slide 21: Detector systems: SCA-subagents and DCA
DCA
CRI
Supplies
DCS
DCA
CRI
CRI
DCA
CRI
FEE
FEE
FEE
FEE
FEE
FEE
FEE
FEE
Channel
Channel
Channel
Slow control
Islands
Readout control
Islands
CRI
FEE
Channel
Subagent
~ State Islands
SCA

## Slide 22: Latest developments outside of DCS
mCBM main campaign concluded with 2 new detectors without major blocking point
Auxiliary systems: Logging
Master student internship Spring 2025
  On ElasticSearch + Kibana stack
  Proof of concept using 4 types of legacy sources from mCBM
  Now need expansion to practical example and test in mCBM infra (Docker, permissions, archives, …)
  Corresponding emitters merged in DCA, Python-Cri and ECS-core
Auxiliary systems: Monitoring and QA
PHD student starting soon under T. Stockman on “IA-based alerting”
  Using HYDRA package from Jefferson Labs, first contacts established
Improvements and new tasks identification in ECS-core and DCA
DCA: Triggered by first attempt at making an SCA for the mTFC 2.0 prototype system
  I2C usage in CRI1/CRI2, Monitoring loops, DCA Python bindings packaging
Core: Triggered by feedback from DCA development
  Usage of Linux File-Descriptors for improved polling in background loops = better performances?
Legacy/Prototype readout controls (Python-cri): Final merges and Cleanup in preparation for SCA dev

## Slide 23: Thank you for your attention

## Slide 24: Components and technologies (current baseline)
ECS
DCS
Parameter Manager(s)
Logging service
Monitoring service &
Database
TOP User
Interface(s)
Web?
QT?
…?
SCA
DCA
“Detector “
System Controls
Python
C++
EPICS
SCA
“Not Detector”
System Controls
Whatever they want to use
???
???
Python
ElasticSearch
Influxdb
Grafana
HistogramServer
?????
Python
Detector User
Interface
Detector Expert
User Interface
CSS?
CSS?
DCS Central User Interface
Detector Expert
User Interface
Python + Web?
…?

## Slide 25: EDC “software” layers, 1 System partition
“Detector “
System Controls
DCS
SCA
<SCA “Detector XXXX”>
↑ ↑
<ECS> <CTRL “Detector XXXX”>
↑
M x <CTRL “Common YYY>
↑
<DCA Python Bindings>
DCA
<C++ part of DCA>
DCS
<EPICS>
State up
Commands down
LV control
State check
“SCA”
layer
Python
EPICS
CRI
FEE
PCA
<ECS>
“ECS”
layer
Python
<ABCD>
Software Packages
Think:
Cbmroot libraries
VS
Online Binary
Supplies/Env. HW

## Slide 26: EDC “software” layers, Expert/debug/hack mode
“Detector “
System Controls
Python Scripts
↑
<CTRL “Detector XXXX”>
↑
M x <CTRL “Common YYY>
↑
<DCA Python Bindings>
DCA
<C++ part of DCA>
DCS
<EPICS>
State up
Commands down
LV control
State check
“SCA-like”
layer
Python
CRI
FEE
<ABCD>
Software Packages
Think:
Cbmroot libraries
VS
Online Binary
QT GUI
<QT or Pyside>
TK GUI
<Tkinter, TCL/TK, …>
Whatever GUI
<Beloved package…>
Supplies/Env. HW

## Slide 27: DCS (brief)
Detector Control Systems
Missions:
Controls of supplies to the detectors and electronics
  Gas
  Low Voltage
  High Voltage
  …
Environment monitoring and controls
  Temperature
  Pressure
  Cooling
  …
Specifications:
Implemented in EPICS
Independent instances per Detector System
More details by following presentations