## Slide 1: SIS18 - IPM
FESA - Software

## Slide 2: IPM - SIS18 - Control Overview
Ionization
IPM Detector
Camera
PC
Cam Control
FTRN
HV
Profiles
hor / ver
Start/Stop automated by
Ma #Ev - FAIR Timing

## Slide 3: Main GUI
Typ. GUI
@ IPM meas.
running
Graphs BW, BP, PI
or
Cam Live Images

## Slide 4: Main GUI
Typ. GUI
@ IPM meas.
running
Graphs BW, BP, PI
or
Cam Live Images
1 Profile

## Slide 5: Main GUI
Typ. GUI after
IPM meas.
All profiles analysed
& displayed.

## Slide 6: Main GUI
Main task : DAQ
measure & save the data.
Random profiles to GUI.
Meas runs endless -
started/stopped by
Ma #Ev.
Button function :
Start/Ena - Stop/Dis

## Slide 7: Timing - FTRN - Cam Trigger
Start Event:
Sequence Start
Ev 257
FTRN -
FAIR Timing
Receiver Node
ICDC -
IPM Camera
Device Control
Stop Event:
Extraction End
Ev 51

## Slide 8: Start IPM GUI

## Slide 9: IPM GUI - Main Tab
Startup

## Slide 10: IPM GUI - Status Tab
Device Status
Check

## Slide 11: Start - Internal Timing
1st Start
Internal Trigger Src
Cam Data
No BW, BP, PI
Detector inactive.

## Slide 12: Internal Timing
Stop
Cam Data
of full measurement
No BW, BP, PI
Internal Timing:
Cams free running =
internal triggered.
No FTRN involved.
Cam noise

## Slide 13: Manual Timing
Manual Timing:
FTRN generates
triggers after
Start/Stop.
Cams extern
triggered.
No Ma #Ev yet.
Determin. triggers

## Slide 14: FTRN - Timing
FTRN Timing:
FTRN generates
triggers after
Ma #Ev
Enabled by
Start-Button.
Cams extern
triggered.

## Slide 15: Machine Events
Stop Event:
Extraction End
Ev 51
Start Event:
Sequ. Start
Ev 257
Chain

## Slide 16: HV - Setup
Standby HV

## Slide 17: HV - Channels
HV Check

## Slide 18: HV - Detector
1600 V

## Slide 19: Measurement
Typ. GUI
@ IPM meas.
5 Hz
198 ms
#Ev 257 - 51
HV
1870 V
2030 V
Post process:
Def Pix
Correction

## Slide 20: Data Selection GUI

## Slide 21: DIO GUI

## Slide 22: HV Configuration GUI

## Slide 23: HV Configuration GUI

## Slide 24: Camera Settings GUI

## Slide 25: Camera Calibration

## Slide 26: Danke