## Slide 1: FCT in Rings
O. Chorniy

## Slide 2: Circular Machines at GSI
SIS18
1 FCT
ESR
1 FCT
The same FCT system (Amp +DAQ Hardw/Softw+ GUI) will be used for SIS100 operation
SIS100
1 FCT
Cryring
1 „FCT“

## Slide 3: Basics: Beam evolution in SIS18
after ~0.1 ms
after ~10 ms
Injection of Linac bunches
Coasting beam phase
RF cavity field forms (typically) 4 bunches
RF cavity ON
beam direction

## Slide 4: FCT Detector and measured quantity
beam direction
Signal produced by one bunch in a single turn: beam AC current
Signal produced by all 4 bunches
in a single turn
RF signal at h=1 (revolution frequency)
Signal produced by all 4 bunches
in many turns
FCT Detector „transforms“ beam current into voltage
I beam
V FCT
time
time
time

## Slide 5: FCT System: Hardware
ESR FCT DAQ
SIS18 FCT DAQ
Amplifier
Controller
Signal cable
Amplifier cable
Tunnel
ELR, Rack 27
FCT Detector
Amplifier Box (T. Luckhardt)
(T. Hofmann und DAQ team)

## Slide 6: FCT system GUI Application
Main Functionalities:
Accelerator
Cycle/Pattern
Single and Continuous Acquisition
Single and Multiple Triggering
Amplifier Gain Control
Trigger Event Control
Delay and pre-delay
Instruction manual working version:
„CRYRING_Manual_FCT_V0.1“
(A.Reiter)
Today mainly different use cases will be considered
Location in Launcher
FCT Application (H. Bräuning)
System OK!

## Slide 7: Steps to operate the FCT System
1. Accelerator
2. Cycle Name
3. Trigger Event (+ Gate Start Offset)

## Slide 8: Trigger event and Gate offset (delay)
Extraction
RF manipulations
Flattop
Energy ramp
Bunching
Injection
TIME
Injection
23.710.024 ns
1.099.085.001 ns
Example trigger settings at Energy Ramp
=

## Slide 9: Single Trigger Mode
1. Adjust Gain Range
2. Set Measurement time
BEAM h=1 signal
3. Request Measurement
Single Trigger: Start one long measurement on a trigger
Injection
Energy Ramp
...
Extraction
Can be used to check the amplification level is OK or check if h=1 signal is present
Timing
h=1 signal
Sample Time per Trigger

## Slide 10: Multiple Trigger: idea
RF signal at h=1 (revolution frequency)
short measurement every h=1 pulse
Injection
Ramp start
...
Extraction
FCT signal
Sample Time per Trigger
0
Gate Length
Sample Time
per Trigger
Gate Length
Rate Divider Board (R. Geißler)

## Slide 11: Multiple Trigger Mode Charts
Waterfall Chart
Contour Chart

## Slide 12: Example: Acceleration process in SIS18

## Slide 13: Example: Single Bunch merging in SIS18
Screenshots during (partial) RF optimization of the bunch merging process in SIS 18

## Slide 14: Example: Multi Bunch merging in SIS18
Measurement of fully optimized Multi-step bunch merging procedure:
8(bunches) -> 4 -> 2 (bunches)
Waterfall view
Contour plot view

## Slide 15: Example: ESR Beam Stacking
SIS18 and ESR DC trafos
ESR FCT
1st
2nd
3rd
4th
5th

## Slide 16: Example: Bunch to bucket ESR ->Cryring
ESR FCT signal at extraction
Cryring „FCT“(BPM) signal at injection.
By changing the RF phase of Cryring RF system the injection is optimized: injections from 1 to 5
1
2
time along the ring
time
3
4
5

## Slide 17: Additional features: Averaging

## Slide 18: Additional features: capture long cycles
800 ms
600 ms
800 ms
h=1 Pulses
Triggers

## Slide 19: Next steps
(Potentially)Automatization of some settings
Adding predelay settings (now in FESA but not in GUI)
…
FCT system team:
  H. Bräuning
  R. Geißler
  T. Luckhardt
  T. Hoffmann
  A. Reiter
  O. Chorniy