## Slide 1
Hard X-ray Radiography
as a
HED Plasma Diagnostic at FAIR
P. Neumayer, EMMI/GSI
EMMI workshop on High Energy Density Plasma Diagnostics at FAIR
GSI/Darmstadt, Sept. 30 – Oct. 2, 2013

## Slide 2: FAIR will offer exciting new possibilities for research in high-energy density matter science
5x1011U-ions
(1.5GeV/u)
~2x1010 eV/mm
0
10 mm
20 mm
Energy loss
Ion beam driven plasmas
large mm-size samples
homogenous
equilibrium conditions
U in W
Warm-dense
matter:
Epot~kBTi
EF~kBTe

## Slide 3: Two collaborations have accepted proposals for an experimental plasma physics program at FAIR
HIHEX
„HEDgeHOB“
„WDM“
Dynamic confinement
Quasi-isochoric heating (tamper)
Heavy ion heating and expansion
Near-isentropic compression
Various schemes have been proposed to generate plasmas with FAIR
All schemes involve/rely on large (or none) hydrodynamic motion over extended times
LAPLAS
Primary diagnostic:
e.g. benchmark EOS models
X-Ray Radiography:
Hydro-motion/target performance
Measure plasma parameter r
r  ion energy deposition

## Slide 4: X-Ray Radiography is a primary diagnostic for HED basic science shots at the NIF
°
°
°
°
Non-cryogenic target
Hohlraum:
Au wall, Au layer
0.96 mg/cc 4He filled
57% Unlined LEH
Radiography (DIM 90-315)
B46 as Backlighters on 5 µm Zn foil at 90, 135
„Gbar-EOS“
(indirectly driven convergent shocks)
Solid
CH sphere
X-ray radiography is employed to determine shock speeds and mass density  infer EOS
Streaked radiograph
D. Hicks et al.,
Phys. Plasmas 17, 102703 (2010)

## Slide 5: Laser-produced plasma x-ray sources
Long (ns) laser pulses at ~1014…16W/cm2
Hot (keV) expanding plasma
Line emission from highly-charged ions
Ephoton <10keV
Duration ~ nanosecond
solid
target
Laser
pulse
<10keV
Short (ps) intense laser pulses (>1017W/cm2)
 „hot“ (MeV) electrons
K-shell + bremsstrahlung
Ephoton ~ keV…MeV
Duration ~10 picoseconds
Emission confined to initial target dimensions
 small source sizes (10mm demonstrated*)
solid
target
Laser
pulse
keV…MeV
*) H.-S. Park et al.,
Phys. Plasmas 15, 072705 (2008)
1D
2D

## Slide 6: HED facilities upgrade to high-energy short-pulse options for hard x-ray radiography capability
Omega EP
(LLE)
ARC (LLNL)
Z-Petawatt
(SNL)

## Slide 7: X-ray radiography of a shock front
Backlighter
target (Fe)
Backlighter beam
300J, 5ps
Drive beam
450J, 10ns,
7TW/cm2
Sample
(Boron)
Δt=5.6 ns
4.6g/cm3
2.3g/cm3
S. Le Pape et al., Phys. Plasmas 17, 056309 (2010)
Absolute density measurement
Shock velocity
Imaging plate

## Slide 8: Rapid heating of wire targets with hot electrons
Ka
Hea
imaging
edge (Ni)
spectrometer
crystal (HOPG)
wire target
backlighter
foil
Thot=(120±20)keV
hLaserehot=14%
102
position along wire [mm]
101
100
200
0
400
600
800
1000
103
bulk temperature [eV]
PHELIX laser
(50J, 10ps,
1018 W/cm2)
Polished wire tip
50mm
Laser
Target:
Ti-Wire (50mm)

## Slide 9: 2nd beam drives x-ray backlighter for radiography
Ka
Hea
imaging
edge (Ni)
spectrometer
crystal (HOPG)
wire target
radiographic
images
backlighter
foil
Backlighter pulse
(50J, 10ps)
Thot=(120±20)keV
hLaserehot=14%
102
position along wire [mm]
101
100
200
0
400
600
800
1000
103
bulk temperature [eV]
PHELIX laser
(50J, 10ps,
1018 W/cm2)

## Slide 10: Radiographs show expansion of heated wire, good agreement with rad-hydro simulations
20
10
5eV
500mm
Dt = 0.5ns
1.5ns
3.0ns
4.50 g/cc
2.25 g/cc
0.00 g/cc
wire tip
Evolution of central density
How about
X-ray radiography of a „real“ FAIR-PP target?

## Slide 11: HIHEX: Heavy Ion Heating and EXpansion
Heating by heavy ion pulses
Subsequent expansion
N. A. Tahir et al.,
Phys. Rev. Lett. 95, 035001 (2005)
Phase diagram of Lead
hot-e distribution:
Thot =200keV
Ehot =0.1 × 400J
dN/dE [1/MeV/4psr]
photon energy [MeV]
Bremsstrahlung emission spectrum
(MC-simulation)

## Slide 12: Simulated radiographs of „typical“ HIHEX plasma *)
*) from: N. A. Tahir et al.,
Phys. Rev. Lett. 95, 035001 (2005)
600
300
150
75
40
20
(rr)/r0,Pb [mm]
Ehot= 40J, Thot=200keV
Resolution element : 100mm x 10mm
Detector: IP
0
600
300
150
75
40
20
0
Strongly coupled plasma
T4000K, r 2g/cm3  G  4
Critical point region
T5600K, r 4g/cm3
Liquid
T3400...6000K, r =r0
Calibration wedge
radius [mm]
2 mm

## Slide 13: Simulated radiographs of „typical“ HIHEX plasma *)
600
300
150
75
40
20
0
Calibration wedge
(rr)/r0,Pb [mm]
Strongly coupled plasma
T4000K, r 2g/cm3  G  4
Critical point region
T5600K, r 4g/cm3
Liquid
T3400...6000K, r =r0
600
300
150
75
40
20
0
Ehot= 4J, Thot=200keV
Resolution element : 100mm x 10mm
Detector: IP
radius [mm]
2 mm
*) from: N. A. Tahir et al.,
Phys. Rev. Lett. 95, 035001 (2005)

## Slide 14: Heavy crystal scintillators for higher QE at >100keV
 | Thickness | density
I.P. | 70-120 mm |  3 g/cc
LSO | e.g. 1mm | 7.4g/cc
Scintillator-based imaging
CCD
image
relay
scintillation
screen
g
photon energy[MeV]
quantum efficiency
I.P.
LSO
(1mm)
higher QE in relevant spectral range (0.1...1MeV)
electronic readout
  remote operation
  high rep-rate
PC

## Slide 15: Simulated radiographs of „typical“ HIHEX plasma *)
600
300
150
75
40
20
0
Strongly coupled plasma
T4000K, r 2g/cm3  G  4
Critical point region
T5600K, r 4g/cm3
Liquid
T3400...6000K, r =r0
600
300
150
75
40
20
0
Calibration wedge
(rr)/r0,Pb [mm]
Ehot= 40J, Thot=200keV
Resolution element : 100mm x 10mm
Detector: LYSO
radius [mm]
*) from: N. A. Tahir et al.,
Phys. Rev. Lett. 95, 035001 (2005)

## Slide 16: First tests of scintillator-based imaging detector *)
Ee-=6.5MeV
exposure time: 10s (9.25mA)
24
4
12
8
1.5
6
0.25
2
0.5
4
2
10 mm
Using the PHELIX laser:
ELaser= 100 J / 5 ps
(thickness in mm)
Tantalum filter
M10 screw
4mm Ta
M4 nut
*) see poster (K. Li)

## Slide 17: LAPLAS: LAboratory PLAnetary Science
N. A. Tahir et al.,
New J. Phys. 12 (2010) 073022
LAPLAS scheme can generate „super-ionic water“
Heavy ion heating of tamper shell
Near-isentropic compression of sample
Metallic hydrogen
H/He demixing
M.D. Knudsen et al.,
Science 322, 1822 (2008)
W. Lorenzen et al.,
Phys. Rev. B 82, 195107 (2010)
R. Redmer et al.,
Icarus 211, 798 (2011)
W. Lorenzen et al.,
PRB 84, 235109 (2011)
„superionic“ water
liquid diamond, bc8
S. Tateno et al.,
Science 330, 359 (2010)
earth core
conditions

## Slide 18: Side-on radiography of LAPLAS configuration *)
3.0
0
0.5
1.0
1.5
2.0
2.5
0
1
2
3
4
5
6
7
25
0
r
[g/cm3]
Tungsten
Water
t = 0 ns
0
1
2
3
4
5
6
7
25
0
t = 50 ns
0
2
4
6
35
0
t = 100 ns
radius [mm]
length [mm]
radius [mm]
Ehot=40J, Thot=200keV
Source size: 100mm x 10mm
Detector: IP
 LYSO
*) from N. A. Tahir et al.,
New J. Phys. 12 (2010) 073022

## Slide 19: End-on radiography of LAPLAS/H2O *)
0
.5
1
2
3
4
5
rr [g/cm2]
93 ns
155 ns
81 ns
High-Z wire (10mm)
*) from N. A. Tahir et al.,
New J. Phys. 12 (2010) 073022
Laser pulse
(400J/ps)
radius [mm]
t = 0 ns
Ehot= 40J, Thot=200keV
Resolution element : 10mm x 10mm
Detector: IP

## Slide 20: X-ray diffraction crystallography in HED matter
Diffraction of 8keV x-rays (Cu-Ka) from laser-proton heated Carbon
Diffraction of 8keV x-rays (LCLS) from shock-compressed Aluminium
Reduction of diffraction due to lattice heating
Bragg-reflexes  liquid-like structure
(1,1,1)
(2,0,0)
diffraction angle

## Slide 21: X-ray crystallography of superionic water in LAPLAS
BCC
FCC
*) H. F. Wilson et al.,
Phys. Rev. Lett. 110, 151102 (2013)
transmission (H2O, 5g/cm2)
Predicted superionic to superionic phase change *)
H.-S. Park et al.,
Phys. Plasmas 15, 072705 (2008)
Ta-Ka diffraction in H2O@7g/cm2

## Slide 22: Conclusions
Other high-energy laser driven x-ray sources:
Intense line-emission (X-Ray Thomson Scattering)
Broadband VUV (opacity)
Broadband keV (X-Ray Near Absorption Edge Spectroscopy)
High-energy short pulse laser driven bremsstrahlung x-ray sources:
well-proven, straight-forward to implement, predictable parameters
suitable backlighter for x-ray radiography
  HIHEX: side-on
  LAPLAS: side-on challenging, but end-on should work
High-energy K-alpha emission from the same source should reveal crystallographic structure  e.g. detect superionic phases of H2O!
 Laser pulses of order 400J/ps will be required
Development of efficient, high-resolution x-ray imaging detectors for Eph  100keV to 1MeV

## Slide 23: Hard X-Ray Detector measures the high-energy bremsstrahlung emission
Ilaser~1018 W/cm2
Ilaser>1019 W/cm2
HXRD filter
configuration
Pb thickness in mm
Image Plate
Filter
Photon energy [MeV]
Filter transmission
Filter transmission

## Slide 24: Infer hot-e spectrum from bremsstrahlung
Genetic algorithm
160 keV
PIC
Exp.
Hot electron distribution inferred from bremsstrahlung emission
assume initial dN/dE
calculate Bremsstrahlung spectrum (MC)
calculate detector response
(filter transmission, IP sensitivity)
Compare with measurement („fitness“)
generate new (dN/dE)
Best fit to HXRD signals
20 keV
1.2 MeV