## Slide 1
Mirko Looshorn
(mirko-dieter.looshorn@physik.uni-giessen.de)
Atom- und Molekülphysik
I. Physikalisches Institut
Testing strong-field QED by Electron-Ion Collision Spectroscopy of Highly Charged Ions at CRYRING@ESR

## Slide 2: Dielectronic Recombination (DR) of Be-like Ions
time inverse Auger process
resonant capture of free electron
→ double-excited state of ion
Erel + Ebind = Eexc
de-excitation by photon emission
Excitation from ground state in Be-like systems:
2s2 1S0 → 2s2p (3P1) nlj series for n ≥ 19
2s2 1S0 → 2s2p (3P0) nlj series for n ≥ 20
2s2 1S0 → 2s2p (1P1) nlj series for n ≥ 6
  test of QED in strong fields
  investigations of nuclear properties via isotope shift
  lifetime studies
  measurement of input data for plasma modelling and astrophysics (e.g.: Ne2+, Ne3+, O2+)
DR collision spectroscopy
successful spectroscopic tool
S. Schippers et al., PRL 135, 113001 (2025)

## Slide 3: Heavy-Ion Storage Rings
UNILAC
ESR:
Deceleration and cooling
Up to 2x107 ions
CRYRING:
Ion beam energy: ~12 MeV/u
Ion beam lifetime: > 30 s
Up to 7x106 ions
Detector count rate: up to 260 kHz
Be-like ions
SIS18:
Generation of the desired charge state q (Pb78+, Au75+)
Up to 1x109 ions
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
→ ESR
→ SIS18
→ CRYRING
J. Hosan / GSI Helmholtzzentrum GmbH

## Slide 4: Experimental Setup at the CRYRING cooler
controlled by raspi and microcontrollers via local network with fiber optics
fairly independent from accelerator control (just uses trigger signals)
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
KEPCO
HV amplifier for fast changes of the cooler cathode voltage
Electron cooler
Scintillation detector
q < 20
used for O2+/F6+ (2025) and S3+ beamtime (2024)
Channeltron detector
q > 30
used for Pb78+ (2021) and Au75+ beamtime (2024)
High purity germanium x-ray detector
C. Brandau et al., Chin. Phys C 49, 064001 (2025)

## Slide 5: Merged-beams Setup
Au75+ + e- ® Au74+ + photons
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt

## Slide 6: Predefined Scanning Sequence
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
S. Schippers et al., PRL 135, 113001 (2025)
Ecm (eV)

## Slide 7: Final Result of the Pb78+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
Decelerated Be-like Pb78+ ions from the ESR
Record low experimental uncertainty
thanks to the ultra-cold electron beam
2s2 ® 2s2p3P1 excitation energy
Experiment: 244.937(30) eV
Theory: 244.942(52) eV
S. Schippers et al., PRL 135, 113001 (2025)
Related theoretical work: A. Malyshev et al., PRA 110, 062824 (2024)
FC20

## Slide 8: Integration of FC20 for the Au75+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
FC20
T. Dirkes V. Hannen, K. Ueberholz,
C. Weinheimer
Arnold: Giessen HV divider
10-4 rel. uncertainty
FC20: Münster HV divider
10-5 rel. uncertainty
Scale factor measurement 6.3.2024: scale factor = 1027.7698+/-0.0004
Scale factor measurement 18.3.2024 scale factor = 1027.7694+/-0.0004
Ramp parameter: Ecm, Erel = [-260,-125]eV, Eref = 250eV, Meas-Ref

## Slide 9: Preliminary Results of the Au75+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
Recombination rate coefficient:
R … count rate (with substracted background signal)
Ni … number of stored ions (from fit of ion current signal)
ne … electron density
L … length of interaction region
U … ring circumference

## Slide 10: Preliminary Results of the Au75+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt

## Slide 11: Preliminary Results of the Au75+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
X-ray spectrum from an alpha source (241Am) was used for calibration
Peak positions for L-RR are determined by the ionization energy of B-like Au (~21.92 keV)
X-rays detected during Au75+ experiment
59,5keV
Balmer
L-RR
j=3/2
j=1/2

## Slide 12: Follow-up Proposal: DR of Be-like U88+
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
At low energies, the experimental resolving power is largest, and the experimental uncertainty is lowest.
Low-energy resonances calculated using AUTOSTRUCTRUE

## Slide 13: Summary
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
Published work on resonant electron-ion recombination of berylliumlike Pb78+ ions (S. Schippers et al., PRL 135, 113001 (2025))
DR collision spectroscopy of Be-like 197Au75+ ions at 12 MeV/u in CRYRING@ESR
Second experiment using the full GSI accelerator chain after E131 / First with integrated FC20
Peak positions and peak strengths must be compared with theoretical calculations
Beam temperatures must be obtained from a Monte Carlo approach
High resolution DR collision spectroscopy: successful spectroscopic tool for testing QED in strong fields

## Slide 14: Thanks TO ALL COLLABORATORS
S. Schippers 1,2, C. Brandau3, S. Fuchs1,2, M. Fogle4, J. Glorius3, E. O. Hanu3,5,6, V. Hannen7, F. Herfurth3, P.-M. Hillenbrand3, C. Krantz3, M Lestinsky3, E. B. Menz3,8, R. Schuch9, U. Spillmann3, M. Tatsch1, K. Ueberholz7, S.-X. Wang1,2, T. Stöhlker3,5,10
N. R. Badnell11, A. Borovik Jr.1,5, Z. Harman12, C. Y. Zhang11, Y. Zhang12,13, Z. Andelkovic3, R. Heß3, A. Kalinin3, C. Kozhuharov3, S. Litvinov3,8, B. Lorentz3, M. Steck3, G. Vorobyev3, D. Banas14, S. Fritzsche 3,5,10, E. Lindroth9, X. Ma15, A. Müller1, A. Surzhykov16,17, M. Trassinelli18 and C. Weinheimer7
1JLU Gießen, 2HFHF, 3GSI, 4Auburn University, 5HI Jena, 6Goethe University Frankfurt, 7WWU Münster, 8Universität zu Köln, 9Stockholm University, 10FSU Jena, 11University of Strathclyde, 12MPIK Heidelberg, 13Xian Jiantong University, 14JKU Kielce, 15IMPCAS Lanzhou, 16PTB Braunschweig, 17TU Braunschweig, 18UMPC Paris

## Slide 15: Preliminary Results of the Au75+ Experiment
Mirko Looshorn
ErUM-FSP APPA 2026, Darmstadt
Iset_mA | Iread_mA | Ierr_mA | Uset_V | Uread_V | Uerr_V | scpot_V | scerr_V | theocen_V | theoedge_V
55 | 49.5 | 0.2 | 6695 | 6693.9 | 0.5 | 31.51 | 0.5099019513593 | 31.38 | 22.11
50 | 45.3 | 0.2 | 6692.5 | 6691.1 | 0.5 | 28.71 | 0.5099019513593 | 28.72 | 20.23
45 | 41.2 | 0.2 | 6690 | 6688.6 | 0.5 | 26.21 | 0.5099019513593 | 26.12 | 18.40
40 | 37.2 | 0.2 | 6687.5 | 6686.3 | 0.5 | 23.91 | 0.5099019513593 | 23.59 | 16.61
35 | 33.0 | 0.2 | 6685 | 6683.7 | 0.5 | 21.31 | 0.5099019513593 | 20.93 | 14.74
30 | 29.0 | 0.2 | 6682.3 | 6681.1 | 0.5 | 18.71 | 0.5099019513593 | 18.39 | 12.95
25 | 24.7 | 0.2 | 6679.6 | 6678.2 | 0.5 | 15.81 | 0.5099019513593 | 15.66 | 11.03
20 | 20.5 | 0.2 | 6677.0 | 6675.8 | 0.5 | 13.41 | 0.5099019513593 | 13.00 | 9.16
15 | 16.1 | 0.2 | 6674.0 | 6672.8 | 0.5 | 10.41 | 0.5099019513593 | 10.21 | 7.19
10 | 11.7 | 0.2 | 6671.0 | 6669.9 | 0.5 | 7.51 | 0.5099019513593 | 7.42 | 5.23
5 | 7.0 | 0.2 | 6667.8 | 6666.6 | 0.5 | 4.21 | 0.5099019513593 | 4.44 | 3.13
3 | 4.9 | 0.2 | 6666.5 | 6665.3 | 0.5 | 2.91 | 0.5099019513593 | 3.11 | 2.19
1 | 2.7 | 0.2 | 6665.4 | 6664.1 | 0.5 | 1.71 | 0.5099019513593 | 1.71 | 1.21
As far as we know
Best agreement of experiment and
theory at the CRYRING cooler