## Slide 1: Exp. 240 SIS18 Micro Spill Cavity and Exp. 243 Batch Compression
Maschine Experiments 2025 K.Groß. RRF 01.12.2025

## Slide 2: Overview Ring RF MDE in 2025
Nr. | Machine | Coordinator | Title
240 | SIS18 | K. Groß | Micro spill cavity
241 | SIS18 | B. Zipfel | Beam phase control
242 | SIS18 | D. Lens | Bunch compression
243 | SIS18 | K. Groß | Batch compression
244 | SIS18 | M. Hardieck | Longitudinal Feedback (PhD thesis C. Reinwald, TU Darmstadt)
267 | SIS18 & ESR | D. Beck | Phase shifting with Bunch2Bucket SIS18 → ESR
268 | ESR | B. Zipfel | Beam Phase Control
269 | ESR | M. Frey, K. Groß | Stacking with ESR Barrier Bucket
as usual: support from numerous colleagues and groups (sorry they cannot be mentioned here)

## Slide 3: Micro Spill Cavity Overview
Experiments
Nov. 29th ’23, 14N7+, 300 MeV/u → opt. kV,
July 13th ’25, 238U73+, 300, 500, 700 & 900 MeV/u
  → “expected” energy dependence not found → low voltages sufficient

## Slide 4: Micro Spill Cavity Experiment July 13th ’25
Low voltages for spill improvement
see OP school:
https://indico.gsi.de/event/23330/
High voltages for beam dyn. studies
see SX 2025: https://indico.bnl.gov/event/27693/contributions/112722/

## Slide 5: Micro Spill Cavity Summary and Outlook
Summary
Reproducible reduction of spill peaks by factor 2
Low gap voltage 1.5 to 2 kV sufficient for all energies
More than 5 kV not recommended
Thanks to P. Forck and J. Yang for their support and interest!
Outlook
Integration into control system
Operation to gain user experience
Future experiments (< 2 kV)
  Limit for high current operation
  Influence on (/ controllability of) macro spill structure
SCU
SCU
ADDAC
SPS-IO

## Slide 6: Batch Compression Background
Batch Compression defined for SIS100 Proton Cycle in „SIS100 Cycles“
Aim of experiment
  First Batch Compression @ GSI
  Test case for SIS100
  Not relevant for operation @ SIS18 (due to limitations)
July 9th ’25 night shift, 238U73+

## Slide 7: Batch Compression Preparation
Pattern prepared by H. Liebermann
Beam centered
Limitations (max.):
  28 kV @ h=4
  2.7 MHz @ h=3
→ 295 MeV/u
  only 3 harmonics
During Compression:
Bucket area ~
Phase and amplitude values manually set in ParamModi during experiment
Merging
Batch Compression
Merging
Batch Compression

## Slide 8: Batch Compression Preparation
Pattern prepared by H. Liebermann
Beam centered
Limitations (max.):
  28 kV @ h=4
  2.7 MHz @ h=3
→ 295 MeV/u
  only 3 harmonics
During Compression:
Bucket area ~
Phase and amplitude values manually set in ParamModi during experiment
Merging
Batch Compression
Merging
Batch Compression

## Slide 9: Batch Compression Amplitude Optimization and Bucket Area
Part of experiment preparation
Only short test in experiment
Voltage ratios as shown & lin. ramps
Problem: bucket area decreases

## Slide 10: Batch Compression Amplitude Optimization and Bucket Area
Part of experiment preparation
Only short test in experiment
Voltage ratios as shown & lin. ramps
Problem: bucket area decreases

## Slide 11: Batch Compression Amplitude Optimization and Bucket Area
Simple solution: increase amplitudes
Optimization by simulations ongoing
Successful batch compression
← Various amplitudes tested

## Slide 12: Batch Compression Cavity Phase Optimization
Theoretical phases
Optimum: -8.5° @ BE5 (h=2)
Detailed evaluation also shows a small mismatch of BE3/4 (h=3)
Result similar to earlier merging experiments. Further experiments needed!
Bunch merging (h=4 → h=2) was analyzed online during the experiment for manual phase correction in ParamModi

## Slide 13: Batch Compression Visualization

## Slide 14: Batch Compression Summary and Outlook
Summary
First batch compression @ SIS18 successful on July 9th ’25
All ferrite and MA cavities worked well together
Outlook
Investigation of remaining phase error @ different energies
Various schemes for Batch Compression to be analyzed for SIS100 cycles

## Slide 15: The End
Thanks for your attention!
Special thanks to K. Grigoryev
for providing reliable planning and flexibility
Questions?
Known jitter for the EVT_START_CYCLE (#32):
→ 18.7 ms measured
Reduced by new “deterministic” scheduling?

## Slide 16: Used measurements
Slide 1: from slides 4 and 12
Slide 3: all from ’23 & ’25 with correct spill length (trigger)
Slide 4: as indicated on slide & 19 kV
Slide 10: # 2
Slide 11: # 33
Slide 12: # 13, # 18, # 13-18
Slide 13: # 33