## Slide 1: U units for the MVD
Close MVD
  Pixels (Paolo)
  Strips (Robert and Hans)
  General equipments (Daniela)
Counting room
  MMB (Kleines)
  Compute nodes (Kleines)

## Slide 2: Pixels

## Slide 3: Strips

## Slide 4: General equipments
local cooling | 4 | 3 | 12
on detector/interlocks | 1 | 8 | 8

## Slide 5: MMB and CN
MVD Multiplexer Board
  MicroTCA crate - 8U
  1 crate -> 1 cpu + 11 MMBs
  -> 33 GBT links + 11 10Gbit/s Uplinks
  Crates on both rack sides ? (accessibility, cooling...)
Compute nodes
  ATCA crate – 13U
  14 Compute Nodes
  1 Compute Node -> 4 Uplinks -> 40 Gbit/s
  1 crate -> 56 Uplinks

## Slide 6: MMB and CN
Pixel part: 176 GBT (?) (122 at present)
Strip barrels: 248 GBT (?) (... at present)
Strip disks: 48 GBT (?) (... at present)
U units for the MMB: 5 crates x 8U x 4 rack frontal panels: 160 U
U units for the CN: 4 crates x 13U: 52 U
U units: 8U for 1 crate of additional equipments

## Slide 7: MVD request summary