## Slide 1: Summer Student Program 2026 . Calibrating Beam Momentum at HADES
Wiktoria Handzlik
Supervisor : Dr. Marvin Kohls

## Slide 2
01.
OVERVIEW
Project Aim:
Secondary beam experiments need to calibrate nominal momentum - how can we do this?
Two methods:
Manual PID cut application
Neural Network assisted candidate selection

## Slide 3
01.
MOTIVATION
Motivation
Pion-nucleon interactions are of interest to probing QCD dynamics
At GSI [1]:
Baryon resonance formation
Dense, hot hadronic matter
Photo production experiments
[1] The HADES Collaboration, ‘Proposal for Experiments at the GSI Pion Beam Facility’, (2024)
Problem
Beams at HADES are secondary
Need to calibrate nominal beam momentum

## Slide 4
01.
MOTIVATION
Motivation
In the Aug 2014 beamtime, can see elastic scattering artifact
Carbon target
Polyethylene target holder
Quasi-free protons
Elastic scattering
Polyethylene structure
More on where this graph came from later

## Slide 5
01.
BACKGROUND
Why elastic scattering?
Conservation of momentum - know exact kinematics
Expect 2 clean product tracks
Four momentum conservation:
Missing mass squared:
Elastic condition:
= 0

## Slide 6
01.
HADES SETUP
Setup
MDCs – track reconstruction (Runge Kutta) and specific energy loss
TOF & RPC – particle arrival timing
Together, reconstruct and four-momentum for each track, so can PID
A. Shabanov et al., ‘Calibration of the electromagnetic calorimeter ECal of the HADES experiment.’, Journal of Physics: Conference Series, 1667, 012039 (2020)

## Slide 7
Binary classifier trained on simulation, compared directly via missing mass squared distributions
Selecting events based on physical restrictions
(QA cuts, PID band fitting, vertex refitting)
01.
METHODS
Manual PID cut application
Neural Network candidate selection
Two approaches to isolate elastic candidates:

## Slide 8
01.
CLASSICAL – QA CUTS
QA Cuts (Preselection)
Before adding any cuts, the HYDRA framework applies automatic QA cuts before any manual PID:
globalTriggerBit: requires trigger bit PT1 (lowest multiplicity trigger in HADES DAQ)
HParticleTrackSorter: ranks high-uncertainty candidates, keeps best-quality track per particle using Runge-Kutta fit
This preselection removes poorly-reconstructed tracks before physics cuts begin

## Slide 9
01.
CLASSICAL – PID BANDS
PID Band Fitting
Filled -momentum histograms (TOF, RPC)
Split momentum range into slices
Project onto (integrate over slice range)
Fit Gaussian and take mean as band centre
Define acceptance region:
Connect slices into a TCutG polygon
This gives momentum dependent resolution, so better than fixed cuts!

## Slide 10
01.
CLASSICAL – PID BANDS

## Slide 11
01.
CLASSICAL - VERTEX REFITTING
Vertex Refitting
Approximate tracks as straight lines
HGeomVertexFit method for point of closest approach
Get manually reconstructed vertex
Cut at (event after target)
WHY? HADES default reco. assumes heavy-ion topology: high track multiplicity from single primary vertex

## Slide 12
01.
CLASSICAL RESULT
Classical PID Results
candidate events
correction to nominal

## Slide 13
01.
NEURAL NETWORK
Small binary MLP (PyTorch) - inputs are kinematic/PID quantities, no spatial or sequential structure
Training data: GEANT-simulated at , including generator-truth labels
NN Architecture
No manual PID cuts applied before training, only track sorting to positive/negative branches
Multilayer Perceptron Learning, geeksforgeeks, accessed 09/09/2026

## Slide 14
01.
NEURAL NETWORK
Inputs: each track's momentum, angle, β, reco. mass, and energy-loss signature
Considers four physics-derived quantities: missing mass squared, opening angle, coplanarity, vertex position
Built the same way for simulation and real data, so there's no mismatch in how features are calculated
Output is a single score between 0 and 1 ("how signal-like is this event")
NN Features

## Slide 15
01.
NN TRAINING
60/20/20 train/validation/test split, stratified by label (preserves signal/background ratio)
Trained to separate true elastic events from background, using GEANT truth labels
Standardisation (mean/std) computed from training split only
NN Training

## Slide 16
01.
NN EVALUATION
NN Evaluation
AUC = 0.964, 90% signal efficiency at threshold 0.591

## Slide 17
01.
NN APPLICATION
NN Results on Real Data
candidate events ( less)
correction to nominal

## Slide 18
01.
NN APPLICATION
NN Results on Real Data and Limitations
Simulation modelled scattering only
Real elastic signal is predominantly π⁻p from the target holder
NN learned simulation-specific topology, not the true signal topology
Need for Monte Carlo simulation

## Slide 19
01.
CONCLUSION
Classical cuts gave best calibration at 651 ± 20 MeV/c
Next steps:
  Retrain on simulation matching real target composition
  Domain adversarial NNs (DANNs) — learn signal/background independent of sim-vs-real domain
DANN approach already motivated within HADES collaboration[2]
Conclusion and Outlook
[2] M. Kohls, ‘Particle Identification with MLPs and PINNs Using HADES Data’, SciPost, e-print:2509.17685, (2025).

## Slide 20
01.
Thank you for your attention!