## Slide 1
PASTA Readout Electronics
&
MUST Digitization
Sofian Sakr
GSI/FAIR International Summer School Program

## Slide 2: Outline
Motivation
Straw Tube Detectors – Mechanism
PASTA at mCBM
Results 1
MUST Simulation Workflow
Digitization
MUST geometries comparison (v26e vs. v26m)
Results 2
Conclusion & Outlook
Acknowledgement

## Slide 3: Motivation
LHCb OT Straw-Tube Modules
  OT usage at GSI/FAIR
    PANDA (PASTA)
    CBM (MUST)
Testing PANDA readout electronics – TRBnet
MUST Digitization: comparison between two MUST geometries (v26e, v26m)

## Slide 4: Straw Tube Detectors – Mechanism
© Darwin Alexander

## Slide 5: PASTA at mCBM Cave
© S. Koch (GSI) and
R. Karabowicz (GSI)

## Slide 6: PASTA at mCBM Cave
Reuse ASDBLR ASICs and HV boards
© Tassos & Luca
Laptop

## Slide 7: PASTA at mCBM: Readout

## Slide 8: PASTA at mCBM: Readout
Turning-on high voltage & gas seem to not affect the electronics noise
Remarks:
  We also carried out the analysis for few hours after the gas on

## Slide 9: PASTA at mCBM: Readout
Threshold between 850–900mV, suppresses the electronics noise

## Slide 10: PASTA at mCBM: Readout
Threshold between 850–900mV, suppresses the electronics noise

## Slide 11: MUST Simulation Workflow

## Slide 12: Digitization – Modes
Time-based: what will the detector actually deliver?
Event-based: how does the detector respond to one collision?
© Rafal Lalik

## Slide 13: Digitization – Modes
Time-based: what will the detector actually deliver?
Event-based: how does the detector respond to one collision?
© Rafal Lalik

## Slide 14: Digitization
  fixed T₀, event-by-event mode,
  time of flight of particle from the target to the straw,
  drift time of the charge carriers in the straw tube,
  signal propagation in the straw,
  other delays in cables and electronics.
Random noise generation
  every straw, every event: fires with fixed probability (≈ 15 kHz/straw), uniform in a ±200 ns window around
Total Measured Time:
simulations
using radius formula
hit position along v-axis to readout
zero, Gaussian 2.5 ns time resolution is added on top

## Slide 15: MUST geometries comparison
MUST v26m
MUST v26e
Station
0
Station
1
Station
1
Station
0

## Slide 16: MUST geometries comparison
MUST v26m
MUST v26e
Station
0
Station
1
Station
1
Station
0

## Slide 17: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 18: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 19: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; mostly because of the absorber effect: back-scattering

## Slide 20: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; mostly because of the absorber effect: back-scattering

## Slide 21: Results: Digis/event in log scale
Several peaks after T0 for both designs?
MUST: Event-based Digitization

## Slide 22: Results: Late-Peaks characterization
All observed-late peaks are from Positrons
MUST: Event-based Digitization

## Slide 23: Results: Late-Peaks characterization
MUST: Event-based Digitization
The observed-late peaks are from positrons, electrons, and protons

## Slide 24: Results: Late-Peaks characterization
MUST: Event-based Digitization
The observed-late peaks are from positrons, electrons, and protons

## Slide 25: Results: Late-Peaks characterization
MUST: Event-based Digitization
The observed-late peaks are from positrons, electrons, and protons

## Slide 26: Results: Digis vs. Points – per event
MUST: Event-based Digitization
Why not 1:1?
  Because the noise adds digis that have no points at all
  The inefficiency, two particles received at the same time & position

## Slide 27: Results: Particle & Production Vertex
MUST v26e
MUST v26m
MUST: Event-based Digitization

## Slide 28: Conclusion & Outlook
High voltage & Gas don’t affect the electronics noise
Threshold between 850–900mV, suppresses the electronics noise
MUST Digitizer event-based mode is revealing late peaks by positrons, electrons, and protons
Possible Future Work:
  Comparing the different readout (DOGMA vs. TRBnet)
  The digitizer:
    Employing real electronics noise values
    Adding threshold variable for energy deposition

## Slide 29: Acknowledgement
Dr. Anastasios Belias
Dr. Shreya Roy
Luca Schramm
Darwin Alexander
Rafal Lalik
Dr. David Emschermann

## Slide 30: Thank You!
Q&A
شكرا
Shockran
GSI/FAIR International Summer School Program

## Slide 31: Backup Slides
GSI/FAIR International Summer School Program

## Slide 33: MUST Simulation Workflow

## Slide 34: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 35: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 36: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 37: Results: Digitizer Output
MUST: Event-based Digitization
Different digis per station; because the absorber effect: back-scattering

## Slide 38: Results: Digis/event in log scale
Several peaks after T0 for both designs?
MUST: Event-based Digitization

## Slide 39: Results: Late-Peaks characterization
All observed-late peaks are from Positrons
MUST: Event-based Digitization

## Slide 40: Results: Late-Peaks characterization
MUST: Event-based Digitization
All observed-late peaks are from Positrons

## Slide 41: Results: Late-Peaks characterization
MUST: Event-based Digitization
All observed-late peaks are from Positrons

## Slide 42: Results: Late-Peaks characterization
MUST: Event-based Digitization
All observed-late peaks are from Positrons

## Slide 43: Results: Late Positrons — K⁺ & p
v26e — absorber inside the tracker — 5 e⁺ — 137 late digis
Event 2
K⁺
−44
K⁺
94
π⁺
244
µ⁺
241
e⁺
241
52.3 MeV/c
t = 1.11 µs
Event 6
p
−44
π⁺
402
µ⁺
402
e⁺
402
23.8 MeV/c
t = 3.19 µs
Event 8
K⁺
−44
µ⁺
243
e⁺
286
52.1 MeV/c
t = 1.91 µs
Event 9
K⁺
−44
µ⁺
124
e⁺
285
32.7 MeV/c
t = 2.55 µs
Event 9
p
−44
n
130
n
190
π⁺
192
µ⁺
285
e⁺
285
46.9 MeV/c
t = 6.27 µs
v26m — absorber downstream — 2 e⁺ — 28 late digis
Event 1
K⁺
−44
K⁰
249
K⁰
266
K⁺
272
K⁺
273
µ⁺
274
e⁺
336
50.5 MeV/c
t = 2.35 µs
Event 3
K⁺
−44
µ⁺
188
e⁺
336
49.4 MeV/c
t = 4.84 µs
primary (direct)
created in material
created in weak decay
z [cm] vertex below each particle · target at z = −44

## Slide 44: Results: Particle at digi-time

## Slide 45: Results: Particle & Production Vertex
MUST v26e
MUST v26m

## Slide 46
Why not 1:1? Because the noise adds digis that have no point at all.

## Slide 47: The straw-tube Outer Tracker

## Slide 48
v26m
v26e

## Slide 49: Notes

## Slide 50
0