## Slide 1: Magnetic field fluctuations at HITRAP in GSI
Pieter Deceuninck Supervisor: Dr. Rima Schüßler

## Slide 2: Overview
Magnetic field fluctuations
Why are we interested?
  Penning trap
Setup
  Fluxgate
  Holder
  Electronics
Results
  Day / night
  Weekend / workday
  Special events
Outlook
Plot of magnetic field in 3 dimensions

## Slide 3: Magnetic field oscillations

## Slide 4: Why are we interested?
E = mc2
g-factors
Fine structure constant
Q-values
  Neutrino mass
  Neutrino-less double beta decay
QED tests in highly charged ions
…

## Slide 5: Penning trap
[1] Roux, C., “The trap design of PENTATRAP”, <i>Applied Physics B: Lasers and Optics</i>, vol. 107, no. 4, Springer, pp. 997–1005, 2012. doi:10.1007/s00340-011-4825-4.
[2] K. Kromer, Environmentally-induced systematic effects at the high-precision mass spectrometer PENTATRAP, Master’s thesis, Max Planck Institute for Nuclear Physics in Heidelberg (2019).
[3] https://leadlifewell.com/blog/7-tips-to-help-you-juggle-like-a-pro/
RE = ring electrode
CE = correction electrode
EC = end cap
modified cyclotron motion
magnetron motion
axial motion
[1]
[2]
[3]
Mass ratio long-lived ions
Notes: modified cyclotron motion with frequency ω+ (which is the free-space
cyclotron frequency with a correction from the electrostatic field

## Slide 6: Setup: fluxgate

## Slide 7: Setup: holder

## Slide 8: Why the funny shape?
Double Helmholtz coil
  .
  .
  Vacuum permeability
  Number of windings
  Current (A)
  Radius mm
  B = 0.35 T/mA

## Slide 9: Analog to Digital Converter (ADC) resolution
Fluxgate resolution: < 0.02 nT / Hz1/2
ADC resolution: 16 BIT
  Full range  1.5 nT resolution
  Counteract Earth magnetic field  0.2 nT resolution
https://ladendirekt.de/elektronik/produkte/debo-adc-16bit-entwicklerboards-adc-kanal-16-bit-bbba6f61
100.000
10.0000
fluctuations
Notes: And I hear you all thinking: this is like a day and night difference. But actually… no. This is like a day and night difference.

## Slide 10: Setup: electronics
Weights
Magnet

## Slide 11: Possible questions at this point
Did something brake?
Why is there a magnet?
Magnet

## Slide 12: Results: coil
Notes: And I hear you all thinking: this is like a day and night difference. But actually… no. This is like a day and night difference.

## Slide 13: Results: day / night
Data

## Slide 14: Results: weekend
Friday
Saturday
Sunday
Monday
Data

## Slide 15: Special events
https://www.archiexpo.de/prod/kardex/product-9012-762015.html
Heavy bridge crane
Pater noster
(Kardex remstar
Shuttle xp 500)
S-EBIT II
https://www.gsi.de/work/forschung/appamml/atom-quanten-fundamentalphysik/instrumentierung/ion-sources
Notes: 4T

## Slide 16: Results: special events
Notes: 3,5s

## Slide 17: Results: special events, other lab

## Slide 18: Results: special events, other lab
up
down
get
Put back
Pater noster
elevator

## Slide 19: Results: direction

## Slide 20: Outlook
Veto system
  3 fluxgates
24-bit ADC
Fluxgate calibration

## Slide 21: Acknowledgements
Dr. Rima Schüßler
Atomic, Plasma Physics and Application (APPA) group

## Slide 22: Questions?

## Slide 23: Extra slide: Allan noise