## Slide 1: Study of the unbound 13Be and CEPA: Future of ( p, 2p) proton detection for R3B at FAIR
26th September 2014
Guillermo Ribeiro
G. Ribeiro , E. Nácher, A. Perea, J. Sánchez del Río, O. Tengblad
Instituto de Estructura de la Materia – CSIC, Madrid
M. Mårtensson, A. Heinz, T. Nilsson
Chalmers University, Göteborg
And all the R3B Collaboration

## Slide 2: Outline
13Be Analysis from GSI experiment
    13Be Experiment & Motivation
    Knockout reaction (p,2p)
    Setup and Analysis
    Gamma situation
    Preliminary interpretation
CEPA: Future of ( p, 2p) proton detection for R3B at FAIR
    Why: CALIFA @FAIR
    How: Phoswich solution
    Krakow test:Pulse-shape analysis

## Slide 3: S393 experiment & Motivation
Study light neutron-rich nuclei (Be-Ne), using kinematically complete measurements, and inverse kinematics in GSI.
Objective:
Studying unbound nuclei 13Be using quasi-free scattering reactions
Study the previous step before the borromean nuclei 14Be
Extreme nuclei structure
16B
Unbound
14Be
4.35ms
15B
9.93ms
14B
12.5ms
13Be
Unbound
18B
Unbound
19B
2.92 ms
17B
5.08ms
13B
17.3ms
12Be
21.5 ms

## Slide 4: Quasi-Free Scattering: Knockout reaction
14B(p,2p)13Be
Direct Reaction:
These reactions occur quickly and proceed directly from initial to final states without producing an intermediate compound state.
If both outgoing particles have the same masses, in the lab system:
(p,2p), (p,np)
16B
Unbound
14Be
4.35ms
15B
9.93ms
14B
12.5ms
13Be
Unbound
18B
Unbound
19B
2.92 ms
17B
5.08ms
13B
17.3ms
12Be
21.5 ms
θa
θb
Target (CH2)
14B
13Be
Proton
Proton
Target (CH2)

## Slide 5: Experiment:Cave C
40Ar11+ Primary beam at 490 MeV/u with an intensity of 6·1010 ions/spill. The production target was Beryllium with 4011 mg/cm2

## Slide 6: Analysis: Selecting the channel
Energy loss in the TFW & SST after the target: Identify the element after the reaction.
Identify the isotope from the ALADIN position deviation and beta of the fragment.
From 14B to 12Be + n
Be
12Be
Fragments from 14B
Be Fragments from 14B
Be Fragments from 14B & Neutrons

## Slide 7
Relative Energy of 12Be + n
13Be

## Slide 8: Looking for gammas of the 12Be: XB
The two main gamma sources are:
- 2+ state at 2.11 MeV
- 1- state at 2.71 MeV
None of them seems like the possible peak showed.
2.11MeV
2.7MeV
gamma?

## Slide 9: Gamma check: gates on peak, and off peak
Peak | R.Energy Plot | Background1 | Background2
≈0.4 | 18±4 | 10±3 | 5±2
≈0.85 | 7±3 | 2±1 | 5±2
≈2.2 | 9±3 | 3±1 | 5±2
No feature
No gamma

## Slide 10: Interpretation: Preliminary
No gammas  Only fed the 0+ of the 12Be
GANIL: Reaction from 14B
13Be
From PRC89 034320(2014)
From PRC87 064316(2013)

## Slide 11: Conclusions and Future
Last steps
LAND efficency
Check for the ( p, 2p ) protons in Crystal Ball
Improve the relative energy fit and the interpretation.
Conclusions
Preliminary relative energy spectra .
Gamma spectra without any feature  Implies that only 0+ states of 12Be are fed.
Current results are closer to the GANIL results, which used the same incoming beam.
….It’s not finished…Continue!

## Slide 12
CEPA: Future of ( p, 2p) proton detection for R3B at FAIR

## Slide 13: From Crystal Ball to CALIFA
CALorimeter for In-Flight gAmma-rays and protons
CEPA : CALIFA Endcap Phoswich Array
Detect with good energy resolution & high peak efficiency (not so easy!!):
  g E < 30 MeV
p E < 300 MeV
How to avoid the nuclear reactions produced by high energy protons in the Bragg peak?
CALIFA = BARREL(CsI) + ENDCAP

## Slide 14: Endcap: The phoswich solution
Materials | DE/E (% at 662 keV) | Light yield (photons/keV) | Decay time (ns) | λemision
LaBr3 | 2.9 | 63 | 16 | 380 nm
LaCl3 | 3.8 | 49 | 28 | 350 nm
40 mm
60 +
Phoswich:
2 high-resolution scintillators optically coupled and with a common readout
Different decay time  possible PSA applications to decouple the energy deposited in both crystals

## Slide 15: CEPA4: A prototype of phoswich array
4 phoswich units inside Al can(0.5mm)
LaBr3 (4 cm) + LaCl3 (6 cm) and
27 x 27 mm2 entrance window
No Al between the crystals, just
1 mm of Teflon (waterproof?)
- Readout: 4 Hamamatsu 8-stage PM Tubes R5380
(recently changed to R7600U-200: shorter & square-shaped )
- A VME CAEN Flash ADC (V1742) to digitize the signals.
40 mm
60 +

## Slide 16: Krakow Test: Pulse-Shape Analysis
Data Analysis at 3 different levels
1 – Tail vs Total integral
2 – Solve a set of linear equations to find ELaBr3 and ELaCl3
( See: O. Tengblad, T. Nilsson, E. Nacher et al., NIM A 704 (2013) 19)
3 – Project on the appropriate lines depending on the energy region
( Analyze the energy resolution & the response after the total punch-through)
Sampled (1 Gs/s)
anode pulse
Tail
Integral
Time [ns]
Amplitude
Krakow CCB: Proton beam energies within 70-230 MeV (DE~0.7%)
Main Goal:
Being able to reconstruct the proton energies. Taking into account that until 130 MeV will be stopped in the first scintillator(LaBr3), the second(LaCl3) will stop protons from 130 up to 200 MeV, the following will punch-through the whole detector.

## Slide 17
1 - Integrals: tail vs total
CEPA4:Response to Protons
Krakow CCB: Proton beam energies within 70-230 MeV (DE~0.7%)

## Slide 18
1 - Integrals: tail vs total
Energy dep. only in the 1st crystal
Energy dep. only in the 2nd crystal
Energy dep. in both crystals
CEPA4:Response to Protons
Krakow CCB: Proton beam energies within 70-230 MeV (DE~0.7%)

## Slide 19
1 - Integrals: tail vs total
Zoom in the black banana (after 1st punch through)
150 MeV
180 MeV
CEPA4:Response to Protons

## Slide 20
2 - ELaBr3 vs Etot
CEPA4:Response to Protons

## Slide 21
2 - ELaBr3 vs Etot
Energy above punch through measured for the first time!!
CEPA4:Response to Protons

## Slide 22
2 - ELaBr3 vs Etot
Energy above punch through measured for the first time!!
220 MeV
CEPA4:Response to Protons

## Slide 23
3 - Calibration:
Energy resolution
CEPA4:Response to Protons

## Slide 24: Conclusions
New phoswich array: CEPA4 which is a protopype for the forward endcap array for CALIFA.
Test of the detector and the Pulse-shape analysis
The energy resolution is good up to the total punch-through and still acceptable at 230 MeV
Need of more tests with protons and gammas.
Currently developing new analysis methods.

## Slide 25: Thank you!