## Slide 1
M. Hoek
Results of the Mainz Test Experiment
Update
XLIX. PANDA Collaboration Meeting | 10/06/2014 | GSI

## Slide 2
Brief Reminder - Setup
2013, MAMI, 855 MeV e- beam
  NINO & PADIWA;
  up to 6 MCPs;
  384 readout channels;
  2-3 detected photons per event.
200
-200
-200
-200
0
0
y (mm)
x (mm)
NINO
PADIWA
Clear Cherenkov pattern (especially for NINO FEE);
Padiwa issue (now solved).
Incident e- beam at 57°

## Slide 3
Timing Results – Full System (NINO Boards only)
Simulation of propagation time;
around from the sync. time of TRBs.
Timing resolution of the entire prototype:
optimised walk correction;
MCP 0
MCP 1

## Slide 4
Timing Results – Gain Dependence (NINO only)
1 x 106 has been used for the test experiment;
can we use a smaller gain?
 | Timing Resolution | 
Gain | not corrected | corrected
1 x 105 | ~190 ps | ~180 ps
5 x 105 | ~175 ps | ~130 ps
1 x 106 | ~161 ps | ~40 ps
Clear correlation between gain and time over threshold;
the corrected timing resolution gets worse (walk correction needs to be adapted).

## Slide 5
Tutorial for Mainz TRB Analysis Software
Tomorrow (11/06/2014) at 11:00
Announcment