## Slide 1
MVD ASSEMBLY UPDATE
GSI 27th April 2015 - G. Giraudo

## Slide 2
Patch panels
Pixel modules
Strip modules
HV
LV
LV
HV
Racks
GBT
To CR
Optical fiber
1.5V
2.5V
Sense wire
Beam pipe
GBT
DCDC
DCDC
DCDC
To CR
Power supplies control
Section A
Section A2
Section A1
Section B
Section D
Section C
Signals
1248 cables
~18000 mm2
INSIDE MAGNET
GSI 27th April 2015 - G. Giraudo

## Slide 3
MODULARITY AND COOLING lines MVD
LAYER 1
DX Half  8 staves 4 U tubes 4 lines [4*(1 in 2 U tubes)]
SX Half  6 staves 3 U tubes 2 lines [2*(1 in 3 U tubes)]
LAYER 2
DX Half layer 14 staves 7 U tubes 6 lines [2*(1 in 3 U tubes); 4*(1 in 2 U tubes)]
SX Half layer 14 staves 7 U tubes 6 lines [1*(1 in 3 U tubes); 4*(1 in 2 U tubes)]
LAYER 3
DX Half layer 10 staves 5 U tubes 4 lines [2*(1 in 3 U tubes); 2*(1 in 2 U tubes)]
SX Half layer 10 staves 5 U tubes 4 lines [2*(1 in 3 U tubes); 2*(1 in 2 U tubes)]
LAYER 4
DX Half layer 13 staves 6 U tubes + 1 single 6 lines [2*(1 in 3 U tubes); 4*(1 in 2 U tubes)]
SX Half layer 13 staves 6 U tubes + 1 single 6 lines [2*(1 in 3 U tubes); 4*(1 in 2 U tubes)]
DISKS 1-2 (pixel disks)
DX Half disk 2 tubes 2 lines [2*(1 in 2 U tubes)]
SX Half disk 2 tubes 2 lines [2*(1 in 2 U tubes)]
DISKS 3-6 (pixel disks)
DX Half disk 12 U tubes 8 lines [8*(1 in 3 U tubes)]
SX Half disk 12 U tubes 8 lines [8*(1 in 3 U tubes)]
DISKS 7-8 (strip disks)
DX Half disk 4 U tubes 4 lines [8*(1 in 2 U tubes)]
SX Half disk 4 U tubes 4 lines [8*(1 in 2 U tubes)]
Inside MVD
Manifolds Volume
 66 Cooling lines 
GSI 27th April 2015 - G. Giraudo

## Slide 4
MVD COOLING LINES MODULARITY
PP3
PP3
U tubes
(fe 2mm)
LINES FOR 3 U tubes
OUTSIDE MAGNET INSIDE MAGNET
fi 8 mm
0,9 lit/min
fi 6 mm
0,9 lit/min
fi 2,5mm
0,3 lit/min
fi 10mm
0,9 lit/min
fi 6mm
0,9 lit/min
PP3
PP3
PP4
PP4
30 COOLING LINES
LINES for 2 U tubes
INSIDE MAGNET OUTSIDE MAGNET
fi 8 mm
0,6 lit/min
fi 6mm
0,6 lit/min
fi 10 mm
0,6 lit/min
fi 6mm
0,6 lit/min
fi 2,5mm
0,3 lit/min
PP4
PP4
36 COOLING LINES
LINES FOR DC-DC CONVERTER & GBT
OUTSIDE MAGNET INSIDE MAGNET
fi 8mm
0,9 lit/min
fi 6 mm
0,9 lit/min
fi 10 mm
0,9 lit/min
fi 6mm
0,9 lit/min
PP3
PP3
PP4
PP4
U tubes
(fi 5mm)
60 COOLING LINES
PP4 collects 126 cooling lines
Front Door
Front Door
Front Door
MVD
DCDC/GBT
GSI 27th April 2015 - G. Giraudo

## Slide 5
SS transition block
Fast Fitting tube 8 mm
Fast Fitting tube 12/16 mm
Pressure transmitter
600x400x8 (mm)
The Patch Panel 4 (Cooling Tubes Transition)
GSI 27th April 2015 - G. Giraudo

## Slide 6
The Patch Panel for Electronics (preliminary sketch)
PP Optical Fibres
200x100x200 (mm)
PP GBT-LV
600x150x200 (mm)
PP LV
300x300x200 (mm)
PP HV
400x100x200 (mm)
600x650x200 (mm)
GSI 27th April 2015 - G. Giraudo

## Slide 7
The Cooling Path
To PP3
To PP3
The PP4s must be located as close as possible to the beam line
GSI 27th April 2015 - G. Giraudo

## Slide 8
The Electric Path
To Racks
To Racks
GSI 27th April 2015 - G. Giraudo

## Slide 9
The PPs array should be
suspended and fixed on the platform
QUESTION: could the PPs array stay in place during maintenance?
This pipe sector must be fixed, cannot stay cantilever
ASSEMBLY OPEN PROBLEMS
Vacuum Pump dimension & location must be defined
GSI 27th April 2015 - G. Giraudo